[image: image121.jpg]


®

Gubbs Mass Spec Utilities / Quick Calc™ 6.x.x User Manual
Page 1 of 133

	Gubbs Mass Spec Utilities /

Quick Calc™ 7.x.x

GMSU/QC 6 and earlier

	Supported Platforms


Thermo® XDKOEM 1.0.2.15


Thermo® XDKOEM 2.1.0.25


Sciex® Analyst™ 1.3.1 - 1.5

	User Manual

	Gubbs, Inc.

265 Blue Spruce Circle

Alpharetta, GA 30005

P: 770-573-0169

F: 508-453-1338



	gubbs@gubbsinc.com
www.gubbsinc.com




	Table of Contents
Section
Page Number


	91
Introduction


92
Definitions


103
High Throughput (HT) vs. Low Throughput (LT) Acquisition


104
Data File Convention


105
Data Acquisition Method Assumptions


116
Multiple Analyte Experiments


117
Data Acquisition Data File Content Rules


117.1
Sciex


127.2
Thermo


158
Thermo Processing Methods


169
Conserved GMSU/QC Features


169.1
Choose Data Access Configuration


189.2
Choose Data Acquisition Mode


199.3
Browse…


209.4
Choose a File Grid


219.5
Sample Change Warning boxes


229.6
Save Data


229.7
Cancel


229.8
Sample List


249.9
Display HT Chromatography


269.10
Chromatographic Display


269.11
Chromatographic Processing Functions


319.12
Miscellaneous Features


329.13
Calibration


339.14
Configuration Actions


359.15
Generate Reports


369.16
Menu Items


439.17
Assign Transition Ions


4510
Conserved GMSU/QC Reports Features


4510.1
Save Settings


4610.2
Deactivate Data


4610.3
Sort Orders


4710.4
Choose a Post-Report Macro


4811
Chromatographic Method Designer


5111.1
Chromatographic Method Designer window


5311.2
Paste from Clipboard… button


5411.3
Create Method Parameters


5411.4
Final action


5511.5
Predict Peaks…


6011.6
RapidFire™ tools


6112
Design Sample Table Window


6212.1
Procedure


6313
Console


6414
Configuration Utility


6415
Sciex HT Acquisition Tools


6516
Acquisition Method Generator Utilities


6517
Modify Methods Utility


6717.1
Click on Populate Form to preview data


6817.2
Click the ‘Modify Method’ button


6918
Automaton File Converter Utility


69
Choose an Automaton Text File


69
Choose a SubProject


69
Click on ‘Populate Form’


70
Click on ‘Execute Name Change’ button


7219
Batch Queue Submission Utility


72
Choose an Assay Request File


72
Choose a SubProject


72
Choose a Batch Type option from the Batch Type frame.


73
Enter Set Name, Identifier #, Batch Owner, and raw data filename (if Batch Type is Final Expt)


73
Click on the ‘Populate Form’ button


73
Click on Submit Batch


7520
Hepatic Clearance Calculator - Overview


7520.1
Hepatic Clearance Calculations


7721
Hepatic Clearance Calculator – Initial Settings


7721.1
Loading data and displaying and optimizing chromatography.


7721.2
Time Point Set


7821.3
Chrom. Method


7821.4
Constants - Species


7821.5
Choose a Sample


8022
Hepatic Clearance Calculator – Results Pane


8022.1
Overview


8222.2
Use IS Option Frame


8322.3
Plot Option Frame


8322.4
Constants Dropdown Box


8422.5
Exclude Data Points


8422.6
Restore Data Points


8422.7
Individual Time Point Comments


8422.8
Comments


8522.9
Review


8522.10
Save Results


8523
Hepatic Clearance Calculator – Additional Functions


8523.1
Copy Peak Integrations to Clipboard


8523.2
Peak Area Text File


8623.3
Manually Enter Peak Retention Times


8623.4
Enter LT Retention Time – Analyte


8623.5
Enter LT Retention Time – Int Std


8623.6
Display Multiple Results


8623.7
Assign Transition Ions


8623.8
Set Retention Time Window Parameters


8623.9
Help


8724
Hepatic Clearance Calculator – Reports


8824.1
Normal Report


8824.2
Detailed Report


8924.3
Summary Regression Plot


9125
Permeability Calculator


9125.1
Configuration Actions – Peak Name Sets


10025.2
Permeability Calculator Instructions


10525.3
Permeability Calculations


10826
Permeability Report


10926.1
Summary page


11026.2
Summary Papp page


11126.3
Detailed Report section of the results page


11226.4
Receiver Side Tables section of the Results page


11327
Generic Chromatographic Viewer (GCV)


11527.1
Generic Chromatographic Viewer Reports


11828
PK Calculator


11928.1
Description of functions


12128.2
Automatically Assign PK Data


12228.3
Assign PK Data


12428.4
Additional Features


12729
PK Calculator Reports


12829.1
Normal Report


12929.2
Detailed Report


12929.3
Additional Features


13330
References






	Table of Tables
Table
Page Number


	15Table 1
Thermo/Sciex Automatic Information Retrieval Comparison






	Table of Figures
Figure
Page Number


	16Figure 1
Permeability Calculator Example


18Figure 2
HT or LT acquisition type assignment


19Figure 3
Browse… Window


20Figure 4
Choose a File Grid: User Identification


20Figure 5
Choose a File Grid


21Figure 6
Example of a Sample Change Warning


22Figure 7
Sample List


25Figure 8
Display HT Chromatograph – Sciex Data


26Figure 9
Display HT Chromatograph – Thermo Data


27Figure 10
Example chromatogram window – Sciex


27Figure 11
Example chromatogram window - Thermo


31Figure 12
Miscellaneous Configuration Features


32Figure 13
Calibration Tab


33Figure 14
Configuration Actions


35Figure 15
Example Console – Report Generation entry way


36Figure 16
Menu – Generate Reports


36Figure 17
Generic Chromatographic Viewer Module Menu Items


42Figure 18
Help Window


43Figure 19
Assign Transition Ions Window – Sciex Data


51Figure 20
Chromatographic Method Designer Window


52Figure 21
Use peaks from an existing sample


53Figure 22
Use peaks from an existing chromatographic method


61Figure 23
Design Sample Table


63Figure 24
GMSU/QC Console


64Figure 25
Sciex HT Acquisition Tools


65Figure 26
Acquisition Method Generator Utilities


66Figure 27
Modify Methods Utility


67Figure 28
Choose Internal Standard Method File Source


67Figure 29
Populated Modify Methods Window


68Figure 30
Results of ‘Modify Method’ button click


70Figure 31
Automaton File Converter Utility


71Figure 32
Changed Automaton Filenames


72Figure 33
Batch Queue Submission Utility


73Figure 34
Populate Form – PI/MRM Experiment


74Figure 35
Populate Form – Final Expt Experiment


77Figure 36
Hepatic Clearance Calculator – before opening data


79Figure 37
Loaded raw data – HT acquisition data


80Figure 38
Loaded raw data – LT acquisition data


81Figure 39
Hepatic Clearance Results Pane Overview


82Figure 40
Use IS Frame Options


83Figure 41
Plot Frame Options


83Figure 42
Species Constants Settings


84Figure 43
Excluding Points


85Figure 44
Hepatic Clearance Module Menu Items


87Figure 45
Hepatic Clearance Calculator Reports Module


88Figure 46
Hepatice Clearance – Normal Report


89Figure 47
Hepatic Clearance – Detailed Report


90Figure 48
Hepatic Clearance – Summary Regression Plot


100Figure 49
Permeability Calculator – Permeability Tab


108Figure 50
Permeability Report


109Figure 51
Permeability Report – Summary Results page


110Figure 52
Permeability Report – Summary Papp page


111Figure 53
Permeability Report – Detailed Report section of Results page


112Figure 54
Permeability Report – Receiver Side Tables section of Results page


113Figure 55
QuickQuan data – Open…a QuickQuan parent .sld


114Figure 56
QuickQuan data – Open all data files within a directory


115Figure 57
Generic Chromatographic Viewer Reports


117Figure 58
A Generic Chromatographic Viewer Report


118Figure 59
PK Calculator – PK Calculator Window


119Figure 60
PK Actions dropdown box


120Figure 61
PK Value Units


122Figure 62
Assign PK Data – Initial View


123Figure 63
Assign PK Data - Select Samples


123Figure 64
Assign PK Data - Apply Samples


123Figure 65
Assign PK Data - Enter time points


124Figure 66
PK Calculator – PK tab – Additional Features


126Figure 67
Apply/Save Time Points


127Figure 68
Apply/Save Assay Sets


128Figure 69
PK Calculator Reports


129Figure 70
PK Calculator Report – Report Page


131Figure 71
PK Calculator Report – Detailed Section – Calibration Page


132Figure 72
PK Calculator Report – Detailed Section – PK Page






1 Introduction

Gubbs Mass Spec Utilities (GMSU/QC) is a suite of utilities that enhance the ability of scientists to perform post-acquisition processing of data acquired in a high throughput (HT) environment.

GMSU/QC uses either Microsoft® (MS) Access or MS SQL Server as a datastore. MS Access may be used to quickly setup a GMSU/QC instance for user testing or production use. MS SQL Server may be used if a more secure and possibly more efficient environment is desired. The MS Access database can be directly upgraded to SQL Server without loss of data. If users desire custom information reports, data stored in the database is easily accessible.

To perform chromatographic functions, GMSU/QC uses the software development kit components provided by Sciex and Thermo. Therefore, when users optimize chromatography, they can expect most of the features available in the native chromatography data system (CDS) will be available in GMSU/QC. In the same manner, it can be expected that the GMSU/QC chromatographic features will differ between Sciex data and Thermo data, though every effort has been made to ensure the differences are minimal.

GMSU/QC may be used in a multi-user environment. There are several configuration possibilities for multi-user environment which are described in more detail in the GMSU/QC Administration and Installation Manual. Briefly, the GMSU/QC database and acquired mass spectrometer raw data files may be stored in a common location accessible to others (either a shared file server directory or a shared local directory). In both instances, it is most optimal to place the GMSU/QC Access database on a filer server accessible to all GMSU/QC users.

For system requirements and installation procedures, please refer to the GMSU/QC Administration and Installation Manual.

The most current version of this manual may be found by browsing to www.gubbsinc.com and navigating to the GMSU/QC page.

2 Definitions

	Term
	Definition

	AUC
	Area Under the Curve (See Section 28)

	CDS
	Chromatography Data System

	Cmax
	Concentration Maximum (See Section 28)

	GCV
	Generic Chromatographic Viewer (See Section 27)

	GMSU/QC
	Gubbs Mass Spec Utilities

	HPLC
	High Performance Liquid Chromatograph

	HT
	High Throughput

	LT
	Low Throughput

	MS
	Microsoft®

	QQ
	Thermo QuickQuan™

	RT
	Retention Time


3 High Throughput (HT) vs. Low Throughput (LT) Acquisition

One of the salient features of GMSU/QC is that it can process HT acquired data as well as LT acquired data.

Typically, mass spectrometry data acquisition systems require that compound(s) of interest occur once in a chromatographic analysis. Therefore, in order to analyze a 12-point assay, scientists had to acquire twelve separate ‘samples’. This is referred to as LT acquisition in the GMSU/QC system.

In HT acquisition, users open the chromatography data system (CDS) data acquisition window for as long as needed and inject and acquire all assay time points in a single chromatographic run. The benefits of HT acquisition 1 - 4 include:

· The ability to view all chromatographic peaks simultaneously to check for possible instrumental or sample handling problems and/or trends

· When combined with multiple-column switching techniques, increases throughput by decreasing the time between sample injections and minimizes communication problems that can occur between instrument and data acquisition system.

NOTE: Currently HT acquisition data processing is supported on the Sciex platform in the Hepatic Clearance and Permeability modules only.

It must be noted here that half of the benefit of HT acquisition is addressed by the ‘Display HT Chromatography’ feature of GMSU/QC (see Section 9.9). If normal LT acquisition is performed, users may click on the ‘Display HT Chromatography’ button to view all the injections (or samples) of an assay in a single chromatogram. GMSU/QC retrieves the XY data of each chromatographic injection/sample and concatenates the data end-to-end in a text file. Both ABI and Thermo chromatographic display components used by GMSU/QC allow text data to be loaded and viewed as a chromatogram. See the GMSU/QC Users Manual – Display HT Chromatography section for more information.

4 Data File Convention

Throughout this manual, the term “Data File” is used.

In the Sciex environment, the Data File is the .wiff file.

In the Thermo environment, the Data File is the .sld file. Even though the .sld file doesn’t actually contain raw data (.raw files), the .sld contains the directory path reference to the .raw files. Since the .sld file “manages” the location of the .raw files, the .sld will be referred to as the Data File.

5 Data Acquisition Method Assumptions

GMSU/QC makes the following assumption concerning the configuration of Analyte and Internal Standard transition ions within the data acquisition method (applies to single-analyte assays):

The Analyte is listed first in the experiment transition ion section.

The Internal Standard is listed second in the experiment transition ion section.

If the opposite is true or the Chromatography Data System (CDS) lists the transition ions in order of compound molecular weight, then the user has the ability to assign the appropriate transition ions to Analyte and Internal Standard using the Menu item ‘Assign Transition Ions’ located in each module.
6 Multiple Analyte Experiments

The ‘Assign Transition Ions’ feature can also be used to prepare data in which data for multiple analytes have been acquired (e.g. in cassette dosing experiments or looped experiments).

Please note that this process is automated in the Thermo environment in which a valid processing method (.pmd) has been configured in the sequence file (.sld). The .pmd can be created manually using Thermo Xcalibur™, automatically using Thermo QuickQuan™, or exported with the .sld from Thermo LCQuan™. Please see the relevant help files inside any of these CDS’s for further information.

7 Data Acquisition Data File Content Rules

Data file content must conform to certain rules in order to be successfully processed by GMSU/QC. The rules differ slightly depending on the data file.
7.1 Sciex

· Sciex data must be stored in a single .wiff file

· The .wiff file may contain data only from a single assay

· An ‘assay’ is defined as the injections/samples that make up the data set for that analysis (e.g. Hepatic Clearance).

· If the HPLC sequence contains a second assay, that assay must be stored in a different .wiff file

The following table is shown for a 5 injection/sample Hepatic Clearance sequence in which samples 1-5 are for Rat and 6-10 are for a second Rat experiment.
	Sample Name
	Data File

	Sample001
	Rat01

	Sample002
	Rat01

	Sample003
	Rat01

	Sample004
	Rat01

	Sample005
	Rat01

	Sample006
	Rat02

	Sample007
	Rat02

	Sample008
	Rat02

	Sample009
	Rat02

	Sample010
	Rat02


Notice that the data file names are different for the two assays.

Note that it is allowable to have several different analytes in each injection (e.g. cassette dosing, looped experiments).

7.2 Thermo

Similar to Sciex data, Thermo data (.raw files) must be grouped by assay. Thermo acquired data cannot be stored in a single data file; therefore, from the perspective of GMSU/QC, the Thermo sequence file (.sld) acts to group Thermo data by assay. The rules vary slightly depending on the CDS used to acquire the data

Note that Thermo applications generate several date-time stamped .sld’s in the course of data acquisition and data processing. GMSU/QC ignores the date-time stamped .sld’s.

· An ‘assay’ is defined as the injections/samples that make up the data set for that analysis (e.g. Hepatic Clearance).

7.2.1 Xcalibur™ data

· An .sld may contain only from a single assay
· If the HPLC sequence contains a second assay, that assay must be configured in a separate .sld and submitted to the sequence queue separately.

The following table is shown for a 5 injection/sample Hepatic Clearance sequence in which samples 1-5 are for Rat. The second table is samples 1-5 are for a second Rat experiment. The two .sld’s would need to be submitted to the acquisition queue separately.
	Sequence Name: Rat01

	Sample Name
	Path

	Sample001
	C:\Xcalibur\Data\Rat01

	Sample002
	C:\Xcalibur\Data\Rat01

	Sample003
	C:\Xcalibur\Data\Rat01

	Sample004
	C:\Xcalibur\Data\Rat01

	Sample005
	C:\Xcalibur\Data\Rat01


	Sequence Name: Rat02

	Sample Name
	Path

	Sample001
	C:\Xcalibur\Data\Rat02

	Sample002
	C:\Xcalibur\Data\Rat02

	Sample003
	C:\Xcalibur\Data\Rat02

	Sample004
	C:\Xcalibur\Data\Rat02

	Sample005
	C:\Xcalibur\Data\Rat02


Please note the following:

· Even though it is permissible to save assay data to the same path, saving assay data to different paths will reduce the possibility of GMSU/QC errors in locating data.

· The two .sld’s must have different names.

· It is allowable to have several different analytes in each injection (e.g. cassette dosing, looped experiments).

7.2.2 QuickQuan™ (QQ) data

QuickQuan is a highly specialized application allowing users to efficiently and quickly setup the instrument for high throughput data acquisition. QQ has an added benefit in that processing methods (.pmd’s) are generated automatically and will be processed automatically by GMSU/QC. See Section 8 for a further discussion of processing methods.
The only limitation with QQ data is that the QQ sequence must be configured such that there is always a 1-to-1 relationship in generated .sld’s-to-.pmd’s (please see Section 7.2.4 – Rooney Method for an exception to this rule).
For example, the following QQ sequence will generate two data subdirectories, each containing one .sld and a corresponding .pmd


Normal Sequence

	New Sequence
	Drug Set
	Sample

Name

	 FORMCHECKBOX 

	QuickCalc
	Sample01

	 FORMCHECKBOX 

	QuickCalc
	Sample02

	 FORMCHECKBOX 

	QuickCalc
	Sample03

	 FORMCHECKBOX 

	Labetalol
	Sample01

	 FORMCHECKBOX 

	Labetalol
	Sample02

	 FORMCHECKBOX 

	Labetalol
	Sample03


The following example would not be allowed. The following QQ sequence will generate a single data subdirectory with two .sld’s and two corresponding .pmd’s. Users must open this data using the Rooney Method described in Section 7.2.4.

Rooney Method Sequence

	New Sequence
	Drug Set
	Sample

Name

	 FORMCHECKBOX 

	QuickCalc
	Sample01

	 FORMCHECKBOX 

	QuickCalc
	Sample02

	 FORMCHECKBOX 

	QuickCalc
	Sample03

	 FORMCHECKBOX 

	Labetalol
	Sample04

	 FORMCHECKBOX 

	Labetalol
	Sample05

	 FORMCHECKBOX 

	Labetalol
	Sample06


7.2.3 LCQuan™ data

GMSU/QC cannot process LCQuan data directly. Therefore, users must first export a desired .sld from within LCQuan. GMSU/QC then may open the exported .sld.

Users must ensure that, within LCQuan, the .pmd is also exported with the .sld.

7.2.4 Rooney Method data

Users may wish to generate large sequences containing several analytes, but to view the entire sequence as a single batch. Users have two options. We again will use the examples given in Section 7.2.2. In both options, the data should be opened using the Data Access Configuration option of ‘Open entire QQ parent .sld as a single sequence’, which will be referred to as Selection 2 in the following discussion.
[image: image1.png]Choose Data Access Configuration.
 Dpen QuickQuan parent sid o an individual sd
{Open ente 00 parent sid 25 2 singl sequencel





The following QQ sequence will generate a single data subdirectory with two .sld’s and two corresponding .pmd’s.


Rooney Method Sequence

	New Sequence
	Drug Set
	Sample

Name

	 FORMCHECKBOX 

	QuickCalc
	Sample01

	 FORMCHECKBOX 

	QuickCalc
	Sample02

	 FORMCHECKBOX 

	QuickCalc
	Sample03

	 FORMCHECKBOX 

	Labetalol
	Sample04

	 FORMCHECKBOX 

	Labetalol
	Sample05

	 FORMCHECKBOX 

	Labetalol
	Sample06


If this data is opened using Selection 2, the entire sequence will be viewed as a single data file.

In another example, the following QQ sequence will generate two data subdirectories, each containing one .sld and a corresponding .pmd


Normal Sequence

	New Sequence
	Drug Set
	Sample

Name

	 FORMCHECKBOX 

	QuickCalc
	Sample01

	 FORMCHECKBOX 

	QuickCalc
	Sample02

	 FORMCHECKBOX 

	QuickCalc
	Sample03

	 FORMCHECKBOX 

	Labetalol
	Sample01

	 FORMCHECKBOX 

	Labetalol
	Sample02

	 FORMCHECKBOX 

	Labetalol
	Sample03


If this data is opened using Selection 2, the entire sequence will be viewed as a single data file, rather than being parsed into two data files.

A drawback to both of these options is that if the drug set listed in the processing method (.pmd) has more than one target, only the first target of each .pmd will be shown.

8 Thermo Processing Methods
There is an advantage to using Thermo data in that GMSU/QC can retrieve information from processing methods (.pmd’s). GMSU/QC pulls as much information as it can from the files available to it from each CDS environment. Table 1 shows a comparison between Thermo and Sciex listing the information that GMSU/QC can retrieve automatically vs information that needs to be configured manually.
Table 1
Thermo/Sciex Automatic Information Retrieval Comparison

	Information

Component
	Thermo 1
	Sciex

	
	Automatic
	Manual
	Automatic
	Manual

	Analyte Name
	X
	
	
	X

	Internal Standard Name
	X
	
	
	X

	Analyte/IntStd Association
	X
	
	
	X

	Compound association with transition ion set
	X
	
	
	X

	Calibration/QC Level
	X
	
	X
	

	Calibration/QC Concentration
	X
	
	
	X


1
With a correctly matching processing method
Though GMSU/QC contains the tools needed to configure manually all the Information Components listed, that action can become quite tedious, especially when throughput is ramped to >50 different analytes/species/assays per day.

If an incorrect (or no).pmd is configured in the Thermo .sld, then all the Information Components must be configured manually.

9 Conserved GMSU/QC Features

Each GMSU/QC module has several features that are identical (or nearly identical). These features are discussed here. See Figure 1 for a module that has examples of these features.
[image: image2.png]3 QuickCalc - GMSU 5.0.39 - Permeability Calculator
Menw.

Permeability Calculator Choose a fle:| Enable Sample
- Choose Data Access Corfiguaton Choose Data Acquistion Mode:— [ 1 Change Waring
& Open Quickuan patent g or an ncvidul s | = Low Throughputcquiston | | 2| Imnamine | uickCaesld | May 01, 2007 185838 et i unCareDend K o] e | it |
" Open eniie 00 parent sd as a singe sequence |  High Thoughput Acquistion | | 3[Parostene | DuickCdc sl | Mey 01, 2007 185330 € \XealibuQuickBuanCamedDemo\PK of _S21¢C! | EXT
4[Vincsic GuickColo 9| Mey 01, 2007 185838 CcalbuQuickuanCarnedDemotPK o
Browse... | choose a data e 5{Alprozolom | GuickCale.sild [ May 01, 2007 165638 C\XealibuQuickBuanCamedDemo\PK o |
[C:Wealbur QuickQuanCamecbemo P curve data P5012007_183911 Data Saved &
|o1_quikcaciquickcat.sd S 5|7 Lodked
Excluded AOL-500 [BAL=25 _[[Anal RT Flag - 10) (15 AT Flag = 10) S Peak Int_ Flag = 10) (QC Peak Int. Flag = 20) Binalyte:
Sample List - 46 [ acs [ Stondads [ Flagged Sanples - 10 [ Unknowns [iefazodone
Sample Sample Nom. Area  [Analyte [Analyte |Analyte 15 |
File Name _[Name Type Assignment| Conc. | Conc. | %Bias |Std Exci?|Ratio|RT __|Peak Area|Man. Int.|IS RT |Peak Area|  (I5"ouccac
1| QuickCalc_1
2 | QuickCale_02_|Blank Blank DA 195] 0076166] 191 5398684 1.70] _84007347|  |[Comments (<250 characters)
3 |QuickCalc 03 [Blank Blank DA4E 145 0.076229 1.86] 6386185 166] sa77edEg| [ omments
4| QuickCale_04_|Blank. Blank DA-45 115] 0043637 193] 316021 172 au573809
5 | QuickCale_05_|25ng/mL StdUpdate |A-5td 1 25] ana| 21 0009111] 192 730924 1.70] 60226713
6 | QuickCale_06_|5 0ng/mL StiUpdate |AStd2 5| a7 68 0015688 193] 122623 172 81350664  SigFigs
7 | QuickCale_07_[10.0ng/mL StiUpdate | A5t 3 0| s3] 1 0031271] 193] 2471626 17279040128  Decinals
8 | QuickCale_08_|25.0ng/mL StUpdate |-Gt 4 25 251 04 0033967 193] 7884001 17279662934 NE
9 [QuickCalc 03 [50.0na/mL StdUndate |A-Std5 sol 529l 58 oziems| 192 168a7i4 171 73697165
<imi] 3]
Chromatography Calibration Configuration Actions | Permeability
BW  Smootns PNF__ANE | YAWSTwe | Chromatogr. Review B Smoots _PE AV [[Bxoend Chromatoaram Pane
o] [2]-l[ T | & Ak |0 o e s & Nomal ¢~ Vertcal ¢ orzoral
g | elative g | Left single-click in graph to restore previous view
001-225 NL 58666 000-225 NL 690E7
#1:+ CESIsid=10.00 SRM ms2 470.010@cid34.00 [245 956-246.056, 273.873-274.073] #1:+ CESI sid=10.00 SRM ms2 320.210@ci425.00 [151.978-162.078, 293 995-294.095, 31
RT: 192 RT: 1.68
Ax 20041162 A 319808262
5000000 Analyte 60000000 Int Std
500000005
40000005 >
H £ 400000003
Z3000000] £
2 2300000003
£ 2000000 2
2 2200000003
foo00003 10000000}
o o
T T T T T T T T
05 10 15 20 05 10 15 20
Time (min) Reset Time (min) Reset

Display HT Chromatography.

[ Jueruely egrred

[rarualy egrted





Figure 1
Permeability Calculator Example

9.1 Choose Data Access Configuration

These options govern how GMSU/QC will load data. The results of the options differ between Sciex data and Thermo data.

The default setting for this frame is configured in the Hepatic Clearance Calculator Configuration Settings in the Configuration Utility – Hepatic Clearance tab – Data File Access Mode item.

9.1.1 Sciex data

· Users may choose to load a single data file or all data files within a directory.

· If ‘Open a single data file…’ is chosen, then a single data (and any multiple analytes configured with that single data file) will be listed in the ‘Choose a File’ grid at the top of the window.

· If ‘Open all data files within a directory…’ is chosen, then all the data files in the same directory as the selected data file (and any multiple analytes configured with any of the data files) will be listed in the ‘Choose a File’ grid at the top of the window.

9.1.2 Thermo data

9.1.2.1 Open a data file or a QuickQuan parent .sld

A a single data file (and any multiple analytes configured with that data file) will be listed in the ‘Choose a File’ grid at the top of the window.

9.1.2.2 Open all data files within a directory

· If the data file is generated from XCalibur or LCQuan, then all the data files in the same directory as the selected data file (and any multiple analytes configured with any of the data files) will be listed in the ‘Choose a File’ grid at the top of the window.

· If the data file is generated from QQ, then a single data file will be listed in the ‘Choose a File’ grid at the top of the window. Any data related to multiple analytes configured with that data file will be shown in the Sample List (or chromatography list in the Hepatic Clearance module). This is advantageous in the Generic Chromatographic Viewer module because an entire sequence of data may be reviewed simultaneously. However, this is detrimental in any of the other modules since the data would not be able to be processed correctly.

9.2 Choose Data Acquisition Mode

HT Acquisition is supported with ABI data in both Hepatic Clearance and Permeability modules. HT Acquisition is supported currently with Thermo data in the Generic Chromatographic Viewer module only.

Users must select whether the data file being loaded is LT or HT. If the data file does not exist in the database, users will be prompted to assign the data as LT or HT (see Figure 2).
[image: image3.png]This raw data file:
Ci\Analyst Data\Projects\Demo\HepCIHT\Data\01 (A455_06Ld_HTI_SDF)_pos.witf
has not been configured in the GMSU database.

Select LT if this raw data file is to be processed as a
Low Throughput acquisition file.

Select HT if this raw data file is to be processed as a
High Throughput acquisition file.

© Low Throughput (LT) Acguisiion

 Figh Thraughput (-7) Acquisiion

Cancel





Figure 2
HT or LT acquisition type assignment

The default setting for this frame is configured in Configuration Utility – [module] tab – LT or HT Acquisition parameter. The installation default value is ‘LT’.

If desired, an administrator can make this option frame invisible. The visibility of this frame is configured in Configuration Utility – [module] tab – Show Low Throughput/High Throughput Window parameter. The installation default value is ‘No’ (option frame not visible).

If the frame is invisible, new data will be processed automatically according to the Configuration Utility LT or HT setting and users will not be prompted to assign data.

9.3 Browse…
The default path for the Browse button is configured in the Configuration Utility – [module] tab – Default Data Directory field.

[image: image4.png]Select a file.

S 0zz02007_1e2253

(201 busprone
(202_reserpine
My Recent

G
e

)

My Computer

Nk Fomone:  [po202007 10225390
s

Fies of tpe: Sd Fies (*sid)





Figure 3
Browse… Window

· Choose the Browse… button to browse to a raw data file or raw data file directory.
· The ‘Files of type’ dropdown box content will include .sld, .wiff, or both (if both CDS environments are loaded on the workstation).
· If both CDS environments are loaded on the workstation, then the sequence order of the ‘Files of type’ dropdown box content is governed by Configuration Utility – [Module] – Select Default CDS Environment entry. If ‘Thermo’ is chosen, then ‘.sld’ appears first in the ‘Files of type’ dropdown box.

· Data will be loaded into the ‘Choose a File’ grid (see Section 9.4, Figure 5) and the first file will be processed. The number of rows in the grid very depending on the selection of Choose Data Access Configuration (see Section 9.1). The column contents of the grid are explained in 9.4.
Once data has been loaded, GMSU/QC makes initial database table records and records five user identification records: Initial Date, Initial User ID, Initial User Name, Modification Date, Modification UserID, and Modification User Name. In this scenario, the Initial and Modification userid, username, and date information would be the same. The information may be viewed in the Choose a File grid.
[image: image5.png]Initial Date Initial User Name|
Lany Elvebak.

Modification UserlD | Modification User Name
ubbs Lany Elvebak.

3]6/22/2007 1:48:07 PM] Gubbs Lany Elvebok __|6/22/2007 1.48.07 PM | Gubbs Lany Elvebak.
4[5/22/2007 1:45.07 PM] Gubbs Lany Elvebak __|6/22/2007 1.48.07 PHM Gubbs Lany Elvebak.
5[6/22/2007 1:45:07 PM] Gubbs Lany Elvebak __|6/22/2007 1.48.07 PM] Gubbs Lany Elvebak.





Figure 4
Choose a File Grid: User Identification
9.4 Choose a File Grid

[image: image6.png]Inipramine

1.5
05012007_15391 1.1

hay
May 01, 2007 185838

\\GUBBSLAPO3\calibu\DuickuarCa

05012007_15391 1.1

May 01, 2007 1858:38

\\GUBBSLAPO3\caliou\DuickDuarCa

Mingsic

05012007_15391 1.1

May 01, 2007 1858:38

\\GUBBSLAPO3\caliou\DuickDuarCa

7
7
3] Parosiene
4
5

Alprazolam

05012007_15391 1.0

May 01, 2007 1856:38

\\GUBBSLAPO3calibu\DuickDuarCa

Eaml

>





Figure 5
Choose a File Grid

After the user loads data, the Choose a File grid is filled with data. This grid has several columns that contain useful information. The following describes the columns:
	Column Heading
	Description

	Analyte
	Analyte Name.

· When data is initially loaded, GMSU/QC assigns Analyte Name as the data file name (minus the .wiff or .sld extension). If a .pmd file is present (for Thermo data), Analyte Name is retrieved from the .pmd file.
· Once data has been loaded, users may modify the Analyte Name by modifying the contents of the window Analyte text box (see Section 9.12.1). When the Analyte text box is modified, the grid cell Choose a File grid cell updates automatically.
· A third way to modify the Analyte Name is through the Assign Transition Ions feature (see Section 9.16).

	Title/Sample
	Sample Name or Sample Title. GMSU/QC assigns Sample Name/Title depending on environment and acquisition type.
· For Thermo data, the Sample Name/Title is the .sld file name.

· For Sciex data, LT Acquisition, the Sample Name/Title is the .wiff file name.

· For Sciex data, HT Acquisition, the Sample Name/Title is the Sample value retrieved from the .wiff file.

	Acquisition Date
	The acquisition date/time of the first sample in the data file

	File Path
	The directory path of the data file.

	Sample #
	For HT Acquisition. The sample number within the .wiff file.

	HT/LT
	Denotes acquisition type, either HT or LT Acquisition

	A_PI
	Analyte parent ion

	A_DI
	Analyte daughter ion

	IS_PI
	Internal Standard parent ion

	IS_DI
	Internal Standard daughter ion

	TotTrans#
	Total number of unique transitions listed in the data file

	AnalTrans#
	The transition ion item number (retrieved from the list of transition ions) of the Analyte 

	ISTrans#
	The transition ion item number (retrieved from the list of transition ions) of the Internal Standard

	Deactivated
	Field not available at this time

	TransSet#
	Transition ion set number of the selected Analyte file

	Analyte Filter
	For Thermo data only. The filter string for Analyte

	IS Filter
	For Thermo data only. The filter string for Internal Standard

	ID
	The database record ID for the selected file

	Initial Date
	The date/time that the selected file was initially loaded in GMSU/QC

	Initial UserID
	The network User ID of the user who initially loaded the selected file

	Initial User Name
	The network User Name of the user who initially loaded the selected file

	Modification Date
	The date/time that the selected file was last modified in GMSU/QC

	Modification UserID
	The network User ID of the user who last modified the selected file

	Modification User Name
	The network User Name of the user who last modified the selected file


9.5 Sample Change Warning boxes

‘Enable Sample Change Warning – Chromatogram’ and ‘Enable Sample Change Warning – Results’ (for Hepatic Clearance module) warning boxes are checked by default. If the user attempts to select a new file in the ‘Choose a File’ grid, but hasn’t saved the Chromatograms or Results (for Hepatic Clearance module), one or two warnings are displayed.
[image: image7.png]Save Chromatography? X

A crromstograshy has otbeen saved. Do you wih o save the domstogashy cate?

D] » | o |





Figure 6
Example of a Sample Change Warning

· If the user chooses ‘Yes’, the data is Saved and the next file is displayed.

· If the user chooses ‘No’, the data is Not Saved and the next file is displayed.

· If the user chooses ‘Cancel’, the action is canceled and the original data file remains displayed.

These warnings may become annoying if initial data review is all that is desired. By deselecting one or both of these warnings, the warning messages will be disabled.

9.6 Save Data

The Hepatic Clearance Calculator module and Permeability Calculator module have two save events: Save Chromatography and Save Results. All other modules have one save event: Save.

	
[image: image8.png]_swe |

Datasaved o
=l Locked|




	
[image: image9.png]




	Data not saved/locked
	Data saved/locked


When data is in a NOT Saved/Locked state, the Save button is enabled and the Data Saved&Locked checkbox is disabled. In this state, users are free to modify data.

When data is in a Saved/Locked state, the data is locked, cannot be modified, and can only be viewed. If the user wishes to modify saved data, then the user must first de-select the Data Saved&Locked checkbox.

When a save action occurs, the Modification user information for that data file
(see Section 9.3, Figure 4) is updated.

9.7 Cancel

If a module has a Cancel button and that button is clicked, the underlying data for that record will be reset to its preceding Saved data.

9.8 Sample List

All modules except the Hepatic Clearance Calculator have a sample list. The sample list shows columns of sample-related data. The column headings of the sample list may be modified quickly and easily by clicking the Configuration Actions – Create/Edit Table Heading Set button. See Section 10 for more information.

[image: image10.png]Excluded [AQL-500 [BQL-2.5 [(Anal RT Flag - 10) (IS R Flag - 10) (IS Peak Int. Flag - 20) (QC Peak Int. Flag - 20)

Sample List acs Standards ) Flagged Samples 1 Unknowns

Sample Sample  |Nom Analyte | Analyte 1S Area DF
Name Name Conc. | Conc. RT ___|Peak AreaIS RT |Peak Area|Std Exci? |Rati Dose Form | Instanct

1

2 [Blank QuickCele 02 [Blank 0207 181 70146 170] 63395653 000084112

3 [Blank QuickCelc_03_|Blank 0185 167 64033 166] 62843803 000077254

4 [Blank QuickCele_04_|Blank 0107 1.9 42808 172] 79972536 000053526

5 |2 5ng/mL QuickCele_05_|StdUpdate 25| 250l 01| 192  eemess| 170 793s3ses 000782054

6 5 Ongyml_ QuickCelc_06_|StdUpdate 5| 538 77| 183 1assaoo| 172 sosssier 001658200

7 [10.0ngimL QuickCelc_07_|StdUpdate 10| 02| 23] 1e3] oaasess| 172 78339043 003119310

6 |25 0ngjmL_ QuickCelc_08_|StdUpdate 25| ope| 70| 193] pazenss| 17e| 7sa17873) 008015370

o T8 e ik Cale 18 1Sl Indate Bl mool  aml 1wl tonwamnl 171l sanoasal BEECS





Figure 7
Sample List

The sample list has several tabs that filter data to aid the user in viewing the data (see Figure 7).

In addition, the sample list has several flags that are color coded and blink if configured to do so:

9.8.1 Excluded (Yellow)

If the sample list contains calibration standards, the sample row will be yellow if the calibration standard has been excluded by the user (see Section 9.13.3).

9.8.2 AQL (Orange)

If the sample list contains calibration standards, the sample row will be orange if the calculated concentration is above the highest accepted calibration standard concentration.

9.8.3 BQL (Blue)

If the sample list contains calibration standards, the sample row will be blue if the calculated concentration is below the lowest accepted calibration standard concentration.

9.8.4 Miscellaneous Assay Flags (Red)

The Miscellaneous Flag displayed criteria settings are obtained from the Assay Flag Criteria settings (see Section 9.14.3). Row colors for these flags are shown only if the respective sample list Required Table Heading is shown:

	Flag
	Required

Table Heading
	Additional

Table Headings

	Anal RT Flag
	Analyte RT Flag
	Analyte RT Ave
	%Analyte RT Diff

	IS RT Flag
	IS RT Flag
	IS RT Ave
	%IS RT Diff

	IS Peak Int. Flag
	IS Int. Flag
	IS Area Ave
	%IS Area Diff

	QC Peak Int. Flag
	QC Int. Flag
	QC Area Ave
	%QC Area Diff


9.8.4.1 Anal RT Flag (Analyte Retention Time Flag)

· The Analyte RT Ave column contains the average Analyte retention time (RT) of all samples

· The %Analyte RT Diff column shows the % difference between the actual RT and the average RT

· If the % difference value is outside the displayed Flag percentage then the sample row will be pink.

9.8.4.2 IS RT Flag (Internal Standard Retention Time Flag)

· The IS RT Ave column contains the average IS retention time (RT) of all samples

· The % IS RT Diff column shows the % difference between the actual RT and the average RT

· If the % difference value is outside the displayed Flag percentage then the sample row will be pink.

9.8.4.3 IS Peak Int. Flag (Internal Standard Peak Integration Flag)
· The IS Area Ave column contains the average IS peak area of all samples

· The % IS Area Diff column shows the % difference between the actual peak area and the average peak area

· If the % difference value is outside the displayed Flag percentage then the sample row will be pink.

9.8.4.4 QC Peak Int. Flag (Quality Control Sample Peak Integration Flag)
· The QC Area Ave column contains the average QC peak area of all samples

· The % QC Area Diff column shows the % difference between the actual peak area and the average peak area

· If the % difference value is outside the displayed Flag percentage then the sample row will be pink.

9.9 Display HT Chromatography

(For LT acquisition data only)

Each GMSU/QC module contains a ‘Display HT Chromatography’ button. When the user clicks this button, GMSU/QC will look for an existing text file containing pseudo HT data. If the text file cannot be found, GMSU/QC will generate one (one each for Analyte and Internal Standard) by concatenating the XY data retrieved from each data set sample. The generated text file is displayed in the corresponding environment’s (either Sciex or Thermo) graphing tool. The result is that the chromatographic peaks of the entire assay may be reviewed in a single chromatogram. For example, Figure 8 shows a 16-injection assay acquired in the normal LT manner, but displayed in a HT manner.
The advantage to this display is that users may review the entire assay at once. This type of view makes it obvious if there is a problem with a sample (e.g. very low signal for an Int Std or Analyte) or the assay (e.g. erratic signal for the Int Std), which may point to problems in sample preparation or problems in the HPLC instrument.

These types of observations can be easily missed in the traditional chromatographic review method in which individual chromatograms are reviewed (because each peak is typically normalized in the CDS window, hiding the fact that the peak signal may be attenuated) or peak area lists are reviewed (because it is tedious to generate the list and the review may miss small or erratic peak areas).
There is an additional advantage of the HT Display if Thermo data is being viewed. Integration parameters may be optimized at the HT level if Thermo data is viewed (see Figure 9). This is advantageous over the traditional manner of optimizing integration parameters because the user can see the effect of the optimization on all peaks immediately, rather than having to inspect each peak after an optimization event.

[image: image11.jpg]Intensity, cps.

Intensity, cps.

#2 Pseudo HT Acqy
Analyte - 01 ()

Pseudo HT Integration Parameter optimization not available in Analyst(R) en

B GUBBSLARD3 GutbeLap03_CAnslyst Data Project Demo HepCILT Dsta 0 1 (NS, _cos._HC_0_Anslyte it

11825
11082,

1.00s2.

50088

20024

70024

00ss

50084

<0028

2008

20088

1.0084,

000

To focus on a peak in the main form, single-click on the peak in either chromatogram
Internal Standard

17e

1.00s2.

0024

0088

70024

200ss

50084

<0028

20084,

20088

1.0084.

000

ss8

1208

1040

(SUBBSLAPO3 skt p02_CiAnalyst Dot s oems iepci s (N5 _+_1_1S

247

1245

1040 1245

Hesets

Miax. 1,125 cos




Figure 8
Display HT Chromatograph – Sciex Data
[image: image12.png]Pseudo HT Acquisition Display
Analyte - Alprazolam [~ Apply integration parameter Exit
o AE changes to original dala J
o 5 [ResetA |
001-200 NL 807E6
+ CESI 5id=10.00 SRM ms2 302.010@cid40.00 [204.957-205.057, 280.821-281.021]
RT:871

8000000

7000000

6000000

ity

5000000

4000000

Absolute Intensit

3000000

2000000

T
45
Time (min)

T
70

T
75

Internal Standard
o1

A

©

B

To focus on a peak in the main form, single-click on the peak in either chromatogram

0.01-9.00 NL: 3518
+CESIsi

3500000

3000000

2500000

ity

2000000

1500000

Absolute Intensit

1000000

500000
RT.025

10.00 SRM ms2 329.210@cid25.00 [161.978-162.078, 293.995-204.095, 311.018-311.119]

RT:389

RT: 172

T,140 ) LRT:202  RT.oS6  RTa%

RT:6.47

RT 465  RT.517 RT.559

RT.847.

RI.7.26 RT.771
T

RT:8.39

RT:878

T
05

RLAS,
0

T T T T
30 25

15 20 40

T
25

T T T T
45 50 55 60
Time (min)

65

70

75

80

85





Figure 9
Display HT Chromatograph – Thermo Data

9.10 Chromatographic Display

All GMSU/QC modules display chromatography in essentially the same manner. One window (either top or left) shows the Analyte while the other (either bottom or right) shows the Internal Standard.
9.11 Chromatographic Processing Functions
To perform chromatographic functions, GMSU/QC uses the software development kit components provided by Sciex and Thermo, respectively. Therefore, when users optimize chromatography, they can expect the features available in the native chromatography data system (CDS) will be behave similarly in GMSU/QC. In the same manner, it can be expected that the GMSU/QC chromatographic features will differ between Sciex data and Thermo data, though every effort has been made to ensure the differences are minimal.

[image: image13.png]BF  Smooths NT AT Chromatogr. Review

[ N [NoFisg

1 o AT 2 pare: 72 97151 o o Samele 4 01 - £ inkston A5 Mex 11e5ces. Analyte [T

2

05e 3]

10085, F

s00es Chrom 5

2 Saved s

2 oooss 7

z s

. Normaize |2
£  Yes

= 2008 ) »

© 0 n

0.0/ 2

o 02 oa  0s o5 de o7 o0& o5 5

Time, min 7

Display HT Chromatagraphy. Reset Peak Labet [0:Unknown 0





Figure 10
Example chromatogram window – Sciex

[image: image14.png]Smooths  PNF_ ANF [ YTy Chromatogr, Review
& Absolute s

g

[ | N e | O =l

0.0

ity

Absolute Intens|

5000000

1-2.25 NL:5.86E6

#1.+ CESI 5i0=10.00 SRM ms2 470.010@cid34.00 [245.956-246.056, 273.973-274.073]

RT: 192
AA'20041162

8
T

3000000

2000000

1000000

T T T T
05 10 15 20
Time (min)

Analyte

Reset

e [





Figure 11
Example chromatogram window - Thermo
Users may perform the following events in a chromatogram:

	Event
	Description

	BF (Bunching Factor)
	Sciex only. Bunches points by the number displayed.

Changes to BF are made to all samples.

	BW (Baseline width)
	Thermo only. Changes to BW are made to all samples.

	Smooths
	Smooths data by the factor displayed.

Changes to Smooths are made to all samples.

	NT/PNF
	Noise Threshhold/Peak Noise Factor (Sciex/Thermo)

Changes to NT or PNF are made to all samples.

	AT/ANF
	Area Threshhold/Area Noise Factor (Sciex/Thermo)

Changes to AT or ANF are made to all samples.

	Point-to-Point

Drop to Baseline
	Sciex only. Will apply the setting to a manual integration event.

	Y-Axis Type
	Thermo only. Will set the Y-Axis to Absolute or Relative

	Chromatogr. Review
	Choose different review states.

The contents of this dropdown box are configured in Configuration Utility – Flags.

	Peaks Button
	Thermo only. Will display all peaks found in the chromatogram.

	Save Chrom Button

Chrom Saved Checkbox
	Hepatic Clearance Calculator and Permeability Calculator modules only. Saves the chromatographic portion of the data.

See Section 9.6.

	Normalize Y
	Will normalize the Y-Axis to the setting chosen.

	Reset Button
	Will reset the chromatographic window to full scale.

	Display HT Chromatography Button
	Self explanatory. See Section 9.9.

	Remove Manual Integration Button
	Will remove the manual integration settings of a peak (if manually integrated).


9.11.1 Assign expected peak retention time (Analyte or Internal Standard)

[image: image15.png]B34 GMSU 3.2.17 - Hepatic Clearance Calculator
Menu,
‘Change Data il Path...
Copy PeskIntegrations to Clipboard
Generate Reports..
Peak Area Text Fie..
‘Manually Enter Peak Retention Tmes...

Enter LT Retenton Tme - Int Std
Display Multple Resuits.
‘Assign Transiton Tons...
Set Retention Time Window Parameters... 1@l when





Choose Menu – Enter LT Retention Time – (Analyte/Int Std)

The user will be prompted to enter the expected retention time. The entered time will be applied to all samples.

The following features are slightly different between the Thermo and Sciex environments:

9.11.2 Sciex data

9.11.2.1 Zoom X-Axis

The x-axis may be zoomed by left-clicking and dragging in the x-axis title area of the chromatogram.

9.11.2.2 Zoom Y-Axis

The y-axis may be zoomed by left-clicking and dragging in the y-axis title area of the chromatogram.

9.11.2.3 Manually integrate peak

[image: image16.png]055

025 4o ass o

% os o

Time. min





The peak may be manually integrated by left-clicking and dragging from the desired start time to the desired end time.

In the Hepatic Clearance module and Permeability module, the peak that has been manually integrated is annotated with an “M” in the chromatography data table to the left of the chromatogram.

In all other modules, a manually integrated peak is denoted in two ways:

· The Sample List columns ‘Analyte Man Int’ or ‘IS Man Int’, if displayed, will contain an “M”

· The ‘Manually Integrated’ checkbox at the lower right of the chromatogram will be checked.

9.11.2.4 Re-identify peak (LT acquisition only)
Right-mouse-click on the peak you wish to be identified as the peak

9.11.3 Thermo data

9.11.3.1 Zoom X- and Y-Axis

The x-axis and y-axis may be zoomed by left-clicking and dragging in the PLOT area of the chromatogram.

9.11.3.2 Manually integrate peak

[image: image17.png]195

200
Time (min)

200




The peak may be manually integrated by left-clicking and dragging either the blue start-peak box or the blue end-peak box to the desired start/end times.

In the Hepatic Clearance module and Permeability module, the peak that has been manually integrated is annotated with an “M” in the chromatography data table to the left of the chromatogram.

In all other modules, a manually integrated peak is denoted in two ways:

· The Sample List columns ‘Analyte Man Int’ or ‘IS Man Int’, if displayed, will contain an “M”

· The ‘Manually Integrated’ checkbox at the lower right of the chromatogram will be checked.

9.11.3.3 Add a peak

Right click on the chromatogram plot area and the cursor converts to a Thermo Add Peak cursor. Click and drag from left to right on the base line where the desired peak is located.

This action results in a single manually-integrated peak for the chromatogram.

9.12 Miscellaneous Features

All modules except the Hepatic Clearance Calculator and the Permeability Calculator have an area to the right of the Sample List that contains miscellaneous configuration features:

[image: image18.png]e

Unknowns efazodane
Analyte Filter _||Comments (<250 characters)
4 CESIsid=1000

Replace Calir Pt
<

Exclude Calbr Pt

SigFigs /Dec.
@ sigFigs
 Desimals





Figure 12
Miscellaneous Configuration Features

9.12.1 Analyte

Users may modify the Analyte Name in this text box. See Section 9.4 for additional details.
9.12.2 Comments

Users may enter comments in the Comments text box.

9.12.3 Replace Calibr Pt Button

To Replace excluded calibration points, users select one or more excluded samples in the sample list, then click the Replace Calibr. Pt. button.

9.12.4 Exclude Calibr Pt Button

To Exclude calibration points, users select one or more samples from the sample list to exclude, then click on the Exclude Calibr. Pt. button.

9.12.5 Sig Figs/Dec

Users may choose to display values based on significant figures or decimal places. Users enter the number of significant figures or decimal places in the text box. Data is updated immediately upon any change in this setting.
9.13 Calibration

All modules except the Hepatic Clearance Calculator and the Permeability Calculator have a Calibration window. The calibration window contains items to configure calibration parameters, such as regression type, regression weighting, Use IS, and concentration units. Note that, for Thermo data that contains a valid .pmd, concentration units are entered automatically.
[image: image19.png]Chromatography

L Configuration Actions.
Regression Chromatography Calibration Values
Linear v, (0.0043255)°X + (-0.0041894) Solid points are Included C:‘:""“"‘::';' 15 Apply to
R2= 099831 Hollow points are Excluded tbration Fon
\:l[e»ghﬂ]ng N poi Comcontrations __Chromatography
Use 15 ‘ Conc. |
e H #5tds 15|
Mo H STD_1 ]
Z STD_2
concnits | &
ugint STD_3
0 100 200 300 400 500 600 STD_4
Concentraton (ugimL)
STD_5 a





Figure 13
Calibration Tab

9.13.1 Calibration Discussion

GMSU/QC will retrieve calibration level information from the underlying data files (.wiff or .sld). The calibration level information is shown in Sample List Calibr Level table heading.

If the retrieved Sample Type shown in the Sample List is incorrect, users may modify this value in the Sample Type column. In addition, users may enter calibration (and QC) concentrations in the Nom Conc. column (nominal concentration).
	
[image: image20.png]Sample  [Nom
e Conc

Blank

| StaUpdate





	
[image: image21.png]Sample  |Nom
Type Conc.

Blank
25

StdUpdate 5







Alternatively, users may use the Chromatography Calibration Values feature to enter calibration concentration values.
9.13.2 Chromatography Calibration Values

The Chromatography Calibration Values feature allows users to enter calibration values for calibration levels and/or sample types and Apply to Chromatography. The manner in which the concentration values are applied to the sample list depends on the presence of calibration levels.

If GMSU/QC was able to retrieve calibration levels from the underlying data, then STD_1, STD_2, etc. correspond to Level 1, Level 2, etc. For example, when the Apply to Chromatography button is clicked, then STD_1 concentrations are entered in any row with a Level 1 calibration level.

If GMSU/QC was unable to retrieve calibration levels from the underlying data, then STD_1, STD_2, etc. corresponds to the first Standard Sample Type, the second Standard Sample Type, etc. For example, if nine standard concentrations are configured in the Chromatography Calibration Values section, then these concentrations will be entered for the first nine Standard Sample Types. If, for example, there are eighteen Standard Sample Types, then the feature will start over: STD_1 = Standard Sample Type #10, STD_2 = Standard Sample Type #11, etc.
An advantage of using Thermo data is GMSU/QC can access Thermo processing methods (.pmd). If a correct .pmd is contained in the Thermo .sld, then GMSU/QC will retrieve the calibration level and calibration concentration (as well as QC concentrations) and enter the values automatically into the Sample List. This can be an enormous time saver if more than, say, ten assays are performed at once. See Section 8 for more discussion of Thermo .pmd’s.
9.13.3 Excluding/Including calibration standards

All GMSU/QC modules that have calibration features contain buttons that allow users Exclude or Replace calibration points.

To Exclude calibration points, users select one or more samples in the sample list to exclude, then click on the Exclude Calibr. Pt. button.

To Replace excluded calibration points, users select one or more excluded samples in the sample list, then click the Replace Calibr. Pt. button.

In both actions, concentrations and parameters (e.g. clearance or AUC) are updated immediately.

9.14 Configuration Actions

[image: image22.png]Chromatography 1 Calibration 1 Configuration Actions...

‘Sample Table Column Headings 'Optimize Sample Number:

Apply to Data Set ‘ Create/Edit Table Refresh

Heading Set
Heading Set Heading Set Values

Default Col Names ~]| _Assay Flag Criteria
Pracll Flag Criteria

Semple Name [Analyte RT

Sarnple Type 15 AT 10
Nom, Conc. 15 Peak Int 20
Conc QCPeaklnt 20
%Bias

Anaiyte BT v





Figure 14
Configuration Actions

All modules except the Hepatic Clearance Calculator and the Permeability Calculator have a Configuration Actions window.

9.14.1 Sample Table Column Headings

9.14.1.1 Apply to Data Set Button

Users may quickly change the Sample List table headings by either double-clicking on a Heading Set entry or by choosing a Heading Set entry, then clicking the Apply to Data Set button.

9.14.1.2 Create/Edit Table Heading Set

Users may modify the Heading Set by clicking on the Create/Edit Table Heading set Button. The Create/Edit Table Heading Window is displayed. See Section 10 for further details.

9.14.2 Optimize Sample Number

When GMSU/QC initially processes loaded data, it must pick a sample in which to determine the expected compound retention time. The Optimize Sample Number box displays the sample number that gets chosen for processing.

Notes:

· The initial contents of this box is determined by the Configuration Utility – [Module] – Sample Number to Evaluate Chromatography field.

· The user may reprocess data by modifying the value in this box and clicking the Refresh button

· If the number in the box is greater than the number of samples in the data set, then the last sample in the data set is used to determine expected compound retention time.

9.14.3 Assay Flag Criteria

Assay Flag Criteria (see Section 9.8.4) specific to the chosen data file may be entered here. The default values for each flag for newly-loaded data are retrieved from the respective Configuration Utility – [Module] – Flag Criteria entries for that module
9.15 Generate Reports

There are two ways to generate reports in GMSU/QC. Figures of actual Generate Reports windows can be found within the individual modules User Manual sections.
9.15.1 Console – Generate Reports

Each Console module sub-level contains a button to go directly to the Generate Reports window for that module. For example, Figure 15 shows the Hepatic Clearance Calculator Reports button.
[image: image23.png]3 GMsU Console

Gubbs* Mass Spec Utilities | About..|
_tep...|

- Home

- Hepatic Clearance
Calculator

Exclusively Disrbuted By

Thermo

SCIENTIFIC

Hepatic Clearance Calculator
Hepatic Clearance Calculator Reports
Go Back

‘Watkstation Prerequisies Installedt A product o Gubbs Inc

[V Themo Scientific(F) XDK-DEM ®
B S VERY




Figure 15
Example Console – Report Generation entry way
9.15.2 [Module] – Menu – Generate Reports…

Within each module, users may choose Menu – Generate Reports… to go to the Generate Reports window.

[image: image24.png]$2 GMSU 3.2.17 - Hepatic Clearance C.
verw.

‘Change Data Fie Pat
Copy Peak Integrations to Clpboard

Peak Area Text k...
Manually Enter Peak Retention Times.
print

Enter LT Retenton Time - Anlyte
Enter LT Retenton Tme - Int Std
Display Multple Resuits.

‘Assign Transiton Tons...

Set Retenton Time Window Parameters,





Figure 16
Menu – Generate Reports

9.16 Menu Items

Each module has a Menu from which additional functions can be performed. Some of these items are conserved in all modules and will be discussed here. Figure 17 shows the Generic Chromatographic Viewer Menu as an example.

[image: image25.png]‘Change Data Fie Path.
‘Generate Reports.
print Chromatograms
Retention Time Utites..

HT Acausiton Todls
‘System Suitabiity Tooks..
Fil Experiment ID...
Instrument Method Report...
Hebp.





Figure 17
Generic Chromatographic Viewer Module Menu Items

9.16.1 Change Data File Path…
Under construction

9.16.2 Generate Reports…
Opens the Generate Reports window for the module

9.16.3 Print Chromatograms…

For Thermo only. Will generate a Word™ document containing figures of chromatograms.

9.16.4 Retention Time Utilities

[image: image26.png]g i e CViewsr  Geoeene





9.16.4.1 Set Retention Time Window Parameters…

[image: image27.png]Retention Time Parameters..

Affects Thermo Data Only

Check or Uncheck desired compound
Enter Retention Time Window parameters

W Analyte

Retention Time Window Start (minutes)

Retertion Time Window End (minutes)

I~ IntStd

Retention Time Window Start (minutes)

Retertion Time Window End (minutes)





For Thermo data only. When the intensity of Analyte and/or Internal Standard peaks are low, then it is sometimes hard for GMSU/QC to distinguish expected (e.g. highest intensity) peaks from contaminant peaks. This function allows users to enter a retention time window to instruct GMSU/QC to look only within the retention window range to look for the most intense peak.

9.16.4.2 Enter LT Retention Time – Analyte…
[image: image28.png]Enter Analyte Retention Time.

Eterthe expectedetention time fo the analyt:





For LT Acquisition only. This function is used to set the expected retention time of the analyte for LT data.

9.16.4.3 Enter LT Retention Time – Int Std…
[image: image29.png]Enter Internal Standard Retention Time.

Ente the expected etention time fo the inernal
standard:





For LT Acquisition only. This function is used to set the expected retention time of the internal standard for HT data.

9.16.5 Assign Transition Ions…
See Section 9.17 for details about assigning transition ions.

9.16.6 View Compound Information…

For Thermo only. Displays several tables of compound, sequence, and processing method information useful for debugging. Used specificially by GMSU/QC developers.

9.16.7 Configuration Utility…

Will open the Configuration Utility window and select the appropriate module tab.

9.16.8 Deactivate Records…

Users may deactivate/activate records such that they do or do not appear in the Generate Reports window print queue. See Section 10.2 for further discussion.
9.16.9 UnSave Record…
This action will convert the Saved status of the record to False. The data is reprocessed as if it was a newly opened data file.

9.16.10 Slide Show…

[image: image30.png]F3 Slide Show

Enter slide rate in secands:

Paused atslide 1 of 45 slides.

I

GoToside-»|[ 1

Play | Pouse | Restan| gut





Action will automatically scroll through the sample list chromatograms.

9.16.11 HT Acquisition Tools

For Thermo data only. Available only in the Generic Chromatographic Viewer. HT Acquisition is discussed in Section 3. GMSU/QC provides tools for the efficient processing of HT Acquisition data.

[image: image31.png]ic Viewer

Generate Reports. e
print Chromatograms. || @ Low
Retenton Tme Utites. » fenee || © Hio
Assin Transiion ons...

View Compound Inormatn.

Confuraton Ut s 12007t
Deactate Records

UnSave Record...
Sice Show.

HT Acquisiton Tools
‘System Suitabiity Took..
Fil Experiment:





HT General refers to in-house processes for HT Acquisition.

LDTD™ refers to Phytronix LDTD HT Acquisition apparatus

RapidFire™ refers to Biotrove RapidFire HT Acquisition apparatus

Chromatographic methods are created (if needed) to apply to HT Acquisition data. See Section 11 for discussion of the Chromatographic Method Designer.
9.16.12 System Suitability Tools…

The System Suitability Tool allows user to set several settings to determine if samples pass or fail criteria. This tool is useful for reviewing sequences containing a large number of samples (e.g. 384).

[image: image32.png]Data System Suitability Investigation

Show Columns View Incluce Blarks in Evaluatian *

frale InSid || Table & Giid CYe: G No
PeakWidh* =

o Blanks ignared when calculating averages
et Tine Bndije | Andyie | Andte | Andbte | S | imsw EC]
Peak Area Min save Pcwd | et Tme | Aeabin | "SA | Pkwd | el Tme Feprod
e Settings

[ o ey e e .
Feak Area Reprod. Ex B 015 ]| Average = I |

191

These data are
Saved and
Locked. User
aversge (IR Average . | Comments are

170 1485640 read-only.
*Moiied Peak Width t 1/2 height 5= 7 n n n 0

[ 0

Sample Analyte | Analyte | Analyte | Analyte | IntStd [ IntSd | mntsd | Intsw
File Name Name Peak Wd. | Ret. Time | Peak Area

S/N__| Peak Wd. | Ret. Time| S/N | Reprod.
FlickCole 01 005757 FETEI T M 5 IR 111280 _319743614)

Comments





[image: image33.png]Normal (~ Vertical  Horizontal

Int Std

BW  Smooths  PNF ANF ;AAXE T‘vw‘e Chromatogr. Review BW  Smooths  PNF ANF
o] [3]-/[ o 5 ]| fAEe R o] [3]-{[w
= CRoie Pereo = Left single-click in graph to restore previous view
001-225 NL 476E0 000-225 NL 6.58E7
#1:+ CESIsid=10.00 SRM ms2 470.010@cid34.00 [245 956-245.056, 273.973-274.073] #1:+ CESIsid=10.00 SRM ms2 329.210@cid25.00 [161.978-152.078, 293.995-204.095, 31
RT 1.93 RT. 1.66
A 20045318 AN 310749514
4500000
600000003
40000003 Analyte
35000003 500000003
Z. z
230000003 2400000003
£25000003 2
%20000007 30000000
215000003 220000000
10000003
100000003
5000003
o o
T T T T T T T T
05 10 15 20 05 10 15 20
Time (min) Time (min)

=

=

Display HT Chromatography. Manualy Integrated

Manualy Integrated




9.16.13 Fill Experiment ID…

[image: image34.png]Browse... |choose a data fe:

[6: Xcalbur|QuickQuanCamnedDemo PK curve data|05012007_183911
[\01_QuickcalciQuickCale.sid

Cancel

Enter an Expeiiment ID:
=

[01_GuickCale





Often times users need to tag several data files as part of group. This feature will automatically enter the user-entered Experiment ID into the Experiment ID field of every data file contained in the Choose a File table. 

The default value for the Experiment ID is the subdirectory that contains the data file.

9.16.14 Instrument Method Report

Thermo data only. This feature will retrieve instrumental method from a .raw file in the sequence and display that information (along with some sequence information). The information may be exported to clipboard or Word™ document.
9.16.15 Help

[image: image35.png]Select a help file.

S Merudls

" GMSU_Admintanua_0001.pdf
‘T GMSU _Admintanua_0002pd
T GMSU LUserManual 08.pdf
T GMSU UserManual 09.pdf





Figure 18
Help Window

By choosing Help, users will be prompted to open one of several Help files

9.17 Assign Transition Ions

9.17.1 Sciex data

When data is initially loaded, GMSU/QC looks in the instrument mass spec experiment and retrieves the first two transitions. GMSU/QC assigns the first transition as the Analyte and the second as the Internal Standard. If the acquired data is the opposite, then the user has the option to assign the appropriate transition to Analyte and Internal Standard. In addition, the user may create new Ion Sets if the data contain multiple analytes.

[image: image36.png]Assign Transitions....

Ceate anen
Ton Set

Available Transitions Create... | | Assigned Transitions
0 Bt

01 (A455_06Ld_SDF) 272.25 128.15 515.28 2763 1

Assign Analyte
>

Assign It Std
=

Analyte Name: |01 (A455_06Ld_SDF)

Notes:
If there is no Internal Standard, then assign the Analyte Transition as both Analyte and Internal Standard. Then select the 'Na*
option button in the 'Use IS* frame of the Calibration Tab on the main form.





Figure 19
Assign Transition Ions Window – Sciex Data

9.17.2 Thermo data

When data is initially loaded, GMSU/QC retrieves the first two transitions from the list of filter strings associated with each sample in the .sld. GMSU/QC assigns the first transition as the Analyte and the second as the Internal Standard. If the acquired data is the opposite, then the user has the option to assign the appropriate transition to Analyte and Internal Standard. In addition, the user may create new Ion Sets if the data contain multiple analytes.

[image: image37.png]Assign Transitions....

Available Transitions

Ceate anen
Ton Set

Create... |

| Assigned Transitions

Ton Filter
) [204.957-205.057. 280.921-281.021]
3. 293.995-294.095. 311.019-311.119]

Assign Analyte
>

Assign It Std
=

Alprazolam

Analyte Ion Filter
) [204.957-205.057, 280.921-281.021]

IS on Filter
3, 293.995-294.095, 311.019-311.119] 1

Notes:

Analyte Narme:

[Alprazolam

If there is no Internal Standard, then assign the Analyte Transition as both Analyte and Internal Standard. Then select the 'Na*
option button in the 'Use IS* frame of the Calibration Tab on the main form.





10 Conserved GMSU/QC Reports Features

Each GMSU/QC module Reports window has several features that are identical (or nearly identical). These features are discussed here. The figure below shows the Generic Chromatographic Viewer module Reports window that has examples of these features.

[image: image38.png]&3 Generic Chromatographic Viewer Reports

Generic Chromatographic Viewer Reports [0t

fase <] e

Date Last Processed
4 4 C:XoalburQuickD: X L
081110 001 01.5LD | 11/11/2008 44310 Fh| 11/16/2008 7.06:18 AM|C Xoalbur\datah00008\FiapidFie) 20081111\081110_00T_01.5LD.
DESETHYL AMODIAGUINE | 081110_0003 01 11/20/2008 343 16 8M__12/10/2008 2.05/55 P C\ADDS\DMPK\Projekteh PA5OAMS RF Rawdata\11202008_032406\11202008 05241
15 Tost 3/24/2008 £0033 PM|__12/9/2008 847,19 M| T oalburdala\I0DSSND atal WintStd sd
Nefazodane QuickCale s 5/1/2007 65353 PM|__12/18/2008 310:10 AM | CXcalbutQuickQuanCannedDemo\PK curve dala\05012007_18311%01_OuickCak
PKFT17-0790%1 08062008 22011490 | 8/6/2008 10108 PH| 10/30/2008 10:32.41 AM| C:¥oalburQuickQusrtBT343_350\koquisiion BT Samples\08062008_ 2201145080

@m
Choose a Post-Report Macro: [[None] B

Add or Remove raw data file(s)...  Choose Report Cokamn Content Include n Repart |- Son Prnk Data
 Fopar Solcted Coims || ! by s Re-Sort

Add  Repot Defaul Colunns
& Report Calumns Saved with Recard [ AowColrs || byDataFie

Remove Generate
Esit Columns. by Sample

Data to print.
Analyie

44 AM C:\Xoalbur\ QuickQuan!Ca





10.1 Save Settings

The Save Settings feature allows the user to save the settings (e.g. Sort Orders, Choose a Post-Report Macro, Include in Report, etc.) configured by the user. After executing Save Settings, those settings will be applied the next time the Reports window for that module is opened.
10.2 Deactivate Data

The Existing Data table is populated with data that has been Saved. Over time, this table can become quite large and filled with data that already has been reported. The Deactivate Data feature allows users to mark data as ‘deactivated and not be listed in the Existing Data table.

Click the Deactivate Data button to show the Deactivate Records window:

[image: image39.png]Show
 Deactvted dta
= eveda
g

#Recs Select desired rows

S

Then click Activate or Deactivate

081110_0061_01.5LD

:\Xcalbur\ata\00006\RapidFire\20081111081110_0061_01.5LD

DESETHYL_AMODIAQUINE|081110_0003 01 |2008-11-20 09:49:16

20081210 14:05:

:\ADDS\DIMPKIProjekte|P450\MSRFRawdate|11202008_092406\11202008_092406.5i0

5

2008-03-24 16:00:33

20081209 09:47:19

:\Xcalbur\at2\00059\Datal WntStd.sd

Nefazodone

20070501 18:53:50

20081218 09:10:10

C:\Xcalbur\QuickQuanCannedDemo\ PK curve data\05012007_183911\01_QuickCalc\ QuickGalc.sid

PKF117-07910X-1 08062008_220114.5d]2008-08-06 22:19:09

2008-1030 10:32:41

[C:\Xcalbur\QuickQuan|BT\349_350\Acquisiion\BT Samples\08062008_220114\08062008_220114.5id





To deactivate data:

· choose one or more rows

· click on the De-activate button.
To re-activate data

· choose the Deactivated data button in the Show option group

· choose one or more rows

· click on the Activate button

10.3 Sort Orders

Users may choose up to four sort orders to view data.

10.4 Choose a Post-Report Macro

Users may choose an appropriate Excel file template (or [None]) to use as a Post-Report macro. The dropdown box is populated with all Excel files that are contained in the Windows® directory of the ‘Excel template file’ entry of the module chosen in the Configuration Utility (see Section 14 for more information about the Configuration Utility).

[image: image40.png]#2 Configuration Utility.

Giobal
Hepalic Clearance

Hepalic Clearance Constan
Moy Method

PK Calculator

Pemeabily

Description

Value

Default Baseline Window Value (Thermo Only)

100

Default Bunching Factor Value

1

Default Chromatography Method (HT Acquisition only)

[None]

Default Column Heading Template

Prac2

Default Data Directory

C:\Xcalibur\QuickQuanCannedDemo\PK curve data\

Default Data File Access Mode

1- Open a single data file within a directory

Default Regression

Linear

Default Regression Weighting

1(none)

Default Results Decimal Places

Default Results Plot Regression Significant Figures

Default Results Significant Figures

Default Results Use Sig Figs (Yes) or Decimals (No)

Default Smoothing Factor

Concentration
Excel template file
Flag Criteria (%) - Analyte Retention Time

eportMacros

Flag Criteria (%) - Int Std Peak Area

Flag Criteria (%) - Int Std Retention Time

Flag Criteria (%) - QC Peak Area
= =





11 Chromatographic Method Designer

Often times HT Acquisition data (see Section 3) may require a chromatographic method be developed in order to specify accurate peak retention times or to apply sample specific information to existing HT Acquisition data.

Depending on the acquisition source, there are two main deficiencies of HT Acquisition data:

A:
Sample injection time and frequency information is may or may not be available

If sample injection time and frequency information is not known, then GMSU/QC cannot determine when or how many peaks should be contained in the HT chromatogram. GMSU/QC will simply report the number of peaks it can find using its normal integration algorithm – a number which is often correct if there are 25 or fewer peaks, but is most often incorrect if there are a large number (> 100) peaks.

B:
Sample specific information may or may not be available

HT Acquisition data does not allow the data acquisition system to record sample specific information (e.g. sample name, sample type, sample ID, nominal concentration, etc.)

Fortunately, GMSU/QC has features (Chromatographic Method Designer) that assist the user in defining the number and expected times of peaks, as well as adding or importing sample specific information.

The following table contains comments about the deficiencies (A or B) in the HT Acquisition techniques

	
	HT General
	LDTD
	RapidFire

	A
	No means for obtaining injection times or number of expected peaks
	No means for obtaining injection times or number of expected peaks
	Generates a text file containing injection times and number of expected peaks

	B
	No means for obtaining sample specific information
	No means for obtaining sample specific information
	No means for obtaining sample specific information


The Chromatographic Method Designer can be accessed either through the Menu – HT Acquisition Tools – HT General (or LDTD) items.

[image: image41.png]Retention Time Utites..
‘Assign Transiton Tons...

View Compound Informatin...

‘Configuration Utit
Deactivate Records.
UnSave Record.
Sice Show.

‘System Suitabiity Took..
Fil Experiment D.

phic Vie

individual s
ole sequence





Or the Designer may be obtained by clicking the Create/Edit Method button of the Configuration Actions tab (visible only if HT data is opened).
[image: image42.png]Menu,

Generic Chromatographic Vi

\wer Choose a file:
Choase Data Acquistion Mode:—)

Enable Sample
o Change Warning

=]

Data Saved &
| Loceed

I~ Choose Daa Access Conliguraion
& Open QuickBuan parent sidor anincividual sid || " Low Thioughput Acquistion
€ Open enlie 00 patent sld as  singe sequence ||  High Thotghput Acquisiior]
Aoy Fapidie
Browse... [choose 2 cata fle Do [ 15 1 (fioieer
sl >
Excluded pOL- L= [Flags Ainalyte:
Sample List acs Stondads Flagged Samples Unknowns
Sample Sample [Nom. Analyte [Analyte  |Analyte [Analyte  |Analyte 5 ntStd  [IntStd | Analleomes
Name |Name Type |Conc. |Conc. |RT ~|Peak Area|Peak Ht |S/N Peak Wd IS RT |Peak Area|S/N Peak Wd |Ma

|Comments (<250 characters)

@ SigFigs
 Desimals

#

)

Chromatography

Calibration

Configuration Actions

‘Sample Table Column Headings Optimize Sample

Create/Edit Table | [Number:
Apply to Data Set _ Heading Set_|

Heading Set Heading Set Values

Chromatographic Methods

Create/Edit

Apply to Data Set e

Current Methad:

Col Names

Sarnple Narne

Assay Flag Criteria

Flag _|Criter

ShuGCY_Met Sarnple Type

Norm. Canc.

Canc.

St Excl?

Area Patin

Analyte RT

Analyte Man. Int

Analyte Peak Area

Analyte SN

[

1S Peak Area.

Chromatogr. Method

Peak Values

|_[059828_52 8 ]
o HT
| [11Peaks
17 02
T7HT 01
| [20051005 1

[

[ [20051005_18_01
| [20051005 52 01

“Somple| S|
Narne| if





11.1 Chromatographic Method Designer window
The Chromatographic Method Designer is shown below.
[image: image43.png]Chromatographic Method Designer

Predict
Peaks...

Paste from

Ciipboard

Activate/ Deactivate
Chrom Methods...

| g |

Enter Information:

Obtain Peak Information from:

© Esising Data

* Optional

Peak| Analyte | Int Std | Sample | Sample | Nom | Sample

# | RT_| RT |Name- tiig- 1D~ | Comments

002
003
004
005
006
007
008

] Criomalograptic Method

| - Create Method Parameters:

Enter Expected Number of
Peaks:

Gt Chiom Data rom csv
or Evcel Fle.

Create Method For...

 Anate @ Anabte and Int St

Select aMethad to use:

009
010
[l
[GH

Analyte [ Int 5td | Sample

160 1.80)

Sample

Sampl~

238 2%

013

171 01 316] _aie

014
015
016
017

200510051 EEZ IEET]

20051005 18 472 a7

20051005 18_01 550 550

20051005 52_01 628 628

304105 708|706

018

384 01 7ea 78]

[GE]

384 02 862 s8]

020

304 03 EXT IR

38403 Nals T0i8]io1g]

38404 NolS 1056]_1096]

5201 Ti7a]t.74]

Save this data asa
Chromatographic
Method...

5202 1252 1252

5203 1330 1330]

5401
5720060816

7408 14.08]





Figure 20
Chromatographic Method Designer Window
Users may choose to enter retention time for Analyte, Internal Standard, or both, and sample specific information, in the left portion of the window. If desired, the user may save this retention data as a new chromatographic method by clicking the ‘Save this data…’ button.

If desired, the user may use retention data from an existing saved sample by selecting the ‘Existing Data’ option button located in the ‘Obtain Retention Data from:’ option group. If the user chooses this option, then clicks on a sample in the ‘Select a Sample to retrieve retention data’ list, retention data from that sample will be automatically entered into the appropriate boxes (see Figure 21).

[image: image44.png]Chromatographic Method Designer

Predict
Peaks...

Activate/ Deactivate
Chrom Methods...

Ciipboard

| e | o |

Enter Information:

* Optional

Peak|

Analyte

Int Std
RT

Sample
Name =

Sample
D~

Comments =

StdUpdat]

StdUpdate]

StdUpdate]

StdUpdate]

Obtain Peak Information from:

@ Esising Data
" Chomotographic Method

Create Method For...

© Anate @ Anabte and

Select 3 Sample 1o retieve retert

It Std.

tian data:

StdUpdate]

StdUpdate]

StdUpdate]

StdUpdate]

Analyte

Date

11072008 233627

Nov 20,2008 060101

Aprazolam

May 02,2007 232527

Alrazolam

May 02,2007 18:34:23

Alrenclol

ug 06, 2008 2216:09

Blank

Acthvomycin

Nov 08, 2007 11.04.28

Blank

Blank

Blank

Unknown

Casodex_REnn_18/unel|

Jun 19,2008 151121

Clarthvomycin

Nov 08, 2007 11.04:28

Cropd_1

00122, 2008 150333

Cropd_1

Nov 11, 2008 164310

DESETHYL_AMODIAGUI

Nov 20, 2008 094516

Unknown

Inipramine

Unknown

[

Unknown

Unknown

15

ay 02,2007 192813

Mar 24, 2008 16:00.33

Nefazodane

May 02,2007 1950.03

Nefazodane.

May 02,2007 192813

Nefazodane.

May 01, 2007 185359

Save this data asa
Chromatographic
Method...

PRFT170790%1

Aug 06, 2008 2215:09

eseipine

Jun 19,2007 15:56.25

Fieserpine

May 22,2007 1427:38

Trimethoprim

Nov 08, 2007 11.0428





Figure 21
Use peaks from an existing sample

Alternatively, the user may wish to apply retention data from an existing chromatographic method by selecting the ‘Chromatographic Method’ option button located in the ‘Obtain Retention Data from:’ option group. If the user chooses this option, then clicks on a method in the ‘Select a Method to use’ list, retention data from that sample will be automatically entered into the appropriate boxes (see Figure 22).

[image: image45.png]Chromatographic Method Designer

Predict
Peaks...

Chrom Methods...

Activate/ Deactivate ‘ Paste from

Ciipboard

| g |

Enter Information:

* Optional

Peak|
Fi

002

Analyte
RT

Int Std | Sample
RT_| Name =

Sample
Type =

Sample
D~

Commen

Obtain Peak Information from:

© Esising Data

@ Chiomotographic Method

|

|

Create Method Parameters:

1.88|

1.69)

Blank

Blank

003

1.58]

1.69)

Blank

Blank

004

19

171

Blank

Blank

005

1.66]

1.66]

StdUpdat]

STD1

006

1.89)

1.69)

StdUpdate]

STD2

007

1.89)

1.69)

StdUpdate]

STD3

008

19

171

StdUpdate]

STD4

Enter Expected Number of
Peaks:

Create Method For...

Select aMethad to use:

 Anate @ Anabte and Int St

Gt Chiom Data rom csv

or Evcel Fle.

009

187

1.69)

StdUpdate]

STD5

010

1.66]

1.58]

StdUpdate]

STDB

[l

187

1.69)

StdUpdate]

STD7

[GH

1.85]

1.58]

StdUpdate]

STD8

[C]_Method Name
9828 52

0 HT

11Peaks

Analyte

1.57]

IntStd| Sample

1.57]

Sample

Sampl~

1702

23]

23]

013

1.89)

1.69)

Blank

Blank

171 01

31

31

014

1.66]

157)

Blank

Blank

015

187

1.58]

Blank

Blank

016

1.66]

157)

Blank

Blank

017

19

171

Unknown

PO sample

200510051

3]

3]

20051005 18

4.65]

4.65]

2005100515 01

5.43]

5.43]

6.20]

6.20]

384105

5.97]

5.97]

018

19

171

Unknown

PO sample

384 01

7.74]

7.74]

[GE]

1.58]

1.69)

Unknown

PO sample

384 02

852]

852]

020

187

1.69)

Unknown

PO sample

187

1.69)

Unknown

PO sample

304 03

529]

529]

38403 Nals

1007

1007

38404 NolS

108

108

5201

1163

1163

Apply to
‘sample List

Save this data asa
Chromatographic

Method...

5202

1241

1241

5203

1319

1319

5401
5720060816

13395

13395





Figure 22
Use peaks from an existing chromatographic method

11.2 Paste from Clipboard… button

Alternatively, the user may copy/paste from an Excel file (Paste form Clipboard… button) the retention time and/or sample specific information. The Excel file must have 7 columns. In the example below, the first row contains the names of the column information. In this example, the user would copy rows 2 – 15, columns 1 – 7.

	TargetRT
	IntStdRT
	SampleName
	SampleType
	NomConc
	SampleID
	Comments

	0.12
	0.12
	Sample001
	Blank
	
	'0012
	

	0.36
	0.36
	Sample002
	Blank
	
	'0013
	

	0.6
	0.6
	Sample003
	Standard
	10
	'0014
	

	0.84
	0.84
	Sample004
	Standard
	20
	'0015
	

	1.09
	1.09
	Sample005
	Standard
	30
	'0016
	

	1.32
	1.32
	Sample006
	Unknown
	
	'0017
	

	1.57
	1.57
	Sample007
	Unknown
	
	'0018
	

	1.81
	1.81
	Sample008
	Unknown
	
	'0019
	

	2.05
	2.05
	Sample009
	Unknown
	
	'0020
	

	2.33
	2.33
	Sample010
	Unknown
	
	'0021
	

	2.56
	2.56
	Sample011
	Unknown
	
	'0022
	

	2.8
	2.8
	Sample012
	QC
	20
	'0023
	

	3.04
	3.04
	Sample013
	QC
	20
	'0024
	

	3.29
	3.29
	Sample014
	Blank
	
	'0025
	

	3.52
	3.52
	Sample015
	Blank
	
	'0026
	


11.3 Create Method Parameters

11.3.1 Enter Expected Number of Peaks

When the user enters a number here, the number of rows in the Enter Information table will be set to this number.

11.3.2 Get Chrom Data from .csv or Excel File… button

Users may import retention and/or sample specific data from an existing Excel or .csv file. The format of the file should conform to that shown in the table in Section 11.2.

11.4 Final action

After retention and/or sample specific data has been entered, the user may save the information (if desired) as a chromatographic method to be applied to future day.
Finally, the user may apply this information to the underlying Sample List:

· the user clicks on the ‘Apply to Chromatogram’ button

· the retention and/or sample specific data are entered into the appropriate chromatographic data grids

· the GMSU/QC integration algorithm is called to calculate peak areas (if retention time has been applied).

11.5 Predict Peaks…
When the HT Acquisition file contains a large number of peaks and no injection time information exists, the GMSU/QC peak identification algorithm becomes less reliable and may not predict the correct number of peaks.
In the example shown, the data is from 384 injections. Since no injection time information exists, GMSU/QC attempts to indentify the correct number of peaks. As is shown, the number of predicted peaks (908) is incorrect.

[image: image46.png]Menu,

Generic Chromatographic Viewer Choose a sample Enable Sanple
- Choose Data Access Conligualion..——————  Chaose Dala Acquisiion Mode:— ¥ Change Warring
& Open QuickDuen parent idor an ncvidual sd || " Low Thoughput Acquision || 2| Subsite__[testhOls un 03, 2008 21:2511 .
 Open eniie 00 parert s as  sngle sequence || = High Thaughput Acavision Cancell] NExit
Aol e
b [cromes e e EEY R 71 e
[ Wealbur data 00053 pata WO Std. 5 B
m 3
Excluded ROL-NA _[BAL-NA _[[Anal RT Flag - 10) (15 AT Flag = 10) S Peak Int_ Flag = 25) (QC Peak Int. Flag = 20) Aralyte:
Sample List - 908 acs [ Stondads [ Flagged Samples | Unknowns [roduct
Sample Nom. Analyte [Analyte |Analyte [Analyte  [Analyte 15 nsd (IS Al
Name [Name Conc. |Conc. |[RT __|Peak Area|Peak Ht |S/N Peak Wd IS RT |Peak Area|S/N Peak Wd
1
2_|tesiNOIS _testNOIS Unknown 0.26) 2060 2285 0.01209 0.00000] _ 0.0000C  ||Comments (<250 chereciers)
3 |testNOIS [testhiOIS Unknawn 0.29 1490) 1888| 9| 0.00985 000000] _0ooooc [ ot
4 |tesiNOIS_[testNOIS Unknown 046 747299] 382293 T792] _0.04694 000000 _0.00000
5 |testNOIS_[testNOIS Unknown 0.52] as2s| 413 18] 001673 000000 _0.00000 SigFigs / Dec
B |testNOIS [testNOIS Unknown 072 703847] 0103 Ta84| 005282 000000 _o0000c || HESEP | 6 gigpige
7_|tesiNOIS_[testNOIS Unknown 0.89) 2504 270 13 001444 000000 000000 ||~ ¢ Decinds
8 |testNOIS_[testNOIS Unknown 093] 645920] 344749 T616| _0.05281 000000 000000 = +[3
9 [lestNOIS _[testNOIS Unknown 1.09] 2] 2478 2] 000354 000000 0.0000CY
<im 3
Chromatography Calibration Configuration Actions
B0 Smoote _AF AW | YASTwe | Chomstogr. Review B Smoots _PE AW [[Bxoend Chromatoaram Pane
@ Absolte & Nomal  Vertcal  Horzortal
100 3]l o B No [100] 3]l o B
| C e [ories | Left single-click in graph to restore previous view
001-10450 NL: 5.40E5 000-000 NL:O
#1:-p ESI SRM ms2 355 200@cid22.00 [275.090-275.110] #
RT:10.18 RT:26.14 RT:95.43 100
AXB095 AKITTS RT7305  AAGT0B14 o
AK25T4 RT9015 Analyte ntstd
An 675899 80
70
H H
H 5 o0
£300000 £
H g %
200000 g 40
2 0
2
10
T T T T T o
20 ) 60 80 100
Time (min) = Time (min) Reset
T —— TItarvsl Toterrated [ [R—





The Predict Peaks feature will predict the identity of peaks based on user-defined number of peaks entry, then optimizing the PNF variable to retrieve one or more sample lists with the number of peaks closest to the number expected. The choices of sample lists are listed in the List of Number of Peaks Found table. Users may select the different choices to investigate.
[image: image47.png]HT Acquistion Data processing....

Below is the HT Acquisition Number of Expected Peaks' setting configured in Configuration Utlty - Global

You may modify the 'Number of Expected Peaks' value to be applied to this dataset.
The closest number of peaks found are listed in the 'List of number of peaks found" st box.

Select one of the values and click OK to continue.
GMSU/QC will then process this dataset using the selected number of peaks.

Click Cancel to cancel this action.

Configuration Defaults Sample List # of Peaks: Predicted Missing
Number of expected peaks: 384) " RT Area Diff Peaks (Red Font)
[E 707532 0 or Suspect Peaks
0.5 751527 02 (Blue Font)
st of number of peaks found 077 709847 03 RT_|_Dift
4 Poaks | Bw | Smooths | PNF | ANF 039 645521 077 5139
126 67352 077 5166
383]_100) I 153 57343 027 5.55]
38| 100] I 1.0 700405 027
E) I 207 633899 027
234 30743 027
i 251 63630 027

Pre Apply cancel
100 B icted Peak Freq

Besetvien |

Frequency of expected peaks:__15

001-10850 NL: 51485

RT.a578  RT-4575 RT- 7288
Ancosaczt AN esSTIS Anaoss12 RT-5489
s ez2050

S BRSSP R AR AR RN R
B

Time (min)





The Predict Missing Peaks table will give suggestions of missing peaks (in red font) or incorrect peaks (in blue font). In the example above, the closest integration variable choice contains 383 peaks. Predict Peaks suggests that peak RT 51.66 be added.

If the user clicks on the cell 51.39 or 51.95, the chromatogram will be expanded in this area to show indeed that a peak probably belongs at 51.66.

[image: image48.png]HT Acquistion Data processing....

Below is the HT Acquisition Number of Expected Peaks' setting configured in Configuration Utilty - Global

You may modify the 'Number of Expected Peaks' value to be applied to this dataset.
The closest number of peaks found are listed in the 'List of number of peaks found" st box.

Select one of the values and click OK to continue.
GMSU/QC will then process this dataset using the selected number of peaks.

Click Cancel to cancel this action.

Configuration Defaults Sample List # of Peaks: Predicted Missing
Number of expected peaks: 384) RT Area Diff Peaks (Red Font)
5114 73657 02 or Suspect Peaks
(Blue Font)
st of number of peaks found 51.95) 732153 RT Diff
& Peaks | BW | Smooths | PNF | ANF 5222 507200 5133

5249 671980 51.66
383100 E R 5279 1793 5.9 05%]

Frequency of expected peaks:__15

388] 100 3 e 5| 530 i11a7]
e T 5331 670541
5359 764187
53,55 70035

Apply cancel
100 110 Besetvien | Predicted Peak Freq;

RT: 5114
A Tas307

e ele
Time (min)





The user may add the peak at 51.66 by selecting 51.66 from the list, then clicking the blue lessthan arrow button. The user is given the choice to add the Predicted Peak to the sample list. Alternatively, the user may enter a user-defined peak by selecting the Create New Peak option and entering a new retention time.
[image: image49.png]Add Peak....

Peak Addtian Choice

 Pisdicied Peak Table Selclir]

 Create new peak:





Users may also remove peaks from the Sample List by selecting an item from the Sample List and clicking the red greaterthan arrow button.

Once satisfied, the user clicks the Apply button, which will bring the user back the Chromatographic Method Designer window with the retention time information populated in the Enter Information table.

[image: image50.png]Chromatographic Method Designer

Bredict | Activate/ Deactivate | paste from J— Obtain Peak Information from:

Peaks... Chrom Methods... Clipboard &
© Esising Data

Enter Information: * Optional

Peak| Analyte | Int Std | Sample | Sample Nom | Sample a

Dum RT_| RT | Name= tiig- Conc* | “1D* | Comments = | oo Method Parameters:
Eter Evpected Number of Gt Chiom Data from csv

002 046 046 Peaks: o1 Excel Fl.
003|072 07e
004 098] 049
05| 126] 126 Create Method For...

006|153 153  Anate @ Anabte and Int St
07| 180] 180
08| 27| 207 Select a Method to use:

03] 234] 234 w Analyte[ Int 5t [ Sample | Sample | Nom | Sampli*
00 261261

011 87| 287 e
012 _a14] 34 o5
[ I Y AT ot A AT
014368 368 20051005 1 T
G G 20051005 18 EXF Y7
20051005 18 01 550650

ey 4zl 4z 20051005 52 01 28] 629
07l 448 448 ETS 706 7.9
oie] a7 474 384 01 78] 704
019 500] 500 384 02 B2 e
w20 527|527 EIN a0 s
38405 a5 T016]_Tatg

S 38404 HlS T056] 1098
52 1 .74 1174
vt 5207 25 125
Apply to Save this asa 5203 1330] 1330
‘sample List e 5001 7408 1408

57 20060616

@ Chiomotographic Method





The user may then save the information as a chromatographic method, then apply the data to the underlying sample list. As shown below, the sample list now contains 384 samples.

[image: image51.png]Menu,

Generic Chromatographic Viewer Choose a sample Enable Sanple
- Choose Data Access Conligualion..——————  Chaose Dala Acquisiion Mode:— ¥ Change Warring
& Open QuickDuen parent idor an ncvidual sd || " Low Thoughput Acquision || 2| Subsite__[testhOls un 03, 2008 21.2511 .
 Dpen enie 00 patent s 2 a sigl sequence (| & High Thoughput Acauistion | Cancet | Exit |
Aol e
b [cromes e e EEY R 71 e
[c:calbur data 00055 Pata 1 WOINS .5 B
m 3
Excluded ROL-NA _[BAL-NA _[[Anal RT Flag - 10) (15 AT Flag = 10) S Peak Int_ Flag = 25) (QC Peak Int. Flag = 20) Aralyte:
Sample List - 384 acs [ Stondads [ Flagged Samples | Unknowns [roduct
Sample Nom. Analyte [Analyte |Analyte [Analyte  [Analyte 1S ntSd  [IntSd  Allserre
Name [Name Conc. |Conc. |[RT __|Peak Area|Peak Ht |S/N Peak Wd IS RT |Peak Area|S/N Peak Wd
1
2_|tesiNOIS _testNOIS Unknown 048] 747299] 382293 1792 004694 (Comments (<250 cheracters)
3 |testNOIS [testhiOIS Unknawn 0.72] 709847] 401803 1884]  0.05262 [to comments
4 |tesiNOIS_[testNOIS Unknown 093] 645920] 344749 1616 _0.05281
5 |testNOIS_[testNOIS Unknown 126|  b6laan 337988 1584] 004189 SiaFigs / Dec
6 |testNOIS [testNOIS Unknown 153 657343 360474 1690 0.04445) Tndude Calbr Pt | - sig Figs
7_|tesiNOIS_[testNOIS Unknown 1.80]_ 700405] 366603 1713 005143 oo copr | Decinds
8 |testNOIS_[testNOIS Unknown 207 ban7iz] a006ag 1878 0.059% = +[3
9 [lestNOIS _[testNOIS Unknown 234 68gE77| 375948 1762l 0.04443
<im 3
Chromatography Calibration Configuration Actions
BW  Smootns PNF__ANE | YAWSTwe | Chvomatogr. Review B Smoots _PE AW [[Bxoend Chromatoaram Pane
0] [3]el[ T | & Ak |0 o e s & Nomal ¢~ Vertcal ¢ orzoral
= elative = Left single-click in graph to restore previous view
001-10450 NL: 5.40E5 000-000 NL:O
#1:-p ESI SRM ms2 355 200@cid22.00 [275.090-275.110] #
RT:10.18 RT:26.14 RT:95.43 100
AKS005  AAITTS RT.7306 AN 670814 o
AK25T4 RT9015 Analyte ntstd
An 675899 80
70
H H
H 5 o0
£300000 £
H g %
200000 g 40
2 0
2
10
T T T T T o
20 ) 60 80 100
Time (min) Reset Time (min) Reset
T —— TItarvsl Toterrated [ [R—





Users may then save that data as a new chromatographic method and/or apply the information to the underlying Sample List.

11.6 RapidFire™ tools

Thermo data only.

Biotrove RapidFire generates a text file containing injection times. If the text file is located in the same directory as the .raw file and has the same name as the .raw file, GMSU/QC will automatically open it, generate a chromatographic method, and apply the method to the underlying sample list.

If the text file is located elsewhere and/or does not have the same name as the .raw file, then the user may browse to and open the text file by executing Menu – HT Acquisition Tools – Rapidfire – Retrieve injection time data.
[image: image52.png]o oma o,
Configuration Utiity.
e et
e
S
e

laphic Viewer Choose a sample|

- Choose Data Accision Mode:—
individual || (" Low Thioughput Acauisiion
ol sequence || @ High Thoughput Acaisiion

5 Fogh Fapidie
H 5 1T (TM] Offset

tasa

[Anal RT Flag = 10) (IS AT Flag = 10) (1S

HT General =
Lo

B Gt mecton tmes.





[image: image53.png]Browse to a RapidFire(TM) text file

Browse... | RapicFie(Th) .t fe:

‘: Wealburdata\ 00053 DataT estNDIS tat

Seconds  binutes
I~ Giply offset o iniection fime values! OR

NOTE: Ifthe offsetis to be negative, remember
to enter negative sign (e.g. -1.5)





Note that sometimes the injection time information may be inaccurate by several seconds, which can possibly result in inaccurate predicted peaks. The user is offered the option to enter an offset (in seconds or minutes) to apply to the text file injection time information.

12 Design Sample Table Window
All modules except the Hepatic Clearance Calculator have a Design Sample Table window that may be accessed through the Configuration Actions tab – Create/Edit Table Heading Set button (see Section 9.14.1.2).
[image: image54.png]Design Sample Table.

Edit Exit
| | | \

Current Columns
Column Set Names Available Columns [Default

Set Name | Active Column Name A Column Name

Practl | Tre Sarmple Narme Sarmple Narme
Practz__|Tme SampleType SampleType
Nom Conc. Nom Conc.

Conc Conc

%Bias %Bias

St Excl? St Excl?
AnaiyteRT AnaiyteRT
AnalytePeak Area AnalytePeak Area
15 AT 15 AT

15Peak Area 15Peak Area
AnalyteRT Ave

D

“AnalyieRT Diff
AQUBOL
AnalyteRT Flag
1D_tbiGenericViewer
AnalytePeak Hit

Example Table

File Name





Figure 23
Design Sample Table

The window initially appears in a read-only mode. In order to perform an action (New, Deactivate, Delete), the user must:

· Select a Set Name in the Column Set Names table

· Click on Edit

· Perform Actions

· Click Cancel if the user wishes to discard actions OR

· Click Save if the user wishes to save actions

The window contains the following sections:
	Section
	Description

	Column Set Names
	A list of all Column Set Names. GMSU/QC comes preconfigured with Default

	Available Columns
	A list of all available columns for the Sample List for the module that calls the window

	Current Columns
	Shows the currently configured columns for the Column Set Name selected in the Column Set Names table

	Example Table
	Shows the layout of the Sample List table for the Column Set Name selected in the Column Set Names table


12.1 Procedure

12.1.1 Add New Column Set Name

· Click the Edit Button
· Click the New Button

· When prompted, enter the name of the new Set Name

· The Current Columns table will be filled with Default values

· To add columns to the Current Columns table, select one or more rows in the Available Columns table and click the Add Row (>) Button
· To remove columns to the Current Columns table, select one or more rows in the Current Columns table and click the Remove Row (<) Button
· Order the columns in the desired order by selecting items and click the Up (↑) or Down(↓) Buttons

12.1.2 Edit a Column Set

· Choose a Set Name from the Column Set Name 

· Click the Edit Button

· Modify the contents of Current Columns table as needed according to the procedures described in Section 12.1.1.
12.1.3 Delete a Column Set Name

· Choose a Set Name from the Column Set Name

· Click the Edit Button

· Click the Delete Button

The Column Set Name is now deleted. If any Saved data has been saved with this Column Set Name, the Set Name in the data set will revert to the Column Set Name ‘Default’ when data is loaded in a module.

12.1.4 Deactivate a Column Set Name

· Choose a Set Name from the Column Set Name

· Click the Edit Button

· Click the Deactivate Button

The Column Set Name is now deactivated. The Set Name will not be listed in the [Module] – Configuration Actions tab – Sample Table Column Headings section – Heading Set table. However, if any Saved data has been saved with this Column Set Name, the Set Name in the data set will remain unchanged when data is loaded in a module.

13 Console
The GMSU/QC Console is the module from which users navigate to other modules. The Console contents may differ slightly from what is shown.
[image: image55.png]3 GMsU Console

Gubbs® Mass Spec Utilities - distributed as Thermo® QuickCalc® | About..|

_tib.. |

- Home Sciex® HT Acquisition Tools
| Hepatic Clearance Calculator
Permeability Calculator
Generic Chromatographic Viewer
PK Calculator

Cyp/P450 Calculator
| Configuration Uity

Exclusively Disrbuted 35 DuickCalo® By: ‘Watkstation Prerequisies Installedt A product o Gubbs Inc

Thermo P SPVRRY

SCIENTIFIC





Figure 24
GMSU/QC Console

Users click on the appropriate buttons either to open a utility or to navigate to an additional hierarchical level. Please note that the Sciex HT Acquisition Tools apply are useable only by Millennium Pharmaceuticals in Cambridge, MA.
14 Configuration Utility

It is recommended that administrators and/or power users peruse all the options listed in the Configuration Utility. The utility sections contain many parameters that are configurable by the user.

Administrators use the Configuration Utility to configure such things as global variables, contents of module dropdown lists, and units (e.g. mg/mL) of different parameters. Please see the GMSU/QC Administration and Installation Manual for further details.

15 Sciex HT Acquisition Tools

This is a set of tools that are helpful to Sciex Analyst users when performing pre-acquisition actions. Please note that these tools support only the internal processes of Millennium Pharmaceuticals in Cambridge, MA.
[image: image56.png]3 GMsU Console

Gubbs* Mass Spec Utilities

- Home

- Sciex® HT
Acquisition Tools

Exclusively Disrbuted By

Thermo

SCIENTIFIC

Acquisition Method Generator Util
Batch Queue Submission Utility
Go Back

‘Watkstation Prerequisies Installedt
% Thermo ScientfifF) XDK-QEM
% Scies(R) Anast ]

A product o Gubbs Inc

SLVERT





Figure 25
Sciex HT Acquisition Tools

16 Acquisition Method Generator Utilities

Please note that this tool supports only the internal processes of Millennium Pharmaceuticals in Cambridge, MA.

The Acquisition Method Generator Utilities are a suite of utilities that are focused on specific tasks involved in acquisition method generation. The available Method Generator Utilities are described as follows:

[image: image57.png]3 GMsU Console

Gubbs* Mass Spec Utilities

- Home

- Acquisition Method
Generator Utilities

Exclusively Disrbuted By

Thermo

SCIENTIFIC

Modify Methods Utility
Automaton File Converter

Go Back

‘Watkstation Prerequisies Installedt
% Thermo ScientfifF) XDK-QEM
% Scies(R) Anast ]

A product o Gubbs Inc

SLVERT





Figure 26
Acquisition Method Generator Utilities

17 Modify Methods Utility

Please note that this tool supports only the internal processes of Millennium Pharmaceuticals in Cambridge, MA.

The Modify Methods Utility performs several functions:

· Allows users to modify common method variables of existing methods in batch mode based on a user-specified text/Excel file or all methods within a directory.

· Allows users to add an Internal Standard (second transition in a period) to existing methods (form MRM methods only)

The following describes the procedure for using the MRM Method Generator utility.

[image: image58.png]A Modify Methods Utility

Modify Methods Utility

choose SubProject ~ AlMethods of the
———— " ChosenEupt Type

@ Assay Request il

Evpt Type
cn

& MRM

Existing Parameter Values

Method File Dwell [ Dur- | Coll. |Source|
(blank methods ignored) Time | ation |Energy| Temp





Figure 27
Modify Methods Utility
· Choose a ‘Populate Form’ option; either ‘Assay Request File’ or ‘All Methods of the chosen Expt Type’.

If ‘All Methods of the chosen Expt Type’ is chosen, then the ‘Choose Assay Request File’ dropbox becomes disabled and is unneeded.

· Choose an Experiment Type option from the ‘Expt Type’ frame.

If Product Ion (PI) is chosen, then ‘IS’ checkbox is hidden and is not available.

· Choose subproject

· Choose Assay Request File from the dropbox
· Enter values for desired variables

· If an Internal Standard is to be added, select the IS checkbox.

Two dropdown boxes will appear for Internal Standard method file source configuration.

Both dropdowns must be completed (see Figure 28).
[image: image59.png]A Modify Methods Utility

Modify Methods Utility

choose SubProject

@ Assay Request il

~ AllMethods of the
chosen Expl Tope
[cr\analyst data\Projects\AA\AA-ARA

Evpt Type

Choose Assay RequestFile _View File P

CompoundList_0059.xIs =l @ RN

Enter New Default Parameters.

Dwell  Duration Collision  Source
Time (min) Energy Temp
A A A A

Method File
(blank methods ignored)





Figure 28
Choose Internal Standard Method File Source

17.1 Click on Populate Form to preview data

A populated window is displayed (see Figure 29). 

If a method of the type chosen is not found, then the ‘Method File’ field for that analyte will be blank and ignored when the ‘Modify Method’ button is clicked.

The existing parameters of the existing methods are shown in ‘Existing Parameter Values’ columns.
If the method already contains an internal standard, it will be replaced with the Internal Standard information chosen when the ‘Modify Method’ button is clicked.

[image: image60.png]A Modify Methods Utility

Modify Methods Utility

Enter New Default Parameters.
Duel Dwation Colison  Source

Populate
choose subProject Form

Modify
Choose Assay Request File _ View File Method

Clear Form

@ Assay Request il

£~ AllMethads of the
" chosen Expt Type

Evpt Type
cn
& MRM

(min) Temp LCsync 13

\_1 L] \_1 L] w B 7 e E
Existing Parameter Values
Method File Contains | Dwell | Dur- | Coll. |Source

L Sample 1D (blank methods ignored) Polarity | 15 | Time | ation |Energy| Temp Lcsync
] pH_55 PH_55_MRM.dam Pos Tue | 70 | 16 | 47 | a00 |icsync
2] pH_65 PH_65_MRM.dam Pos True | 70 | 16 | 47 | a00 |icsync
3 pH_74 PH_74_MRM.dam Pos True | 70 | 16 | 47 | a00 [icsync





Figure 29
Populated Modify Methods Window

17.2 Click the ‘Modify Method’ button

The method parameters are updated accordingly and are reflected in the table.

Methods that are identified as Pos have positive Internal Standard method transitions added; while methods that are identified as Neg have negative Internal Standard method transitions added.

[image: image61.png]A Modify Methods Utility

Modify Methods Utility

choose SubProject

Choose Assay RequestFile _ ViewFile

Enter New Default Parameters.
Duel Dwation Colison  Source

|

Populate | @ Assa RequestFie
Form | - AlMethads of he
© ChasenExpt Type
Modify ExptTope
Method P
@ MRM
Clear Form

Pos 15 [22Prec_FinaMRM Pos.dem  ~/

(....) Izmv LCsync 13
m S| ® negrs[sPrc FrabRi Negdam 7
Existing Parameter Values
Method File Dwell [ Dur- | Coll. |Source|

L Sample 1D (blank methods ignored) Time | ation |Energy| Temp Lcsync
] pH_55 PH_55_MRM.dam Pos Tue | 70 | 3 | 47 | a00 |icsync
2] pH_65 PH_65_MRM.dam Pos Tue | 70 | 3 | 47 | a00 |icsync
2] pH_74 PH_74_MRM.dam Pos True | 70 | 3 | 47 | a00 [icsync





Figure 30
Results of ‘Modify Method’ button click
18 Automaton File Converter Utility

Please note that this tool supports only the internal processes of Millennium Pharmaceuticals in Cambridge, MA.

Utility for Sciex equipment only.
The Sciex Automaton application allows users to generate autotuned acquisition method files in batch mode based on a user inputted text file. Unfortunately, the Automaton utility generates files with filenames that are a combination of previously-mentioned text filename and sample order. Therefore, when a user is searching for method files to configure in an instrumental sequence, the user needs to interpret with a cross-reference table the name of the file to determine which method file is associated with a given analyte.

It would be beneficial if the method file names included the analyte name, thus eliminating any ambiguity involved in determining the identity of the method file.

The Automaton File Converter renames Automaton-generated files to a filename that includes the analyte name.
The following describes the procedure for using the Automaton File Converter Utility.

· Choose an Automaton Text File

· Choose a SubProject

· Click on ‘Populate Form’
The form is populated according to the following rules (see Figure 31).
If an Automaton-generated method file that corresponds with the chosen Automaton text file exists, then:

· the ‘Automaton.dam’ column row is populated with the Automaton-generated method filename

· the ‘Automaton Exists’ column row is populated with ‘Yes’

· the ‘Proposed .dam’ column row is populated with the new proposed filename

If an Automaton-generated method file that corresponds with the chosen Automaton text file does not exist, then

· the ‘Automaton.dam’ column row is left blank
· the ‘Automaton Exists’ column row is populated with ‘No’.

· the ‘Proposed .dam’ column row is populated with the new proposed filename, though this will have no effect on the next actions.

[image: image62.png]i il populate Execute
Automaton File Converter Utility Bopuiat ‘ et | dearrom
Choose Automaton Text File _(View File || Choose SubProject
=] =
Automaton Name a
Automaton .dam Exists Proposed .dam Changed |
1 (6C25 plate) MRM.dam es| Analyte-001-001-A_MRM.dam
2 [2 (€25 plate) wRM dam Yes | Analyte-002-001-4_WRM dam
3 |3 (5C25 plate) WRM dam Yes |Analyte-003-485-4_WRM dam
4[4 (5C25 plate) WRM dam Yes |Analyte-004-D01F _MRM.dam
5 [5 (€25 plate) WRM dam Yes | Analyte-005-001-D_WRM dam
6 [6 (5C25 plate) WRM dam Yes | Analyte-006-001-C_WRM dam
7 |7 (€25 plate)_wRw dam Yes |Analyte-007-001-C_WRM dam
6 |8 (5C25 plate)_WRM dam Yes |Analyte-008-001-F_MRb.dam
5[5 (5C25 plate)_wRM dam Yes |Analyte-006-001-C_WRM dam
10[10 (625 plats) MRM.darn Yes |Analyte-010-001-6_WRM dam
11[11 (625 plats) MRM.darm Yes |Analyte-011-001-F MRM.dam
12[12 (6C25 plats) MRM.darm Yes [Analyte-012-001-D_WRM dam
13[13 (6C25 plate) MRM.darm Yes |Analyte-013-001-F MRM.dam
14[14 (625 plate) MRM.darm Yes |Analyte-014-003-C_WRM dam
15[15 (6C25 plats) MRM.darm Yes [Analyte-015-004-4_WMRM dam
16[16 (6C25 plats) MRM.darm Yes |Analyte-016-003-C_WRM dam
17[17 (6C25 plate) MRM.darm Yes |Analyte-017-001-4 WM dam
18[18 (6C25 plats) MRM.darm Yes |Analyte-016-001-6_WRM dam
15[19 (625 plats) MRM.darm Yes |Analyte-019-046-4 WM dam
20[20 (6C25 plate) MRM.dam Yes |Analyte-020-003-E MRM.dam
2121 (6C25 plate) MRM.dam Yes |Analyte-021-001F MRb.dam
22[22 (625 plate) MRM.dam Yes |Analyte-022-001-D_WRM dam
23[23 (625 plate) MRM.dam Yes |Analyte-023-003-E MRM.dam
2424 (6C25 plate) MRM.dam Yes |Analyte-024-035-4_WMRM dam
25[25 (625 plate) MRM.dam Yes |Analyte-025-003-C_WRM dam
26[26 (6C25 plate) MRM.dam Yes |Analyte-026-003-F MRb.dam
27[27 (625 plate) Rbdam Yes |Analyte-027-001-D_WRM dam 1





Figure 31
Automaton File Converter Utility

· Click on ‘Execute Name Change’ button

When the ‘Execute Name Change’ button is clicked, only the rows that have an entry in the ‘Automaton .dam’ column are processed.

The application changes the filename of the method file, then checks the directory to ensure that the filename has been changed.

When the name change has been verified, ‘Yes’ will be entered in the appropriate row of the ‘Name Changed’ column and the ‘Automaton .dam’ column row value will be cleared (see Figure 32).

[image: image63.png]i il populate Execute
Automaton File Converter Utility Bopuiat ‘ et | dearrom
Choose Automaton Text File _(View File || Choose SubProject
B ]
Automaton Name a
Automaton .dam Exists Proposed .dam Changed |
No Analyte-001-001-A_MRM.dam Yes
2 o rialyte-002-001-A_bRb.dam Yes
3 o rialyte-003-469-A_bRb.dam Yes
4 o rialyte-004-001-F_MVRM.darm Yes
5 o rialyte-005-001-D_MRb.dam Yes
3 o rialyte-006-001-C_bRb.dam Yes
7 o rialyte-007-001-C_bRbdam Yes
5 o rialyte-008-001-F_MRM.darn Yes
9 o rialyte-008-001-C_MRb.dam Yes
10 o rialyte-010-001-G_MRb.dam Yes
1 o rialyte-011-001-F_MVRM.darm Yes
2 o rialyte-012-001-D_MRb.dam Yes
3 o rialyte-013-001-F_MRM.darm Yes
4 o rialyte-014-003-C_bRb.dam Yes
15 o rialyte-015-004-A_bRb.dam Yes
16 o rialyte-016-003-C_bRb.dam Yes
I o rialyte-017-001-A_bRb.dam Yes
1 o rialyte-016-001-G_MRb.dam Yes
19 o rialyte-019-046-A_bRb.dam Yes
o) o rialyte-020-003-E_MRM.darm Yes
21] o rialyte-021-001-F_MVRM.darn Yes
2 o rialyte-022-001-D_MRb.dam Yes
ES o rialyte-023-003-E_VRM.darm Yes
24 o rialyte-024-035-A_bRb.dam Yes
ES o rialyte-025-003-C_MRbdam Yes
E3 o rialyte-026-003-F_MRM.darm Yes
27| o rialyte-027-001-D_MRb.dam Yes 1





Figure 32
Changed Automaton Filenames

19 Batch Queue Submission Utility
Please note that this tool supports only the internal processes of Millennium Pharmaceuticals in Cambridge, MA.

[image: image64.png]3 GMsU Console

Gubbs* Mass Spec Utilities

- Home

- Sciex® HT
Acquisition Tools

Exclusively Disrbuted By

Thermo

SCIENTIFIC

Acquisition Method Generator Util
Batch Queue Submission Utility
Go Back

‘Watkstation Prerequisies Installedt
% Thermo ScientfifF) XDK-QEM
% Scies(R) Anast ]

A product o Gubbs Inc

SLVERT





Figure 33
Batch Queue Submission Utility

The Batch Queue Submission Utility allows users to automatically create a batch sequence that whose samples contain existing unique data acquisition methods (.dam) and collect the data into a single raw data file (.wiff). This is useful in a high throughput environment in which tens to hundreds of samples are acquired in one analytical sequence. The Sciex alternative to this utility requires manually entering/choosing the correct method file for each sample.
After preparing a batch and before submitting, the user may save the batch by clicking the ‘Save the Batch’ button. As expected, the user may load this batch again at a later time.
The following describes the procedure for using the Batch Queue Submission Utility.

· Choose an Assay Request File

· Choose a SubProject

· Choose a Batch Type option from the Batch Type frame.

· Enter Set Name, Identifier #, Batch Owner, and raw data filename (if Batch Type is Final Expt)
· Click on the ‘Populate Form’ button

The ‘Method File’ column will be filled with the appropriate existing method files based on the contents of the Assay Request File. If the expected method file does not exist, the ‘Method File’ column row entry will be blank.

If the Batch Type was PI or MRM, then the ‘.wiff File Name’ column row entry will be created corresponding to the sample name (see Figure 34). If the Batch Type was ‘Final Expt’, then the ‘.wiff File Name’ column will be named according to the user entry described in Section 0 (see Figure 35).

· Click on Submit Batch

When the user is ready to submit the batch to the queue, the ‘Submit Batch’ button is pushed.

Note: Rows that have blank entries in the ‘Method File’ column will be ignored and not submitted.

[image: image65.jpg]Batch Queue Subm

Batch Queue Submission Utility

{Load a Saved Batch.

Save the Batch... |

Enter Default Parameters

i Fle
Identifier # _Batch Owner
Method File
Sample 1D (blank methods ignored) wWiff Fle Name
136-001-A 136-001-A PLdam 36-001-4_PL_0OL wif
10014 1-001-A PLdam 41-D01-A_PL_00L wif
75-489-4 5-485-A_PLdam 75-483-A_PLOOLwif
128-001F 28-00LF PLdam 28-001F 1 O0Lwiff
#7-001-D 47-001-D PLdam 47-D01-D_ P 00L wif
163-001-C 63-001-C_PLdam 63-001-C_P1_00L wif
13-001-C 13-001-C_PLdam 13-001-C_PI ODLwiff
"14-001F 14-001-F PLdam 14-001-F_PL00Lwif
123-001-C 23-001-C_PLdam 23-001-C_P1_00Lwif
166-001-G £E-001-G PLdam 68-001-G_P_00L wif
2-001F 52-001F _PLdam 62-001F_PI_ODLwiff
108-001-D 0B-001-D_PLdarm 08-001-D_P1_00Lwif
J18-001F {E-D01F _PLdam 16-001-F_PL0OLwif
}18-003-C 5-003-C_PLdam 16-003-C_PI ODLwiff
147-004-4 47-004-4 PLdam 47-D04-_P1L_OOL wif
39-003-C 39-003-C_PLdam 39-003-C_P1_00L wif
10014 11-001-A PLdam 11-001-4_PI_ODLwiff
J4-001-G 14-001-G PLdam 14-001-G_PI_ODLwiff
740464 4-046-A_PLdam 74046 PLOOLwif
122:005E 2-003-E PLdam 22-003€ PI_O0Lwiff
#3-001F A3-00LF _PLdam 43-00LF I ODLwiff
52:001-D 52-001-D_PLdarm 52-001-D_ P 00Lwif

131-003-E

G1003-E PlLdam

31-003-E_P1_00Lwiff





Figure 34
Populate Form – PI/MRM Experiment

[image: image66.jpg]Batch Queue Subm

Batch Queue Submission Utility

{Load a Saved Batch.

Save the Batch... |

Enter Default Parameters

wiff File
Identifier # _Batch Ouwner wiff File Name
o0t Gy | ot
Method File
Sample 1D (blank methods ignored) wiff File Name

136-001-A 36-001-4_MRW.dam 20050318 wiff
WI001-A 41-001-4_MRW.dam 20050318 wiff
¥75-489-A 75-489-5_MRW.dam 20050318 wiff
128-001-F 26-001-F_WRM.darm 20050318 wiff
¥7-001-D 47-001-D_MRW.dam 20050318 wiff
163-001-C 63-001-C_MRWM.dam 20050318 wiff
13-001-C 13-001-C_WMRM.darm 20050318 wiff
14-001F 14-D01F_MRM.dam 20050318 wiff
123-001-C 23-001-C_MRW.dam 20050318 wiff
001G 66-001-G_MRW.dam 20050318 wiff
%2-001F 62-001-F_WVRM.darm 20050318 wiff
ME-001-D 08-001-D_MRW.dam 20050318 wiff
ne-001F 18-001F_MRM.dam 20050318 wiff
N8-003-C 18-003-C_MRM.darm 20050318 wiff
147-004-A 47-004-A_MRW.dam 20050318 wiff
35-003-C 39-003-C_MRW.dam 20050318 wiff
$11-001- 11-001-A_VRM.darm 20050318 wiff
114-001-G 14-001-G_VRM darm 20050318 wiff
74046 74-046-5_MRW.dam 20050318 wiff
22-003E 22-003-E_WRM.darm 20050318 wiff
WI00LF 43-001-F_WRM.darm 20050318 wiff
52-001-D 52-001-D_MRW.dam 20050318 wiff

131-003-E

31-003-E_MRM.dam

20050318, wiff





Figure 35
Populate Form – Final Expt Experiment
20 Hepatic Clearance Calculator - Overview
The Hepatic Clearance Calculator consists of three panes (see Figure 36). Users use the top pane (Section 21) to choose data files, configure default settings, choose samples, and choose Warning settings. Users use the bottom left pane to review and optimize chromatographic integration. Users use the bottom right pane (Section 22) to process and optimize Hepatic Clearance results.
In addition, Hepatic Clearance Calculator contains a Menu item that allows users to perform such actions as generate reports and copy peak integration data to the clipboard. See Section 23 for further discussion of the Menu item.
20.1 Hepatic Clearance Calculations

The Hepatic Clearance Calculator uses the following the calculations to generate clearance values.

20.1.1 Constants

In order to calculate clearance and associated values, species/experiment specific constants must be chosen (See the Administration and Installation Manual, Sections 26.9, 26.10, and 26.11 for instructions on configuring species specific constants).

For the purposes of this discussion, the following constants and units will be used:

	Species:
	Rat

	Experiment:
	Microsomes

	A: Liver wt/Body wt (g/Kg):
	45

	B: Protein wt/Incubation vol (mg/mL):
	0.5

	C: Protein wt/Liver wt (mg/g):
	45

	D: Hepatic Blood Flow (L/hr/Kg):
	3.3


20.1.2 Clearance Values
For the purposes of this discussion, the value units shown in the table below will be used. Please note that GMSU/QC will include unit conversion factors int IHC, PHC, and eH formulae if the used constants have different units than expected in the value (an example shown in the formula for IHC)/
	Abbr.
	Value
	Formula

	NA
	Half Life (sec):
	Half-life (t1/2) = Log10(2)/(-Slope)

	IHC
	Intrinsic Hepatic Clearance (L/hr/Kg)
	IHC = (-2.303) * Slope * A * C / B * CF1

	PHC
	Predicted Hepatic Clearance (L/hr/Kg)
	PHC = (IHC * D) / (IHC + D)

	Eh
	Eh:
	Eh = PHC / D

	LPR
	Last Point Remaining %
	LPR = (10 ^ (lp * Slope + Yint) / (10 ^ Yint)) * 100
        where lp = last data point in assay

	1 CF = (60 min / 1 hr) * (1 L / 1000 mL)


20.1.3 Experimental Slope
Clearance Values are based on the slope generated from a plot of experimental values where the Y-axis = Log10(% Parent Remaining) and X-axis = time (minutes). The Y-axis is displayed as such in order that all displayed data is normalized. Please note that the slope generated from this plot is intrinsically equal to the slope generated if the Y-axis were equal to instrumental signal (e.g. peak area ratio).
20.1.4 Example data
Section 24.2 contains example data used to generate clearance values
The following sections describe the procedures for using the Hepatic Clearance Calculator.

21 Hepatic Clearance Calculator – Initial Settings

The initial state of the Hepatic Clearance Calculator is a screen lacking any data (Figure 36). Users first must set default constants, then choose a data file for processing. The following describes the steps for performing these actions:
[image: image67.png]Menu,

Hepatic Clearance Calculator Choose a File:
Chosse Data Access Confiuraion. Choose Data Acqisiion Mode:
& Open a single data e or  DuickQuen parent sd | | Low Tioughput Acauisiion
€ Open al daa ies within a diectory  iHigh Thougheut Acauisir}

Bowse._| o ndom e

Expand
Enable Sample Change Waring
¥ Chometoerachy

Enatle Sample Change Warring
¥ Rests

. Cancel
oyt [ -
Chromatograms will appear when a file is chosen Chrom. Method: [ ere] =

Results Pane

Comments (<2socharacters) | P[]

‘Constants

Liver wtfBody ut:
Protein wifIncubaton vol
Protein wifliver w:

Results Review

Hepatic lood Fow:

=

™ Resuls Saved and Locked e

Results
Sl B

Intrinsic Hep. Clearance (Lhr/ko):
Predicted Hep. Clearance (Lfr/ko):

LastPoint Remaining (%):

Chrom Data Used for Results

o
° "rime qtinutesf 3
Y-As Pot.
@ Log Gres || ae [—— -
€ percentage[[ Cho | € reps
percentage || € Rep: — .





Figure 36
Hepatic Clearance Calculator – before opening data
21.1 Loading data and displaying and optimizing chromatography.

Please see Section 9 for a description of the procedures for loading data and displaying and optimizing chromatography.

21.2 Time Point Set

The Time Point Set contains assay time points to be applied to the chosen data file.

Ensure an appropriate Time Point Set is displayed here. Time Point Sets are created and configured in Configuration Utility – Hepatic Clearance Constants – Experiment Time Points tab. When a data file is opened, the default Time Point Set is retrieved from the setting found in Configuration Utility – Hepatic Clearance tab – Default Time Point Set item.

Please note that when the Hepatic Clearance Module is shown initially, the value displayed in the Time Point Set dropdown box is locked. In order to change it, the user must change the setting in Configuration Utility. Once data has been loaded, then the Time Point Set selection may be changed (if the data is not Locked and Saved).

21.3 Chrom. Method

Note: This field is shown only if the High Throughput Acquisition option is chosen in the Choose Data Acquisition Mode frame box. This applies only to HT acquisition data.

The Chrom. Method (chromatography method) is a chromatographic method containing expected chromatographic retention times to be applied to the chosen data file. This method may be applied to the data file if the GMSU/QC automatic peak identification algorithm is not successful (for, e.g., data files with low signal).

Ensure an appropriate Chrom. Method is displayed here ([None] if not used). The default Chrom. Method is retrieved from the Hepatic Clearance Calculator Configuration Settings in the Configuration Utility. Chrom. Methods are created and configured in the Hepatic Clearance Module via the Menu – Manually Enter Peak Retention Times… feature (see Section ).

Please note that when the Hepatic Clearance Module is shown initially, the value displayed in the Chrom. Method dropdown box is locked. In order to change it, the user must change the setting in Configuration Utility. Once data has been loaded, then the Chrom. Method selection may be changed (if the data is not Locked and Saved).

21.4 Constants - Species
Ensure the appropriate species-specific experiment constant set is displayed here. Constants Sets are created and configured in Configuration Utility – Hepatic Clearance Constants – Existing Experiments tab. When a data file is opened, the default Constant Set is retrieved from the setting found in Configuration Utility – Hepatic Clearance tab – Default Initial Species item.
21.5 Choose a Sample

Users may choose a sample in the ‘Choose a File grid either by selecting with the mouse or using the arrow keys when the ‘Choose a File grid has focus.

If chromatograms and/or results have not been saved when the user scrolls through samples, the user will be prompted with warning messages to choose to save chromatograms or results. These warnings may be turned off be de-selecting the appropriate checkboxes located to the right of the ‘Choose a File’ grid (see Section 9.1).

If a sample is of incorrect format or if data file is of incorrect format, an error message will be displayed.

See Figure 37 for an example of loaded HT acquisition data and Figure 38 for an example of loaded LT acquisition data. Notice that, in HT data, the entire chromatogram is shown (if not, click on the Reset button to reset the chromatogram to full scale).

To inspect a single peak, the user may click on an entry in the chromatographic data table to the right of the chromatogram. When clicked, the chromatogram zooms on the chosen peak and looks much like Figure 38.
[image: image68.jpg]16 - Hepatic Clearance.

Hepatic Clearance Calculator Eis ey Era
Chosse Data Access Confiuraion. Choose Data Acquisiion Mod: pan
& Dpen asigl data e or  Duickfuan paret i3 | |  Low Thioughput Acguision | Enable Sampe Change Warring
€ Open al daa ies within a diectoy & High Thoughput Acguision Chomatocraphy
| Enable Sampe Change Waring
Browse...| choose 2 cata fle Resuls
\CUBBSLAP03 GublsL2p03_C\inalst Data Projects Demo HepGHT Data o1 Caneal Exit
R =
El Chromatogr. Review Anlyte: Time Point st [Vicrosome -
21 r No Flag ] Chrom. Method: [ TNone] )
G of RM (2 i) 272.3128.1 amu from Sarmple 1 (01 - 1_atStab alin. Ve 1065 3. Analyte [ 551 RESCECININ
418 1554113 T— “Constants
1020 Save -
3 e | [smrmmen OO ey | S
“ 711 semmise ver wiBody G} =
H e Froten weinubaton vol (g [
900 26934123 Froten iliveru rgl) =5
= Normalze v | 95| 256116.52 Resuts Review e T =
2 s |86 2727392 Results
S e |[r7s 25015138 otReviened = i 7]
g o |[r283 2s5288.55 e Intin, Hep. Clearance (/e /Kg) E
H 1568 225463 Resits Pred. Hep. Cearance (L Ko): 15
2 5 pr— e o]
Last Paint Remaining (%): |
(0.0052203)X + (19963) Chom Data Used fo Results
T 500535056727
7 T3 s 73 5w om ® B n o[ 0.se70ss1674
A RI| > 20 11325257572
Remove anua Integraton Reset Peak Label. |30 ) 0] 11606151724
1 | Lesrszsis
o Swohs NI AT [ 5 1] 15225685655
- H 7 13659379557
g 7| Lasiassesn
Ty R A Mo cress mestd [T REEEEN | Jsen
418 16419498 gos 5[ Larrseesars
5 120
sBhe ol Lassotsir]
b B s < o L.atzsa1a05
s0es 1 s 1282 711 1762187 ¢ "ime i)
- 7.6 169715.22 VoA Use 15— Pl
s0es .00 155048 & Log G || & ae
23 Normaize'y | 985 187502.67 € percentoge [ Mo || © Reps -
g oe orvelee 166 a1z80.63 1
S e |[ie7s sssases
z e o |[283 1e00%0.07
2 1368 19110025
£ 0w
100
a0
T s T3 5w on ® B
Tima, min | » .
Remove anua Integration Reset Peak Label: |30





Figure 37
Loaded raw data – HT acquisition data
[image: image69.jpg]16 - Hepatic Clearance.

Menu,

Hepatic Clearance Calculator iy Acquiition Date
Chosse Data Access Confiuraion. Choose Data Acqisiion Mode: 1_pos Jun 162543 Expand
& Open a single data e or a DuickQuen parent sd || & Low Thioughput Acauisiion S ;| 0 2005 162943 | \GUBBSLAPUNGubboLsp C\in] . Enble Sample Change Waring
€ Open al daa ies within a diectoy € High Thoughput Acqisiion Chomatocraphy
Enable Sample Change Warring
Browse...| choose 2 cata fle ¥ Resuis
I UbbeLap03_CVAndlyst Data Projecis pemo FienCT pa
NG APl st bt PrjecpemoVesct oot . . Cancsl =
e chromatog. Review Analyte Time Point St Microsome_16_01 <
- forss =l —
G of URM (2 i) 272.3128.1 amu from Sarmele 4 (01 - 4_Inkusstion NAD Max. 1105 ] Analyte |1
0se 2 Results Pane ‘Constants
— A = Comments (<250 characters) | 5Pt [Rat Microsome E
5 = ST o comments Liver wtfBody wt (aKa): =5
Chrom i Protei wtncubaton vol(ng/nL) [
50084 e Protein williver wt (/) =5
2 8 % HepaticHood Flow (Ljr Ko): 39
£ oo0es S Resuts Review —
= 0 201 otReviened = i G&
5 b ) Inrin Hep. Clearance U361
5 2 s Pred. Hep. Cearance (L Ko): %
2006 ) oo ¥ Resits Saved and Locked 033
#3008 Last Paint Remaining (%): %25
15 omes
o0 15| _-0ioo00 ¥ = (0.0044883)X + (2.0228) Chrom Data Used for Results
@1 o2 03 g a5 o8 o7  os o8 e9e21 T
Tme. ol < | > 06569355193
Display HT Chromatography. Reset Feak Lobel: [0Unknonn 0 06763514655
05566019626
3 L0ssa0%57%]
- L03635755%6)
22723 amu from Samele 4 (01 - 4 Inkusstion NAD s 1028 e
270.2 amu rom Sample 4 (01 - &_Inkubation 4L Mex 10e5s. Itstd [ 1] 9724 e
i 2l oioom| 10565135672
10088 g 3wt T
+ T 5 10 15 20 25 30 35 40 45
s s ¢ S 028 3 e
S0 6 e Time iinutes)
7 250540 V-Aods Plot-
2 eones s a7 @ Log G | @ ae L
= E € percentoge [ Mo || © Reps " -
z o 21
§ sooe 1 amie
£ 2 2766
s 13 2761
18 5e7
15 zseam
000 1 00000
@i o2 03 9 s ds o7 s o8
Tims, min win o
_ Remove ManuaiTnegration| _Reset | PeskiLabet [sUnwom @ =





Figure 38
Loaded raw data – LT acquisition data
22 Hepatic Clearance Calculator – Results Pane
The Hepatic Clearance Calculator Results bottom right pane allows users to perform several functions:

· Automatically generates Hepatic Clearance Results based on selected species-specific Experiment Constants.

· Allows the user to optimize Hepatic Clearance Results by selecting the choice of using or not using internal standard peak area ratios.

· Allows the user to optimize Hepatic Clearance Results by excluding data points.

· Allows the user to select Results Review assignments and comments.

The following describes the functionality of the Hepatic Clearance Calculator – Results section.

22.1 Overview

The right Results Pane contains functionality for users to optimize and process data to obtain Hepatic Clearance Results.

	
[image: image70.png]Results Pane Constants

Coments (<250 caractrg) | Pe0% [Ratweene ]
Liver wt/Body wt (g/Ka): =]
Protein wt/Incubation vol (mg/mL): 0.

Protein wifliver wt (mo/c): 5|
Hepatic Bood Fow (Lfhr Kg): EE|

Results Review

e — Results
ot Reviewe: s =

Save Intrin, Hep. Clearance (LihrKo): 1]
Results Pred. Hep. Clearance (Lhr/Kg): 2.5
B 575

LastPoint Remaining (%): 4]

¥ = (0.018085) + (20104) Chrom Data Used for Resuls

209658 0. 1353034580

25 0. 126453075

0.2575092517|

0.2457700321]

0.3639635211]

0.2356664365|

0.760472291]

0.70%62432%|

05835600164

1 P P P e R R A

0.8050143370)

0 5 1015 20 25 W 3 40 4

Tine Qintes)
o Use 15 ot —— BeP

© log cre |6 ae =2

¢ percentage| € o || ¢ Reps aar 5





	· ‘Comments’ box allows users add comments about sample. Comments may be included in Reports.

· ‘Results Review’ box allows the user to choose a Review Status.

· ‘Save Results’ button allows users to save/lock the data such that it can’t be changed unless manually unlocked.

· ‘Results Saved and Locked’ checkbox allows users to unlock data for further processing.

· ‘Species’ dropdown box allows users to associate samples with a specific species

· The ‘Chrom. Data Used for Results’ shows the retention data, time point, and peak area or ratio data for each data point.

· Y-Axis frame allows users to change the Y-Axis of the display.

· ‘Use IS’ frame allows users to choose to use Internal Standard peak area ratios or not.

· ‘Plot’ frame allows users to display average or individual replicates in the regression plot.

· ‘Exclude’ and ‘Add’ buttons allow users to exclude and restore data points.


Figure 39
Hepatic Clearance Results Pane Overview

Please note that Constants labels and the units for all Constants and Results values are configurable in the Configuration Utility – Hepatic Clearance Constants – Existing Experiments tab.
The following describes the functions available in the Hepatic Clearance Results pane. Please note that the Reset button shown in the following figures is no longer available.
22.2 Use IS Option Frame

Users may choose to use (Yes option) or not use (No option) internal standard area ratios by selecting the appropriate option button. The y-axis label will update accordingly.

	Use Internal Standard
	Don’t Use Internal Standard

	[image: image71.jpg]= (0 0388037 + (18779)

1

Peak Area Ratio (Log(A/1S))

a7ar

[lsels
@ g
o

W w28 A
Time (Minutes)
Add—>
Pl
@ dve Exclude.
<

€ Reps





	[image: image72.jpg]e

Peak Area (Log(A))

0ol

0385307 + 20128)
Rz =ng8ea2

[lsels
© ves
© o

L)
Time (Minutes)

Pl
& ave
€ Reps

Add >
Exclude.
P






Figure 40
Use IS Frame Options
22.3 Plot Option Frame

Users may choose to display average replicate points (Ave option) or individual replicates (Reps option). The individual replicates view is useful to identify individual outliers.
	Display Average Replicate Points
	Display Individual Replicate Points

	[image: image73.jpg]= (0 0388037 + (18779)

1

Peak Area Ratio (Log(A/1S))

a7ar

[lsels
@ g
o

W w28 A
Time (Minutes)
Add—>
Pl
@ dve Exclude.
<

€ Reps





	[image: image74.jpg]0038603 X + (19775)

E

Rz

Peak Area Ratio (Log{AS))

arar

[lsels
@ ves
€ o

L)
Time (Minutes)

o
e
@ kepd

% @

Add—>

Exclude.
<






Figure 41
Plot Frame Options

22.4 Constants Dropdown Box

Hepatic Clearance value calculations contain constants that are specific to species and assay. These constant values are configured by an administrator in Configuration Utility. The constants set for each sample is chosen by the user. If a user changes the species constant set, the Hepatic Clearance Values will update automatically.
	Results with Rat Microsome
	Results with Mouse Microsome

	[image: image75.jpg]Constants

 cF Liver WeightfKg Body W:

ma Microsamal Prateinfml Incubation
m Microsoml Proteinfg Liver Wi:
Hepatic Blood Flow

Results
ti2,

Intrinsic Hep. Clearance (Lfhvfka):
Precicted Hep, Clearance (Lfhvka):
Eh

Last Paint Remaining (%)

]

5]

|

53]

7]

214

250

0,567

655





	[image: image76.jpg]Constants
Species:

 oF Liver WeightfKg Body W:

ma Microsamal Prateinfml Incubation
m Microsoml Proteinfg Liver Wi:
Hepatic Blood Flow

Results
ti2,

Intrinsic Hep. Clearance (Lfhvfka):
Precicted Hep, Clearance (Lfhvka):
Eh

Last Paint Remaining (%)

7.5

5]

|

4]

7]

220

479

0.5

655







Figure 42
Species Constants Settings
22.5 Exclude Data Points

Users may exclude data points if desired by selecting a data point to exclude, then clicking on the ‘Exclude’ button. Results will be updated automatically.

For example, if the red and blue 30 minute replicate in Figure 43 are to be excluded, the user would select the two 30 minute time points in the ‘Chrom. Data Used for Results’ grid and click the Exclude button.
	Exclude Data Point
	Results Updated

	
[image: image77.png]¥ = (0.018085) + (20104) (Chrom Data Used for Result

] o.nss
o] o issssoen
o] ozsrsoszer
So oassrmos
J
] ssss s
Sosserzm:
o
o ossssenoie
ol osmsorssin

0E o T 30 2w % w0 48
e intes)

s e 15 Tpor—— e

& oo cre [ Cae =2

¢ e o | @R | B [ ;





	
[image: image78.png]Repiace
>

0 5 1015 20 25 W 3 40 4
Time (Hinutes)
Y- Use IS—Plot-
@ Log Gres | Cae
€ percentage|| C N0 || @ Reps

Exdude

P

Chrom Data Used for Resuls
0.1333244580
01262550578

03639638211
0.2356664365
0.7690472291
0.70%62402%
08835600164
0.8030143370







Figure 43
Excluding Points

Notice that the excluded time points on the graph convert from solid circles to hollow circles.

Note: Users may exclude as many data points as desired given that two points are remaining to generate a regression.
22.6 Restore Data Points

Similar to the Exclude procedure, users may restore excluded data points by selecting the data points to restore, then clicking on the ‘Add’ button. Results will be updated automatically.

22.7 Individual Time Point Comments

The user may record comments concerning individual time points by selecting one or more time points in the ‘Chrom Data Used for Results’ table and right-clicking. The user will be prompted for a dialog box to enter comments about the selected data points.

22.8 Comments

Users may enter comments about the data set.

22.9 Review

After optimization of Results data, users may classify the results by choosing a value for ‘Results Review’ dropdown box. The contents of the dropdown box include ‘Not Reviewed’, ‘Acceptable’, and ‘Unacceptable’.
Selecting the proper review value is important with respect to Reports. Users are allowed to filter Reports based on the ‘Review’ field contents.

22.10 Save Results

When the user is satisfied that Results processing is complete, the user locks the Results by clicking on ‘Save Results’. This disables all functions relating to chromatographic integration and results processing and the ‘Results Saved’ checkbox becomes selected. In addition, Results data are stored in the GMSU/QC data store.

If the user attempts to further process Saved Results, an error message will be displayed. In order to further process Saved Results, the user must deselect the ‘Results Saved’ checkbox.

23 Hepatic Clearance Calculator – Additional Functions

Additional Hepatic Clearance Calculator functions are found under the menu Menu. The following sections describe these functions. Functions that are conserved between modules and described in Section 9.16 will not be described here.
[image: image79.png]Change Data Fie Path.
Copy Peak Integrations to Clpboard
‘Generate Reports.

Peak Area TextFie...

Retention Time Utites.. »

‘System Suitabiity Tooks..
Felp.





Figure 44
Hepatic Clearance Module Menu Items

23.1 Copy Peak Integrations to Clipboard

Copies the Analyte and Internal Standard peak areas to the clipboard.

23.2 Peak Area Text File

The ‘Peak Area Text File’ function will export Analyte and Internal Standard time point and peak area data to a comma-delimited text file. The text file header includes ‘Date of Report’, ‘Raw Data File Path’, ‘Analyte Name’, and ‘Acquisition Time’.

23.3 Manually Enter Peak Retention Times

[image: image80.png]Change Dsta e Path
Copy ek Integratons o Clpbosrd
Generate Reports & Lon Thioughput Accvistion
Pesk frea Text e  Hich Thouchput Acauston

Wanualy Ente Pesk Retenton Times
Aasgn Traniton Lons SetRetention Time Vindow Parsmeters
iew Compound Informsten. Snter LT Retention Time - Anslyte
Configuration Utiity. Enter LT Retention Time - Int Std.

Choose a File
"Ehaase Data Acapisiion Mods: —





See Section Error! Reference source not found. for further discussion of this feature.

23.4 Enter LT Retention Time – Analyte

See Section 9.16.1
23.5 Enter LT Retention Time – Int Std

9.16.4.3
23.6 Display Multiple Results

Under development.
23.7 Assign Transition Ions

See Section 9.16.5.
23.8 Set Retention Time Window Parameters

See Section 9.16.4.1
23.9 Help

See Section 9.16.12.

24 Hepatic Clearance Calculator – Reports

Users may generate Microsoft® Word or Excel reports based on user-defined choices. Most features of the Report window has been described in Section 10, while the other features are self-explanatory. The reports module may be activated from the GMSU/QC Console – Hepatic Clearance Calculator Reports or from the Hepatic Clearance Calculator Menu – Generate Reports (see Section 23.1). Figure 45 shows the Hepatic Clearance Calculator Reports window.

[image: image81.png]B3 Hepatic Clearance Reports

Hepatic Clearance Calculator Reports |0 o None] None] | fNone]

save | Deactivate
|Existing Data... Settings | data... hse hse hse >| |Dese

Analyte Sample Species/Assay| _ Date Acquired | Date Last Processed
[Alrazolom | TemploteSequence__Alprazolom 0 Reviewsid | Rt Microsome | 5/2/2007 6:3423 PM__| 10/30/2008 2:17:53 PM_| € callou’uick DuanCannedDemo'Mietabolic Stabiiy D
Ditizzen | Diizzemsid Fiat Mictosome | 11/20/2007 §58:48 AW | 10/30/2008 2.42.05 P | C\Xcalibu\DuickDuar'DatatMicosoml Metabolc Stabii
il Rat Miasome 54 P aibu

Mingiicl | TemplateSequence_0 Minosidl_1 Reviewsld | Rt Mictosome _|5/2/2007 6:37:28 FM__|10/30/2008 2:17:53 PM _| C:\XcaliowQuickQuanCannedDemotMetabolic Stabilly D:
Nefazodone | TemplateSequence_1_Nefazodone 0_Reviewsid | it Hepstocyle |5/2/2007 6:53:33 FM__|[11/22/2008 8.07:30 AM_| C:\Xcalbou\QuickQuanCannedDemotMetabolic Stabilly D:
Propranclel | Propranciolsid Fiat Mitosome | 11/20/2007 84018 AW _| 10/30/2008 2.42.02 PM_| C\calibu\Duick Quan'DatatMicosoml Metabolc Stabii

@i

Choose a Post-Report Macro: [Monel =] EnteraPint Job description (Optonal):
|Add or Remove raw data file(s)... Choose Addiionsl Report Content Fiter/Chosse Results Type
‘"”‘“_“;xfj:x"' [ HalLite I~ Comments g ﬁccewameﬁ :°: P/::::* resort
B eS| st | Lo 7 Serce © N revaned ¢ tyDsarie
—  Migasolt Word I Species/ssay v Acquisiion Time | & ay £ bySample o
Regession Flot [~ Acceptance Staus € by Spesies Report

Sample Date Last Processed
il 54 PM aibu\





Figure 45
Hepatic Clearance Calculator Reports Module

Two styles of reports may be generated:

24.1 Normal Report

A Normal report contains a single page containing the default and chosen additional fields. The default fields displayed in a Report include:

	· Analyte
	· Predicted Hepatic Clearance

	· Intrinsic Hepatic Clearance
	· Eh


Additional fields may be added by selecting them from the Choose Additional Report Contents frame.

[image: image82.png]I3 Microsoft Excel - Book1
i) He Edt Vew Inset Fomat Took Data Window Help Type a question for help w2 8 %
DEEHRSSRTEE $ LB F9-c-8 = -5 &[] '@!
o I ol B = RS N |21 B i | Yo Reply wit
-0 -|B Z U]

A
& c [ ©
Hepatic Clearance Results

ARz

" Predicted
Hepatio | Hepatic
Clearanc | Clearane
Anaigte e e Exp. Species Data Fite Path

] 7o [t Miorozome | S e Ly oo\ Cemotiep LTt ] ol
ot ut Fat Wiorosomelsuhelotautbelant- ot DatotProizle DemotisnCl T0ata0h b1 oo i

i« » \Report {1 {2/ Summary Plot 1<
Den: s [t N NCIOBIAG @A S L A-===adll
[





Figure 46
Hepatice Clearance – Normal Report

Note: Samples that have a ‘Last Point Remaining %’ value of greater then the CutOff value will display in the Report special text values specific to a species and experiment (all configured by an administrator in the Configuration Utility). For example, if a sample is has a ‘Last Point Remaining %’ of greater than 90% and the species experiment is Rat Microsome, the Intrinsic Hepatic Clearance, Predicted Hepatic Clearance and Eh values would be reported as ‘<0.85’, ‘<0.68’, and ‘<0.21’ (or some other configured text values).

The CutOff value is configured as ‘Last Point Remaining Value’ in the Hepatic Clearance Calculator window  of the Configuration Utility (see the Configuration Section of Installation and Administration Manual).

24.2 Detailed Report

A Detailed Section Report (Excel only, see Figure 47) will contain the normal report page, plus an extra worksheet for each item in the print queue. The detailed page contains all the information used to generate the clearance values.

[image: image83.png]et
R o7 s 2151

SR s 0 e s ek s 26 enzsr o
SRR RS

B
- —
o b
"
s -
s e e e EE
A T
PO—
ey EeD
A
£ e
w rm, o
B e uffe T o e A3 SR o
oot
s

st octon (5 Constats scton or v
IR s may r ot 9 86 sl s oy
okt o o o o

Cusige  Exe Lo
e Te  HeratRn-waomsme
s e s Lk 1) 815 a1asc-(230) Sor A C) Bl conesin s 1 pplcne]
e e e LRGP0 I e ]
= 072 omaEn-meiDmotss cmestn s
Elsror ernwa sy 3 22 5 T - Sooe v 0 e
Comrte sacton

s a1 100

i
s

e
s i bton oo S 1192057 VRSB 202007_GB0R2501 Loperames Loperanse 58

o Rasion




Figure 47
Hepatic Clearance – Detailed Report

24.3 Summary Regression Plot

If Detailed Section is chosen, the user has the additional choice of generating a Summary Regression Plot in which the regressions of all the items in the print queue are plotted on one plot.

[image: image84.png]LN - — C I o | e [ F ] 6 [ H

GMSU Hepatic Clearance Summary Plot

Sheet Name Analyte Name Species Experiment
1 2 Ret Microsome
2 bb Ret Microsome

Hepatic Clearance Summary Plot

R

——bb

Log10(% Remai

0 5 10 15 20 2 30 3 40 45

Time (minutes)





Figure 48
Hepatic Clearance – Summary Regression Plot

25 Permeability Calculator

With the exception of a portion of the Configuration Actions tab, the Chromatography, Calibration, and Configuration Actions tabs are exactly the same as the Generic Chromatographic Viewer (GVC). The user is referred to the GVC section (Section 27) and the section on Conserved Features (Section 9) for a description on the use of these tabs and features.

25.1 Configuration Actions – Peak Name Sets
[image: image85.png]Chromatography 1 Calibration | Configuration A L Permeability

Sample Table Column Headings Optimize Sample Peak Name Sets

Apply to Data Set | Create/Edit Table | [Number Applyto | Create/Edit Peak

iad Heading Set Data Set Name Set...

Heading Set Heading Set Values Current P2k [Thermo 46

Default Assay Flag Criteria Peak Name Set 5 [Peak Names

Fi Flag___[Criteria] [ [27B_8Calibr ] [# JPeak NameA
Sample Name nsiyte FT 45AB_5Calibr E]
Sample Type SRT i
Assignment 15 Peak It 10
Nor. Cone. QCPeak It 20
Conc.
“4Bias s
x
Area Ratio oon
Analyte AT ‘aoPracOne
Anclyte Peak Area. | [Caco2 55 Set 30 m
Analyte Peak Ht
Anclyte Man, It [ [Cacoz rT 55
S AT | [Cacoz HT 67
15 Peak Area
15 Peak H H
19 Man.nt g | [Thermo 15 | E T





A permeability assay requires that samples be assigned appropriate sample types. Users must apply a Peak Name Set by selecting one and clicking the Apply To Data Set button.
Alternatively, a default Peak Name Set may be configured in the Configuration Utility – Permeability – Global – Default Peak Name Set entry. This Peak Name Set will be applied to new or unsaved data when opened in the Permeability Calculator.
[image: image86.png]#2 Configuration Utility.

Choose a category:

Flags
Generic Viewsr
Giobal
Hepalic Clearance
Hepalic Clearance Constan
Moy Method
PK Calculator
iy

Peak Name Sets

Constarts

Description

Value

Default Baseline Window Value (Thermo Only)

100

Default Bunching Factor Value

1

Default Caco Constants Set

Default

Default Chromatography Method (HT Acquisition only)

[None]

Default Column Heading Template

Default

Default Data Directory

C:\Xcalibur\QuickQuanCannedDemo\PK curve data\

Default Regression

Default Data File Access Mode le data file within a director
Default Peak Name Set

Linear

Default Regression Weighting

1(none)

Default Results Decimal Places

B

Default Results Plot Regression Significant Figures

s

Default Results Significant Figures

B

Default Results Use Sig Figs (Yes) or Decimals (No)

Yes

Default Smoothing Factor

2

Default Units: Concentration

mMol/L

Display assay-related warnings

No

Excel template file

C:\GubbsInc\GMSU\PostReportMacros\Genzyme\Perm\Perm_02.is

Flag Criteria (%) - Analyte Retention Time

10





To create a new Peak Name set, click the Create/Edit Peak Name Set button (see section 25.1.1).

25.1.1 Create/Edit a Peak Name Set

When the Click/Edit Peak Name Set button is clicked, the Configuration Utility – Permeability – Peak Name Sets window is displayed.

[image: image87.png]#2 Configuration Utility.

Choose a category:
Flags

Generic Viewsr Giobal Peak Name Sets Constants

Giobal
Hepalic Clearance

Hepalic Clearance Constan
Moty Method Peak Name Set

PK Calculator 52AB_5Calibr - Blank_ Practice
Sre_1calibr o 2Bk Practie
5402 56T [Fanies

54AB_5Calibr [4-5td 2 Practice
e 505 JFaies
oz 50 JFaies
tho Faciee

Tt Faciee
tho Faciee
TS JPoctes
I
I
i Faciee
ok Faciee
$54T " JPrctes
5502 JPoctes
5545 JProctes
5504 JPoctes
i Faciee
ok Faciee
[olke— [Freciee





25.1.1.1 Create a new Peak Name Set

Note:  See Section 25.1.1.2 for instructions on how to create a new Peak Name Set based information from an existing Peak Name Set.

To create a new Peak Name Set, perform the following actions:

· Click the Edit button to go into Edit mode

· Click the Create New Set button

· Complete the required entries:

· Enter a new Set name

· Enter total number of autosampler injections

· Enter number of calibration levels

· Enter Analysis Time Points…

· Enter a Comment (optional)

[image: image88.png]#3 Configuration Utility

Giobal Peak Name Sets Constants
Double-click to set Peak Name
e e Peak Name Set Peak Names

Activate/ Deactivate
Peak lame Sets...

Enteranew Setname: | *71%°12

Enter total number of autosampler injections:

Enter number of calibration levels:

Enter Analysis Time Points separated
by commas (e.9.0,15,30,60):

Entera Comment (Optional): |

Copy Data From...

—]





· When complete, click the Execute button

· The Peak Name Set table will be populated with the number of rows as defined in the ‘Enter total number of autosampler injections’ field

· The Peak Names list will populate with sample identifiers that follow required GMSU/QC syntax rules

[image: image89.png]#2 Configuration Utility.

Giobal Peak Name Sets

View a Peak Name Set

Activate/ Deactivate
Peak lame Sets...

[aaPraciz

Enter a new Set name:

Constarts

Double-click to set Peak Name
Peak Name Set

Peak Names

Enter total number of autosampler injections:

Enter number of calibration levels:

Enter Analysis Time Points separated
by commas (e.9.0,15,30,60):

Enter a Comment (Optional):
Copy Data From...

Berk &
DAD
D40

B0

DB-40

a0

Fa20

a0

e

RE20

RE-10

A5t 1
A51d2
45143
4513
51
B2
B3
Bt

Stock AB
Stock BA
Corirol AB
Corirol BA
Double Bler
Dovbie Blar

Solvers 4B ¥





· Enter the peak name assignments (2nd column of the Peak Name Set table) by:

· Select the Peak Name identifier in the Peak Names list

· Select the row to be modified in the Peak Name Set table

· Double-click the 2nd cell of the selected row – this action will synchronize the identifier in the Peak Name Set

· Repeat until the entire table is filled.

· Save the Peak Name Set by clicking the Save button

The different sample identifiers in a permeability assay include:

	Sample Type
	Description

	Standard
	A calibration curve standard. For example, ‘A-Std 1’ would mean the first set, or A-side, (A-Std 1) of a calibration standard set and the first calibration level (A-Std 1) 

	DA / DB
	Donor side sample for a specific time point used in the calculation of Mass Balance and Sink Condition. E.g, DA-0 would be the Donor A-side 0 minute time point sample, while DB-60 would be the Donor B-side 60 minute time point sample.

	RA / RB
	Receiver side sample for a specific time point. E.g. RA-15 would be the Receiver side 15 minute time point sample, while RB-60 would be the Receiver side 60 minute sample.


25.1.1.2 Create a new Peak Name Set based on an existing Peak Name Set

To create a new Peak Name Set based on an existing Peak Name Set, perform the following actions:

· Click the Edit button to go into Edit mode

· Click the Create New Set button

· Enter a New Set Name in the appropriate field

· Choose an existing Peak Name Set from the ‘Copy Data From’ dropdown box

· Click the Copy Data From button

· The fields and tables will be populated with the information from the chosen Peak Name Set

· The user may now change parameters, such as increase/decrease the number of autosampler injections or change the Analysis Time Points

· Save the Peak Name Set by clicking the Save button

[image: image90.png]#2 Configuration Utility.

Giobal Peak Name Sets Constants

Double-dlick to set Peak Name

Peak Name Set Peak Names

Activate/ Deactivate Blark |
Peak Name Sets... Practice DAQ
— Practice. Da-60
050
Prastice Db-60
Prastice Rec15
Prastice a0
e d5
Prastice e

View a Peak Name Set

Practice el

[aaPraciz

Enter a new Set name: Practice 830

Practice. RE-45
RE-60

s FE2D,
Enter number of calibration levels: tactios |45t 2
Prastice 45143

Enter Analysis Time Points separated 15304550 Prastice a5t 4
by commas (.. 0,15,30,60): Fraclice Bl

Foer ] 652
Enter a Comment (Optional): [Pract Practice BStd3

— Practice Bt
ecyte... Practice Stock AB
Copy Data From... Fractis Sockes
saFacOne, Practice Conirol A
Practice Double Blar ¥

Enter total number of autosampler injections:





25.1.1.3 Edit an existing Peak Name Set

Note:  The number of injections (rows in the Peak Name Set table) is not an editable field. In order to add injections to an existing Peak Name Set, the user must create a new Peak Name Set.

To edit an existing Peak Name set, perform the following actions:

· In the ‘View a Peak Name Set’ table, choose a Peak Name Set to edit

· Click on the Edit button to go into Edit mode

[image: image91.png]#2 Configuration Utility.

Giobal Peak Name Sets Constants

Double-dlick to set Peak Name
Peak Name Set Peak Names
Activate/ Deactivate Blark Practice Bk
Peak Name Sets... Blank. Practice. DAQ
45td 1 Practice. a0
050
ETH Prastice D60
5133 Prastice a5t 1
514 Prastice a2
040 Prastice e
040 Prastice Bo 1
040 Practce 6512
[ Prastice 853

B5td 4
[ Prastice e
Prastice Sock B
Cortol 2B
Enter Analysis Time Points separated (15304560 Pracice Conirol 4
by commas (<.9. 0,15,30,60): Pracis Stock 4B

Enter a Comment (Optional): [Practice Fractice

Practice Dovble Blank
Exeaute... Practice Solvent 48
Practice Solvent B4
Practice
Practice

View a Peak Name Set

Enter number of calibration levels:





· Modify the contents of the following fields:

· Enter number of calibration levels

· Enter Analysis Time Points….

· Enter a comment (optional)

· Click the Execute button:

· This action will update the contents of the Peak Names list

· Modify the peak name assignments (2nd column of the Peak Name Set table) by:

· Select the Peak Name identifier in the Peak Names list

· Select the row to be modified in the Peak Name Set table

· Double-click the 2nd cell of the selected row – this action will synchronize the identifier in the Peak Name Set
· Save the Peak Name Set by clicking the Save button

[image: image92.png]#2 Configuration Utility.

Giobal Peak Name Sets Constants

Double-dlick to set Peak Name
Peak Name Set Peak Names
Activate/ Deactivate Blark Practice Bk
Peak Name Sets... Blank. Practice. DAQ
45td 1 Practice. a0
050
ETH Prastice D60
5133 Prastice a5t 1
514 Prastice a2
040 Prastice e
040 Prastice Bo 1
040 Practce 6512
[ Prastice 853

B5td 4
[ Prastice e
Prastice Sock B
Cortol 2B
Enter Analysis Time Points separated (15304560 Pracice Conirol 4
by commas (<.9. 0,15,30,60): Pracis Stock 4B

Enter a Comment (Optional): [Practice Fractice

Practice Dovble Blank
Exeaute... Practice Solvent 48
Practice Solvent B4
Practice
Practice

View a Peak Name Set

Enter number of calibration levels:





25.2 Permeability Calculator Instructions
Instructions for the use of the Permeability Calculator are as follow:
[image: image93.png]QuickCalc - GMSU 5.0.39 - Permeability Calculator
Meru.
IPermeability Calculator Choose a fle:|
- Choose Data Access Conligurton.. —————— Chooss Data Acauiston Mods:
= Open Qikuan et i o vl o1 | & Lawmwmmmn—‘

Enable Sample
7 y Change Wairing
2 Imiamine | uickCalosd__|May 01, 2007 165638 .\l Guick GuanCanedDemotPK

S[Pasiene [ Cac i a7 207 %03 € b du duamepenecd Cancel | Ext |
4ol GuickCole 1 [May 01, 2007 165638 el DuickQuanCanedDemctPK

Slpasobr ™ TouckCo 4 ilpor 07 a6 CVcdbeguduamepanied S |

 Dpen entire 00 parent sld as a single sequence. | High Thoughput Acaisiion

e

[6: Xcalbur|QuickQuanCamnedDemo PK curve data|05012007_183911
[\01_QuickcalciQuickCale.sid

Data Saved &
1)) > ¥ Locied

Chromatography [ Calibration Configuration Actions [Permeability
[Select a Papp Constant Set:_Edtseis... | Receiver Side: DA -> RB (Total pMoles)
Ave | seM [Exi[Rep1

Apical Bosig (i)

Basal Dosing (mL)
Concentration (uMole/L)
Growth Area (cm2)
[Samping from A (L)
[Samping from B (L)

Dosing Solution Volume (L)
Diution Volure (L)

> RA (Total pMoles)
€ DAtRB  DBloRA & Both Effn) £ SEM [Exi| Rep1

[Intermediate Calculation Parameters
Parameters DA bB
Ave. Conc. Dx-0
[Ave. Conc. Dx-60
Conc. (nHol/1)
nmole

[Ave. nmole Dx-0
Ave. nmole Dx-60

Summary

o Por ok on || @ Peak Concs
A0S ems)  sen MB(%) (%) | PeakAreas
DA-to-RB Show 2-pt
DB-to-RA Cves
Ratio & No
(0B/DA)





Figure 49
Permeability Calculator – Permeability Tab

25.2.1 Apply a Peak Name set

Users apply a Peak Name set by choosing a Peak Name Set from the Configuration Actions tab Peak Name Set table (see Section 25.1 for further information).

25.2.2 Select a Papp Constant Set

Users must select a Constant Set whose values will be used by GMSU/QC to generate Papp, Mass Balance, and Sink Condition.
Alternatively, a default Constant Set may be configured in the Configuration Utility – Permeability – Global – Default Caco Constant Set entry. This Constant Set will be applied to new or unsaved data when opened in the Permeability Calculator.

[image: image94.png]#2 Configuration Utility.

E= B = S

Choose a category:

Flags
Generic Viewsr
Giobal
Hepalic Clearance
Hepalic Clearance Constan
Moy Method
PK Calculator
iy

Peak Name Sets

Constarts

Description

Value

Default Baseline Window Value (Thermo Only)

100

Default Bunching Factor Value
Default Caco Constants Set
Default Chromatography Method (HT Acquisition only)

1
Default
[None]

Default Column Heading Template

Default

Default Data Directory

C:\Xcalibur\QuickQuanCannedDemo\PK curve data\

Default Data File Access Mode

1- Open a single data file within a directory

Default Peak Name Set

Thermo_46

Default Regression

Linear

Default Regression Weighting

1(none)

Default Results Decimal Places

B

Default Results Plot Regression Significant Figures

s

Default Results Significant Figures

B

Default Results Use Sig Figs (Yes) or Decimals (No)

Yes

Default Smoothing Factor

2

Default Units: Concentration

mMol/L

Display assay-related warnings

No

Excel template file

C:\GubbsInc\GMSU\PostReportMacros\Genzyme\Perm\Perm_02.is

Flag Criteria (%) - Analyte Retention Time

10





25.2.2.1 Create a new Constant Set

Please note that the values of existing Constant Sets cannot be modified.

Papp Constant Sets are created in the Configuration Utility – Permeability – Constants tab.

[image: image95.png]#2 Configuration Utility.
Choose a category:

E= B = S

(Gerei Viewsr Pk Name Sets Constants
Global
Hepatc Clearance
et e Constr Apica Dosing (L]
odiy Metho Basal Dosing (mL]
L Concenliaton uMole/L]
Growth Area 2]
Semping fom A (nL)
Samping om ()
Dosing Soluion Volure ()

Dildion Valume ()





To create a new Constant Set, perform the following actions:

· Click the Edit button

· Click the Create New Set button

· Enter a Constant Set name in the field

· Enter values for each field in the Constant values table to the right

· Click the Save button to save the new Constant Set

[image: image96.png]#2 Configuration Utility.

Peak Name Sets

[Agical Dosing (m]

Basal Dosing (L)

Concentation [uole/L]

Constants

Growth Area lom’2)

Sompling rom A (mL]

Semping rom  (mL)

Activate/ Deactivate
Constants Sets...

Enter a new Set name:

Dosing Soluton Volume (L]

Dildion Valume ()

Create iew Set





25.2.3 Exclude Points
Users may exclude points by selecting one or more Rep X values and clicking the Exclude Points button.

Users may include points by selecting one or more Rep X values and clicking the Exclude Points button. The ExX column will be populated with an X and the cell background will be changed to yellow.
If the selected Rep X value has been excluded, the button title changes to Include Points. If the selected Rep X value has not been excluded, the button title changes to Exclude Points.

[image: image97.png]QuickCalc - GMSU 5.0.39 - Permeability Calculator
Meru.
IPermeability Calculator Choose a fle:|
- Choose Data Access Conligurton.. —————— Chooss Data Acauiston Mods:
= Open Qikuan et i o vl o1 | & Lawmwmmmn—‘

Enable Sample
7 y Change Wairing
2 Imiamine | uickCalosd__|May 01, 2007 165638 .\l Guick GuanCanedDemotPK

S[Pasiene [ Cac i a7 207 %03 € b du duamepenecd Cancel | Ext |
4ol GuickCole 1 [May 01, 2007 165638 el DuickQuanCanedDemctPK

Slpasobr ™ TouckCo 4 ilpor 07 a6 CVcdbeguduamepanied S |

 Dpen entire 00 parent sld as a single sequence. | High Thoughput Acaisiion

e

[6: Xcalbur|QuickQuanCamnedDemo PK curve data|05012007_183911
[\01_QuickcalciQuickCale.sid

Data Saved &
1)) > ¥ Locied

Chromatography [ Calibration Configuration Actions [Permeability
[Select a Papp Constant Set:_Edtseis... | Receiver Side: DA -> RB (Total pMoles)
Ave | seM [Exi[Rep1

Apical Bosig (i)

Basal Dosing (mL)
Concentration (uMole/L)
Growth Area (cm2)
[Samping from A (L)
[Samping from B (L)

Dosing Solution Volume (L)
Diution Volure (L)

> RA (Total pMoles)
€ DAtRB  DBloRA & Both Effn) £ SEM [Exi| Rep1

[Intermediate Calculation Parameters
Parameters DA bB
Ave. Conc. Dx-0
[Ave. Conc. Dx-60
Conc. (nHol/1)
nmole

[Ave. nmole Dx-0
Ave. nmole Dx-60

Summary

o Por ok on || @ Peak Concs
A0S ems)  sen MB(%) (%) | PeakAreas
DA-to-RB Show 2-pt
DB-to-RA Cves
Ratio & No
(0B/DA)





25.2.4 Calculation Types

Users may choose two types of calculation methods.

25.2.4.1 Peak Concs

Peak concentrations calculated from a calibration curve are used to generate permeability values.
25.2.4.2 Peak Areas

Peak areas of samples are used to generate permeability values. A calibration curve is not needed in this case.

25.2.5 Show 2-pt

Function for Millennium Pharmaceuticals process.

25.3 Permeability Calculations

The Permeability Calculator uses the following the calculations to generate permeability values. This discussion makes the following assumptions:

· Sample time points are performed in triplicate

· Donor Side time points are 0 and 60 minutes

· Receiver Side time points are 15, 30, 45, and 60 minutes (0.25, 0.50, 0.75, and 1.0 hours)
· Reported concentrations are nM (nMole/L)

In order to calculate permeability values, the following constants must be known:

	Constants
	Value 1
	Comments

	Drug Concentration (uMole/L):
	20.0000
	Used in calculation of Papp

	GrowthArea (cm2):
	0.3300
	Used in calculation of Papp

	DA ApicalDosing (mL):
	0.2000
	Used in calculation of 'Corrected Calc Amt' and TpMole

	RB BasalDosing (mL):
	0.1200
	Used in calculation of 'Corrected Calc Amt' and TpMole

	Apical Sampling (mL):
	0.1200
	Used in calculation of pMole and TpMole

	Basal Sampling (mL):
	0.1200
	Used in calculation of pMole and TpMole

	DosingSolutionVolume (mL):
	0.0100
	Used in calculation of DonorConcFactor

	DilutionVolume (mL):
	0.1200
	Used in calculation of DonorConcFactor

	DonorConcFactor:
	13.0000
	 => (DilutionVolume+DosingSolutionVol)/DosingSolutionVol, used in calculation of MB Calculation 'Corrected Amt'


1 Values used for example purposes

25.3.1 Donor Side Calculations

Sink Condition and Mass Balance 
This example is for Apical values (DA). The same calculations are used for Basal values (DB).
Samples called DA are analyzed in replicate at time points 0 (DA-0) and 60 (DA-60) minutes. The average of the replicate concentrations are used for Sink Condition calculations, while the average amount (corrected for DonorConcFactor) is used for Mass Balance calculations.

	Apical
	Concentration (nMole/L)

	 
	0 min
	60 min

	DA1
	1350.00
	980.0000

	DA2
	1590.00
	1150.0000

	DA3
	1500.00
	1240.0000

	 
	
	 

	For Sink Condition Calcs
	Conc0A
	Conc60A

	Average Conc (nMole/L)
	1480.0
	1123.333

	For MB Calculations
	Amt0A
	Amt60A 

	Corrected Amt (nMole)
	3.8480
	2.9207


[image: image121.jpg]
25.3.1.1 Mass Balance

The formula for Mass Balance is:

[image: image122.wmf]mL

L

mL

g

ApicalDo

actor

DonorConcF

L

nMole

Conc

mt

CorrectedA

1000

*

sin

*

*

0

=



where AveAmt is described in Section 25.3.2, linear regression slope table
Using the Apical data above, the reported Mass Balance = 78.1%

25.3.1.2 Sink Condition

The formula for Sink Condition is:

Conc0 / Conc60

Using the Apical data above, the reported Sink Condition = 75.9%

25.3.2 Receiver Side Calculations

This example is for Donor Apical-to- Receiver Basal values (DA-to-RB). The same calculations are used for Donor Basal-to-Receiver Apical values (DB-to-RA).

Samples called RB are analyzed in replicate at times points 15, 30, 45, and 60 minutes (labeled as RB-15, RB-30, RB-45, and RB-60, respectively). The number of pMoles of each sample are calculated, then corrected (TpMole = total pMoles) for loss of sample occurring during experiment execution.

	
	15 min (0.25 hr)
	30 min (0.50 hr)

	Rep
	Conc

(nMole/L)
	pMole
	TpMole
	Conc

(nMole/L)
	pMole
	CTpMole

	1
	6.84
	0.8208
	0.8208
	82.20
	9.8640
	10.6848

	2
	12.40
	1.4880
	1.4880
	51.40
	6.1680
	7.6560

	3
	6.15
	0.7380
	0.7380
	70.20
	8.4240
	9.1620


	
	45 min (0.75 hr)
	60 min (1.0 hr)

	Rep
	Conc

(nMole/L)
	pMole
	CTpMole
	Conc

(nMole/L)
	pMole
	CTpMole

	1
	276.00
	33.1200
	43.8048
	391.00
	46.9200
	90.7248

	2
	210.00
	25.2000
	32.8560
	382.00
	45.8400
	78.6960

	3
	203.00
	24.3600
	33.5220
	395.00
	47.4000
	80.9220


	Legend
	  

	pMole:
	Conc * SamplingA 

	TpMole (Total pMole):
	pMole * BasalDosing / SamplingB

	CTpMole:
	TpMole(n) + pMole(n-1) + … + pMole(1) where n = Time Point


The linear regression slope of number of pMole (TpMole and CTpMole) vs time (hour) is used to calculate permeability.
	Replicate:
	1
	2
	3
	Average
	SEM

	time point (hr)
	
	
	
	
	

	0.25
	0.8208
	1.4880
	0.7380
	1.0156
	0.24

	0.50
	10.6848
	7.6560
	9.1620
	9.1676
	0.87

	0.75
	43.8048
	32.8560
	33.5220
	36.7276
	3.54

	1.00
	90.7248
	78.6960
	80.9220
	1 83.4476
	3.69

	 
	
	
	
	
	

	Slope (pMole/hr)
	121.13
	102.73
	105.96
	109.94
	5.67

	R-Squared
	0.92951
	0.89338
	0.90175
	0.90821
	

	Papp (10-6 cm/s)
	5.10
	4.32
	4.46
	4.63
	0.24


1  60 min Average used in MB Calculation (AveAmtA)
Finally, the ratio of DB-to-RA and DA-to-RB permeability values (Ratio B/A) is reported.

26 Permeability Report

The functions in the Permeability Report window are straightforward and not all features will be described. In addition, the user is referred to Section 10 for a discussion of features conserved between all module Report windows. Figure 69 shows the Reports window. Figure 70 and Figure 71 show examples of a PK Calculator Report.

Please note that the report content itself is highly configurable. PK Calculator Reports support post-report macros in Excel. Users may create a blank Excel file that has embedded a macro named “DoGMSU”. If this Excel file is configured in Configuration Utility – PK Calculator – Excel Template File, then PK Calculator Report will use this file as to generate the report, then execute the macro upon completion. In this manner, users can do such things as modify the format and/or content of the report, or send report information to an internal LIMS system.

[image: image98.png]B4 Permeability Calculator, Reports

Permeability Calculator Reports

Save
Settings

Sot Drders

1: [araiye

] 2 [sampie ~] 3 [iNon

el [Nore]

fase

<] e <] e

fase

Analyte

Date Acquired

Date Last Processed

Raw Data File_ A

1-0GH 082808 BMS 707035 _sp3

9/1/2008 71350 PW|

10/6/2008 31425 PM

CAnslyst Data\Proieots\00033\ 20081 00ZADatab - OGH 0828

01 (4455 0BLd SDF) pos

01 (4455 0BLd SDF] pos

6/8/2005 42549 PM|

5/2/2008 1:21:24 M|

CAnslst Dala\Projects\DemotHepCILT\Dala\01 (A455_ 06L:

02 (4455 0BLd_SDF) pos

02 (4455 0BLd_SDF) pos

6/8/2005 452:20 PM|

3/13/2008 11820 P

C\Analst Data\Profects\DemaHepDILT\Data\02 (3455 06L

7EC

TEC_Tsp MKI

/8/2008 403,03 |

/11/2008 440,01 P

€ Anslyst Dala\Projects\00033Datah_7EC_Tsp_ MK1.wifl

7EC

TEC_1sp MK2

/6/2008 10,3304 P

/11/2008 43300 P

€ Anslyst Dala\Proects\00033ADatah_7EC_Tsp_ MKZ il

7EC

7EC_1sp R

/6/2008 4.04:05 P|

8/11/2008 4:33.04 P

€ Anslst Data\Projeots\00033\Datah_TEC_Tsp_ AT wi

Aathvomycin

11082007 102618 54

T1/8/2007 105312 8M

3/4/2008 91556 AM|

€ WealbutQuickQuar\LDTD_03ov\11082007_102818VT1C

BMS-707035+176

Mingsicl

1.0GH 082208 BMS 707035 _sp3
0 id
05012007 183911.5d

5/1/2008 71250 PM|

5/1/2007 6:56:38 PM|

T0/7/2008 51023 A
7 5 P
4/1/2008 75406 AM|

€ Uinslst Data\Proeots\00033\ 20081 002\Data\1-OGH 0828
abu uick DuanCanniedDemotPK. curve data\0501200]
€ WealburtQuickQuanCamnedDemoPK curve data\0501 20

MLODB44089

080408 Caco?_CCODD

4/8/2005 5:28:34 P|

T1/11/2008 2:41:38 PM

€ Anslyst Data\Projects\Demo\PermL T\Data\050408_Caco?

Nefazadane.
I

05012007 1839115

57172007 6:56:38 PM|

2/16/2008 3:37:25 PM

€ WealburQuickQuanCannedDemo\FK curve data\0501 200; ¥/
3

‘Add or Remove raw data file(s)...
Add
¥ Papp Sunmay

Remove v

. ¥ Detsied Sectio

Choase Report Content

Rieceiver Side Summary Tables

Choose a Post-Report Macro:
Resuls € Repor Defait Cobums

& Report Colurns Saved wit Record

Nore]

Chosse Report Column Content

 Report Selected Columns

Esit Columns.

Sot Pint Data
& by Anate

 byDataFie

Include in Repart
I RegrFlot

I~ Row Colors

Re-Sort

Generate
Report

by Sample

Analyte

Sample

Date Acquired

Date Last Processed

Raw Data File

1| bzitrompein
Bl inipianine

11062007 102618 5
Quickalosid

11/8/2007 1055312 2M]

3/4/2008 91558 AM|

€ WealbutQuickQuar\LDTD_03Novi11052007_102818\ 11082
aibur uick DuanCanny PK curve dat





Figure 50
Permeability Report

26.1 Summary page

[image: image99.png]B3 Microsoft Excel - Book1
i) e Edt Vew Inet Fomst ook Dats Wndow te Type a question for help
DEAROSRTE RN A BN |
tig e 2 Sl 5o ) 91 B 3 roRey it o ™ ]
Ha "1 <A A BIU =Ha 2 5 S % o Gl » o seanty... | #I[3E]
RICT #_Gubbs Inc Permeability Report Summary Page
2 4 5

reability Report Summary Page
Date Report Prepared By: Larry Ehvebak on December 30, 2008 11:35:40

E R

Analyte Sample Path
[Azithromycin | 11082007_10286 s1d |Ccalibur\QuickQuan\LDTD_08Now11082007_1028 18111082007 102816 sid
Imipramine | QuickCalc sid [CXealibur\QuickQuanCannedDemo\PK curve data\05012007_183911\01_QuickCalc\QuickCalc sld

4
=
e
7
=)
=
®
|

| GHE Sk [E

11
CRID N]\Snmnuly SummaryPapp {12,

Ready




Figure 51
Permeability Report – Summary Results page

26.2 Summary Papp page

[image: image100.png]B3 Microsoft Excel - Book1

{3] He Edt Vew Inet Fomat Toos Data Window Hep

DEEHRISRVEE 8 LB F9;

Type 2 question for help

|2 23]

RN A BN |

@axaEia)
ol

-0 -|A A B ZU|

Y

RICT__ |~ A
3 2 3

Ax

Analyte:  Azithromycin
Comments:  No comments

1-point

Papp

(x100.6 cmisec)  SEM

DA-to-RB 4719 19
DB-to-RA 9172 74
Ratio(B/A) 06

[Raw Data File C- XcalibunQuickQuan\LDTD_08Now11082007_102616\11082007_102318.51d

‘Sample:| 11082007_102818 sld
Directionality: Both (Efiux)

2point

Papp

(x102-6 cmisec)
0.000
0.000
00

Worksheet Name:

Analyte: Imipramine
Comments:  No comments
3point
Papp
(x102.6 cmisec)
DAtoRB | 2910000000
DBtoRA | 754372100
Ratio(B/A) 03

SEM

4
=
B
==
EE
=l
o
cH
|
P E
FlE!
E
Alsl
EE
B

328260

2268816.0

[Raw Data File C-XcalibunQuickQuanCannedDemo\PK curve data\05012007_18391101_QuickCalc\QuickCalc sid

‘Sample:| QuickCalc sid
Directionality” Both (Efiux)
2point
Papp
(x102.6 cmisec)
5800674000
7 2370736.000
04

Worksheet Name:| 2

-3838.1
126.3

1148
431

Oy N summary ) summaryPapp {142/ ¢
paws by |awswesr N\ NCOM A @RS -L- A ===adll
Ready





Figure 52
Permeability Report – Summary Papp page

26.3 Detailed Report section of the results page

[image: image101.png]



Figure 53
Permeability Report – Detailed Report section of Results page

26.4 Receiver Side Tables section of the Results page

[image: image102.png]e

e ae ww e o m ow e
- g T
i Som s o e
S o
= e m mpn e me es
- wmE e
i oot e
FCe
ot P
s contt s £
(st %
et e :
o donn. B
(Crovnira sy
i o £
meas o o o)
et onsokha 831
e vaams oy
T
Pt % =
o cone Dt 2™ rua
Erera A
o rion i e (e





Figure 54
Permeability Report – Receiver Side Tables section of Results page

27 Generic Chromatographic Viewer (GCV)

The salient feature of GCV is that it can view in two ways Thermo QuickQuan (QQ) generated data:

· By selecting the Choose Data Access Configuration option ‘Open QuickQuan parent .sld or an individual .sld’ to load data, GMSU/QC will parse and list separately the different analytes acquired during the data acquisition event (see Figure 55)
· By selecting the Choose Data Access Configuration option ‘Open entire QQ parent .sld as a single sequence’ to load data, GMSU/QC will not parse the different analytes acquired during the data acquisition event and list them in the sample list as they were acquired (See Figure 56).

[image: image103.png]B3 QuickCalc - GMSU 5.0.39 - Generic Chromatographic Viewer

Menw.
Generic Chromatographic Viewer Choose a file:| Enable Sample
I~ Choose Data Access Conliguration..——————— - Choose Data Acquiston Mode:— [ 1 May Change Warring
& Open QuickQuan perent sid ot anincividul s ||  Low Thioughput Acguistion || 2] Impramine | uickCalodd | May 01, 2007 185359 et i unCareDend K o] e | it |
 Open eniie 00 patent sd 25 2 single sequence || ¢ Hish Thouohput Accistion || 3[Parositene | QuickCalo.dd [ May 01, 2007 185359 Ccalbu Duick DuenCarmedDemotPk, o C2n°e! | EXit
4[Vincsic GuickColo g [ Mey 01, 2007 185358 C\XealbuQuickBuanCamedDemo\PK o
Browse... | choose a data e 5{Alprozolom | GuickCalosild [ May 01, 2007 165359 CcalbuQuickDuanCarnedDemotPK o
[C:Wealbur QuickQuanCamecbemo P curve data P5012007_183911 Data Saved &
|o1_quikcaciquickcat.sd S 5|7 Lodked
Excluded AOL-500 [BAL=25 _[[Anal RT Flag - 10) (15 AT Flag = 10) S Peak Int_ Flag = 25) (QC Peak Int. Flag = 20) Binalyte:
Sample List - 46 [ acs [ Stondads | Flagged Sanples [ Unknowns [iefazodone
Sample Sample  [Nom. Analyte [Analyte |Analyte [Analyte |Analyte 1S S [Int St A |soemens
File Name _[Name Type Conc. |Conc. |[RT __|Peak Area|Peak Ht_|S/N Peak Wd IS RT |Peak Area|S/N Peak
1| QuickCalc_1
2 | QuickCale_02_|Blank Blank 18] 191 6420648] 1455386 21686 021736 170 3938779 60576 0.1 ||Comments (<250 characters)
3 |QuickCalc 03 [Blank Blank 18.7) 187 6371639] 1444260 30503]  0.04394] 1.66] 83761738 56043 0r [Nt
4| QuickCale_04_|Blank. Blank 112 193]  3s01625] 781360 13238] 008188 172 60615116 66923 01
5 | QuickCale_05_|25ng/mL StdUpdate 25 313 12| 719451 159990 5254 0.04343] 1.70] g0z274a 67341 0z
6 | QuickCale_06_|5 0ng/mL StoUpdate 5| a7s| 193] 1esdass| esnng 14140 014484 172[ mi30amg 63481 0. @ SigFigs
7 | QuickCale_07_[10.0ng/mL StoUpdate 0| 33| 193] edsezr]| seders 13912 007318 172 79088633 66407 0. € Desindls
8 | QuickCale_08_|25.0ng/mL StoUpdate 25| 2a1] 193] 7s78026] 1805074 34546 007786 172 79655339 69743 0z B E
9 [QuickCalc 03 [50.0na/mL StdUndate sol 504l 1s3[ teariieal aseeven 70038 004377]  171] 79702138 5a085|  0.2v
<imi] 3|
Chromatography Calibration Configuration Actions
BW  Smootns PNF__ANE | YAWSTwe | Chromatogr. Review B Smoots _PE AV [[Bxoend Chromatoaram Pane
@ Absolte & Nomal  Vertcal  Horzortal
100 3l o s No Fi - 100 3l o H
= C e [ories _ = Left single-click in graph to restore previous view
001-225 NL 47666 000-225 NL 65657
#1:+ CESIsid=10.00 SRM ms2 470.010@cid34.00 [245.956-246.056, 273.873-274.073] #1:+ CESIsid=10.00 SRM ms2 320.210@ci425.00 [151.978-162.078, 293 295-294.095, 31
RT:193 RT: 1.68
Ax 20045318 Ax 319749514
45000005
60000000}
4000000 Analyte It std
35000003 500000005
=z =
£ 20000003 £ 40000000
£25000003 2
S2000000] 2300000003
£ 15000003 2200000003
10000003
10000000-]
500000
o o
T T T T T T T T
05 10 15 20 05 10 15 20
Time (min) Reset Time (min) Reset

Display HT Chromatogtaphy...| _Jwanusly iesred

[rarualy egrted





Figure 55
QuickQuan data – Open…a QuickQuan parent .sld

[image: image104.png]3 QuickCalc - GMSU 5.0.39 - Generic Chromatographic Viewer (

Menu,

Generic Chromatographic Viewer i i) Enable Sample

I~ Choose Data Access Conligurtion..———————~ Choose Data Acquisiion Mode: 311,513 My 01 PV ™ Change Waring
" Open QuickBuan parent sidor anincividual sid || = Low Thioughput Acauistion -
& Open enlie 00 parent sid as  singe sequence {r High Thoughput Acguisiion Cancel | Exit

owee [
[C: Wealibur \QuickQuanCannedDemo PK curve data\05012007_183911

[T
=]

[os012007_is3011.5d am 5
Excluded AOL-500 [BAL=25 _[[Anal RT Flag - 10) (15 AT Flag = 10) S Peak Int_ Flag = 25) (QC Peak Int. Flag = 20) Aralyte:
Sample List - 46 [ acs [ Stondads | Flagged Sanples [ Unknowns [iefazodone
Sample Sample  [Nom. Analyte [Analyte |Analyte [Analyte |Analyte 1S S [Int St A |soemens
Name _[Name Conc. |Conc. |[RT __|Peak Area|Peak Ht_|S/N Peak Wd IS RT |Peak Area|S/N Peak
1
2 | QuickCale_02_|Blank Blank 18] 191 6420648] 1455386 21686 021736 170 3938779 60576 0.1 ||Comments (<250 characters)
3 | QuickCale_03_|Blank. Blank 187 187] 6371638] 1444260 30593 0.04394| 166 63761739 53043 0.
4| QuickCale_04_|Blank. Blank 112 193]  3s01625] 781360 13238] 008188 172 60615116 66923 01
5 | QuickCale_05_|25ng/mL StdUpdate 25| 313 192 719451 15999 5264 004343 1.70] 80227499 67341 0z SigFigs / Dec
B |QuickCalc_06 |[5.0ngymL StdUpdate 5| 475] 1.93] 1294396 299019] 14140  014494] 172 81302018 63481]  0C "‘““"icj“"'” @ SigFigs
7 | QuickCale_07_[10.0ng/mL StoUpdate 0| 33| 193] edsezr]| seders 13912 007318 172 79088633 G607 0L (| oo | © Deinds
8 | QuickCale_08_|25.0ng/mL StoUpdate 25| 2a1] 193] 7s78026] 1805074 34546 007786 172 79655339 69743 0z = B E
9 [QuickCalc 03 [50.0na/mL StdUndate 5o 04l 193] eatiieal ameeran 70036] 0043771 1711 79702138 5a085|  0.zv
<imi] 3|
Chromatography Calibration Configuration Actions
BW  Smootns PNF__ANE | YAWSTwe | Chvomatogr. Review B Smoots _PE AW [[Bxoend Chromatoaram Pane
@ Absolte & Nomal  Vertcal  Horzortal
100 3]l o s No Fi - 100 3]l o H
| C e [ories _ | Left single-click in graph to restore previous view
001-225 NL 47666 000-225 NL 65657
#1:+ CESIsid=10.00 SRM ms2 470.010@cid34.00 [245.956-246.056, 273.873-274.073] #1:+ CESIsid=10.00 SRM ms2 320.210@ci425.00 [151.978-162.078, 293 295-294.095, 31
RT:193 RT: 1.68
Ax 20045318 Ax 319749514
45000005
60000000}
4000000 Analyte It std
35000003 500000005
=z =
£ 20000003 £ 40000000
£25000003 2
2000000 2300000003
£ 15000003 2200000003
10000003
10000000-]
500000
o o
T T T T T T T T
05 10 15 20 05 10 15 20
Time (min) Reset Time (min) Reset
Remove Manual Integration | Display HT Chromatography... | [ ]Manually Integrated e [JMenualy Integrated





Figure 56
QuickQuan data – Open all data files within a directory
GCV doesn’t calculate any pharmacokinetic parameters itself – it’s only purpose is to review data. All GCV functionality is described in Sections 9 - 10.
27.1 Generic Chromatographic Viewer Reports

The functions in the GCV Report window are straightforward and not all features will be described. Figure 57 shows the Reports window. Figure 58 shows an example of a GCV Report.
Please note that the report content itself is highly configurable. GCV Reports support post-report macros in Excel. Users must create a blank Excel file that has embedded a macro named “DoGMSU”. If this Excel file is configured in Configuration Utility – Generic Viewer – Excel Template File, then GCV Report will use this file as to generate the report, then execute the macro upon completion. In this manner, users can do such things as modify the format and/or content of the report, or send report information to an internal LIMS system.

[image: image105.png]&3 Generic Chromatographic Viewer Reports

Generic Chromatographic Viewer Reports [0t

fase <] e

Date Last Processed
4 4 C:XoalburQuickD: X L
081110 001 01.5LD | 11/11/2008 44310 Fh| 11/16/2008 7.06:18 AM|C Xoalbur\datah00008\FiapidFie) 20081111\081110_00T_01.5LD.
DESETHYL AMODIAGUINE | 081110_0003 01 11/20/2008 343 16 8M__12/10/2008 2.05/55 P C\ADDS\DMPK\Projekteh PA5OAMS RF Rawdata\11202008_032406\11202008 05241
15 Tost 3/24/2008 £0033 PM|__12/9/2008 847,19 M| T oalburdala\I0DSSND atal WintStd sd
Nefazodane QuickCale s 5/1/2007 65353 PM|__12/18/2008 310:10 AM | CXcalbutQuickQuanCannedDemo\PK curve dala\05012007_18311%01_OuickCak
PKFT17-0790%1 08062008 22011490 | 8/6/2008 10108 PH| 10/30/2008 10:32.41 AM| C:¥oalburQuickQusrtBT343_350\koquisiion BT Samples\08062008_ 2201145080

@m
Choose a Post-Report Macro: [[None] B

Add or Remove raw data file(s)...  Choose Report Cokamn Content Include n Repart |- Son Prnk Data
 Fopar Solcted Coims || ! by s Re-Sort

Add  Repot Defaul Colunns
& Report Calumns Saved with Recard [ AowColrs || byDataFie

Remove Generate
Esit Columns. by Sample

Data to print.
Analyie

44 AM C:\Xoalbur\ QuickQuan!Ca





Figure 57
Generic Chromatographic Viewer Reports

27.1.1 Choose Report Column Content

27.1.1.1 Report Default Columns

This option will have the report sample list columns be those configured in the Default Column Set Name (see Section 10).

27.1.1.2 Report Columns Saved with Record

This option will have the report sample list columns be those configured in the Column Set Name saved with the record.

27.1.1.3 Report Selected Columns

This option will allow the user to choose a different Column Set Name with which to build the report. Users may also click on the Edit Columns button to bring up the Design Sample Table window to edit Column Name Set column content.

27.1.2 Include in Report

The following items may be selected to be included in the report

27.1.2.1 Regr Plot

If a regression plot is included in the data, then it will be included in the report. Please note that, in order for the regression plot to be included, the Column Set Name must include the following columns:

	· Standard Nominal Concentration
	· Standard Excluded?

	· Sample Concentration
	· Sample Type


In addition, the dataset must have a slope.

27.1.2.2 Row Colors

If there have been any Flags configured in the report, this selection will color the flagged rows.

[image: image106.png]B3 Microsoft Excel - Book4
{3] He Edt Vew Inet Fomat Toos Data Window Hep
HAN=A" NERETR= NN <

[} 1

\igubbslap03icalibunQui dDemoilletabolic Stabilly Datal05022007_181322\01_SequenceTemplateSequence_0_Alp.
[Date Report Prepared By: Lary Elvebak on June 27, 2007 18:39:52
[Column Header et Default
|Analyte Transition ‘SR ms2 309.010@cid40.00 [204.957-205.057, 280.921-281.021]

Int Std Transition: ‘SR ms2 320 210@cid25 00 [161.978-162.078, 203.995-294.095, 311.019-311.119]
IData Initalized By: lune 26, 2007 08:02:03

|Data Last Modified By. lune 27, 2007 18:2023

‘Analyte s
Sample Analyte|  Peak Peak
FileName | Name conc. RT_| Area Area
Alprazolam_01[T30 [StdUpdate] 244] 2.04] 2655717 7440778]
[Alprazolam_03T15___[StdUpdate] 509 .95] 7016209| 8457549
Alprazolam_05[T0 [StdUpdate] _100] 657] 7.09] 8202128| 7580037
[Alprazolam_07]Control _|StdUpdate| 100 _124] .95 20420671 8621005]

Regrsssion:  Linear ome - aorses) Aprazoiam
Welgning. None

R 0ss352

Stope 0017801
vt 007917

25

BE) L





Figure 58
A Generic Chromatographic Viewer Report

28 PK Calculator

The Chromatography, Calibration, and Configuration Actions tabs are exactly the same as the Generic Chromatographic Viewer (GVC). The user is referred to the GVC section (Section 27) and the section on Conserved Features (Section 9) for a description on the use of these tabs and features.

The PK Calculator is used to generate the following PK parameters:
	· Half life (t ½)
	· Area Under the Curve (AUC)

	· Concentration Maximum (Cmax)
	· Clearance


[image: image107.png]3 QuickCalc - GMSU 5.0.39 - PK Calculator

Menw.
PK Calculator B Enable Sample
Choose Data Access Confiuraion. 7 ¥ Change Warring
& Open Quickuan parent i or an ncvidual sd 2limpramne | QuickCalosld_|May 01, 2007 165638 (C:calbur\Quick DuanCarnedDemotPK o
H e S[Pastens—[QudCaeod s 27 0550 e Rl
4[Vincsic GuickColo 9| Mey 01, 2007 185838 CcalbuQuickuanCarnedDemotPK o
Browse...|choose a data e B[ Alprazolom | QuickCalo o [May 01, 2007 165838 CcalbuQuickDuanCarnedDemotPK o
[C:Wealbur QuickQuanCamecbemo P curve data P5012007_183911 5 DetaSaved &
|\01_Quickcalc\QuickCalc.sid &) 3| Locked
Chromatography Calibration Configuration Actions | [PK Calculator
Route Species: [Fal ~| [TRoute crou PK Plot Expand plot

o) Matrix. 1

IV 1112 Regression: y= (0.353477% + 6.1985
Assay Set: [N RA= 086441
PK Actions: .

Choose an Action.
Conc. Data_Excluded datain red font Double cick celto goto chramalogiam -
Time| -
hrs) 5
0 o0.0e 1.0200 0.0108 H .
— 2l oaso] 3.27] 3.2700[NA_[NA 11848 S
3] os00] 22.1]  2a.1000nA [NA 3.0956) § -
[ 000 105] _i05.0000nA _[na 6540 H
5| 2.000] 206] 206.0000[nA [N 5.3279) 3 -
6| 4.000] 165] 165.0000]nA [NA 5.1059)
7] 6.000] s0.1]  so.to00]nA [nA 3140 -
o 7 2 3 i 3 3 7
Time (hrs)
@ Mean (" Indvidial [ EdendRegiessiontoY =0 Display PK Plot: L Conc Flt
AUC Plot
Doublecick cello olo cromatogram s (T
Data cluded data in red font
_ V2 [ 1906w - -
Time| Mean Cond Ln|
(o p Auc: - =
| o [— TEHT | imginl
1 0.0s3] 102NA A Cmax: [ 206000 Jng/m___~!
— 2| o250 =27[nA NA CL: [0.0000E+00 | ol /iKgrh) _+. 20 b
3] 0500 22.1nA A Dose: g -
4 1000 1os[na A - w: P .
5| 2.000] 206] 206.0000) 53279) H
i =N Wi Optianel 8
o[ 4000 165] 165.0000 5.1059 P USED. ENSURE ACCURACY! H
7] 6.000] S0.4]  s0.1000) 3140 S -
e -
o
7
Time (hrs)





Figure 59
PK Calculator – PK Calculator Window
The Chromatography, Calibration, and Configuration Actions tabs are identical to that of the Generic Chromatographic Viewer. The functions of all but the PK Calculator tab are described in Sections 9 - 10.

PK data are automatically generated when data is loaded if the assay is identical to the Assay Set Name configured in Configuration Utility – PK Calculator – Default Assay Set Name. If the configured Assay Set Name is blank or if the loaded dataset sample list doesn’t have the same number of samples as the configured Assay Set Name, then the user must manually configure the PK window according to the procedures following in this section.
28.1 Description of functions

28.1.1 Species dropdown box

Users may assign Species with this box. The content of the Species dropdown box is configured in Configuration Utility – PK Calculator – Species.

28.1.2 Matrix

Users may wish to enter a matrix used in the experiment.

28.1.3 PK Actions

[image: image108.png]PK Actions:

[Assign PK Data.
Crecte Assay SetNarme.
|Apply Assay Set Name.





Figure 60
PK Actions dropdown box

28.1.3.1 Assign PK Data

If the PK Calculator tab data are blank, users must execute ‘Assign PK Data.’ See Section 28.2 for further details.

28.1.3.2 Create Assay Set Name

If a user wishes to create a new Assay Name Set based on the current PK data, then the user would execute ‘Create Assay Set Name.’ See Section 28.4.3 for further discussion. Please note that this feature can also be activated through the Assign PK Data window.
28.1.3.3 Apply Assay Set Name

If a user wishes to apply and existing Assay Set Name, then the user would execute ‘Apply Assay Set Name’. See Section 28.4.3 for further details. Please note that this feature can also be activated through the Assign PK Data window.
28.1.4 Excluding/Including concentration data points

The Conc. Data table includes concentration values used in the generation of PK parameters. 
To exclude data points from the data set, choose one or more concentration values within the ‘Conc. Data’ table and click on the Exclude (<) button. The font color of excluded data points is changed to red.

To include data points that have been excluded, choose one or more excluded data points and click the Include (>) button. The font color of included data points is changed to black.

28.1.5 Excluding/Including t ½ data points

The ‘t ½ Data’ table includes concentration values used in the generation of the slope used to determine t ½.

To exclude data points from the data set, choose one or more concentration values within the ‘t ½  Data’ table and click on the Exclude (<) button. The font color of excluded data points is changed to red.

To include data points that have been excluded, choose one or more excluded data points and click the Include (>) button. The font color of included data points is changed to black.

28.1.6 PK value units

Calculated PK values are dependent on the desired units of the underlying values. It is not uncommon that the units of an underlying variable used in the equation may be different than the units wished to be displayed for the value. For example, calibration curve units (shown in the Calibration tab) may be displayed as nMol/L, while it may be desired to display AUC as (mg*hr)/mL. GMSU/QC will automatically convert units of underlying variables to the units selected in the respective Units dropdown box.
[image: image109.png]PK Values _Units

o

* M =MoL W Oplonal
IF USED. ENSURE ACCURACY!





Figure 61
PK Value Units

28.1.7 Clearance

In order for Clearance to be calculate, Dose must be entered manually by the user. The calculation used by GMUS for Clearance is:


CL = Dose/AUC
28.2 Automatically Assign PK Data

If the Sequence Sample ID conforms to the following naming syntax, then PK information is automatically assigned to PK samples and PK plots are automatically generated.

The GMSU/QC convention is as follows:

	PK Information
	Convention

	Species
	s_[species]_s

	Animal #
	a_[animal #]_a

	Route
	r_[Route]_r

	Route Group
	g_[Group]_g

	Time Point
	h_[time point]_h

	Matrix
	m_[matrix]_m


For example, the following sample name:

s_Rat_sa_0001_ar_PO_rg_1_gh_0.083_hm_Plasma_m

would result in the following PK information:

	PK Information
	Results

	Species
	Rat

	Animal #
	0001

	Route
	PO

	Route Group
	1

	Time Point
	0.083

	Matrix
	Plasma


Notes:

· Time Point must be in hours

· Route values are restricted to PO, IV, SC, and IP

· The order in which the parameters is listed in the sample name is not important

· In order for GMSU/QC to automatically generate PK plots, the minimum parameters contained in the Sample Name are:

· Animal#

· Route

· Route Group

· Time Point

28.3 Assign PK Data
The Assign PK Data window is used to assign PK information to sample list samples. Please see Section 28.4 for a description of automated features designed to make more efficient this process.
[image: image110.png]Edit |

Ifthere i one arimalper data poit,then assume ‘Animal # as Group #.
Sample | Time Pt Route Animal = Oplonal

Name (hrs) | Route |Instance|Species | Number | Matrix Automated Functons: [ =

17|PO 0.083min

18[P0 0.25min e Species =
19| PO 05min Routelnstance: [1 |

PO
20[PO T hr sC = niml #: [0001 ~

I3
21[PO2hr i [ =]

22[PO4hr

23|PO6 hr Sample | Time Pt Route Animal
281V 0.083min Name (hrs) | Route |Instance|Species | Number | Matrix

28]V 0.25min
30[ IV 0.5min
Eil VL
32|V zhr
33|V ahr
34| Ve hr

Samples available for assignment





Figure 62
Assign PK Data – Initial View

To assign PK information to samples, the user performs the following steps:

· Click on the Edit button

· Select the appropriate Route item in the Route index list

· Make all the desired selections in the dropdown boxes (Species, Route Instance, Animal #, Matrix (optional))

· Choose the samples in the ‘Samples available for assignment’ table that this information is to be assigned (see Figure 63)

· Click the Apply (>) button (see Figure 64)

· Enter by hand the time points for the samples in the right hand table. See Section 28.4 for alternative methods for entering time points.

· Repeat bullets 2 – 6 for additional samples

· When complete, click the Done button

· If the user wishes to discard all actions, click on the Cancel button

· If the user wishes to save any of these settings as a Time Point Set or an Assay Set, see Section 28.4.

· When completely finished, click on Exit and the PK information will be applied to the data set in the PK Calculator window.

[image: image111.png]Assign PK Data

Done | Cancel |

Ifthere i one arimalper data poit,then assume ‘Animal # as Group #.
Sample | Time Pt Route Animal = Oplonal

Name Route_|Instance Automated Functons: [ =

Samples available for assignment

17[P0 0.083min
H Roue Species: [Mowe  v]
[A— oute Instance: -
L ] Reue nstnce: |1 Apply/Save Assay Set
20) SC = arimal : [0001 |
21 i i [ =] _AoelyiSave Tme ponts
Sample | Time Pt Route Animal
28[1v 0.083min Name (hrs) | Route |instance|Species | Number | Matrix
28[1v0.25min >
30[1V 0 5min =
31[ VT hr =
a2V zZhr
33[IV ahr

34| Ve hr





Figure 63
Assign PK Data - Select Samples

[image: image112.png]Samples available for assignment

Sample
Name

PO 0.083min

Route

Route
Instance

Animal

Done | Cancel |

Ifthere i one arimalper data poit,then assume ‘Animal # as Group #.

* Optonal

Automated Functions: =

Aol

PO
SC
I3

e

Species: [Mowse _~/

Route Instance: [1 -
Appiy/save Assay Set

= niml #: [0001 -

Matix [ v] _Applvisave Time Ponts

Sample

Time Pt Route

Route |Instance|Species

Animal
Number

|28V 0.083min (-
28]V 0.25min |7l
30[1v 0.5min b
31[ VT hr 1
32[Iv2hr 2
33| v ahr ]
34V G hr 2
23]





Figure 64
Assign PK Data - Apply Samples
[image: image113.png]Done | Cancel |

Samples available for assignment *Ifthere is one aninal per data poi, then assume Animl ' as Group 1.

Sample | Time Pt Route Animal *Dptional
Name Instance Automated Functons: -
17[P0 0.083min
H Roue Species: [Mowe  v]
19 Route Instance: [1 -
13 PO Apply/Save Assay Set
20) SC = arimal : [0001 |
21 i i [ =] _AoelyiSave Tme ponts
Sample | Time Pt Route Animal
28[1v 0.083min Name (hrs) | Route |instance|Species | Number | Matrix
28[1V 0.25min . [[37|Pon0gamin 0.083__PO 1 |Mouse | 0001
30[1V 0.5 —— | _18|PO025min 025 PO 1 |Mouse | o001
31V br < |[18]Po 0 5min 05 PO 1 |Mouse | o001
a2V zZhr 20[PO T hr 1 Po 1 |Mouse | o001
33[IV ahr 21[PO 2hr 2 PO 1 |Mouse | o001
34V hr 22[P0 dhr 4 PO 1 |Mouse | o001
23|POB hr ] PO 1 [Mouse 0001





Figure 65
Assign PK Data - Enter time points

28.4 Additional Features

The Assign PK Data window contains two features designed to automate the process of assigning PK data

[image: image114.png]* I thete is one animal per data point, then assume ‘Arimal # as Group .
* Optonal

Automated Functions:
Foute Fitisve Walson Tine Pairts

Apply/Save Assay Set

= niml #: [0001 <
= Matiix <] Avplv/save Tme points





Figure 66
PK Calculator – PK tab – Additional Features
28.4.1 Automated Functions

The ‘Automated Functions’ feature contains functions that will retrieve PK information from the Sample Name. 

28.4.1.1 Retrieve Watson Time Points

If the Sample Name originates from ThermoO® Watson®, then the time point may be pulled out automatically. Choosing this option will automatically populate the Time Point column of the Samples Available for Assignment table (see Figure 65). 
28.4.1.2 Retrieve GMSU/QC PK parameters

If the Sample Name conforms to the GMSU/QC convention, PK information will be retrieved from it and placed in the appropriate table column. The GMSU/QC convention is as follows:
	PK Information
	Convention

	Species
	s_[species]_s

	Animal #
	a_[animal #]_a

	Route
	r_[Route]_r

	Route Group
	g_[Group]_g

	Time Point
	h_[time point]_h

	Matrix
	m_[matrix]_m


For example, the following sample name:

s_Rat_sa_0001_ar_PO_rg_1_gh_0.083_hm_Plasma_m
would result in the following PK information:

	PK Information
	Results

	Species
	Rat

	Animal #
	0001

	Route
	PO

	Route Group
	1

	Time Point
	0.083

	Matrix
	Plasma


Notes:

· Time Points must be in hours

· Route values are restricted to PO, IV, SC, and IP

· The order in which the parameters is listed in the sample name is not important

· In order for GMSU/QC to automatically generate PK plots, the minimum parameters contained in the Sample Name are:

·  Animal#
· Route
· Route Group

· Time Point
28.4.2 Apply/Save Time Points

It is understood that entering Time Point values for each Route set is repetitive. To enhance the efficiency of the process, users may configure a new Time Point Set or apply an existing Time Point Set by clicking the Apply/Save Time Points button.

[image: image115.png]Save Time Point Sets

Time Point Set

W Peco |

Prac0?

Time Point Set
Name

Pracll

Seven_01

Pracll

Pracll

Pracll

Pracll

Pracll

Create new Tine Paint Set based on
esising dataset

Create New Time Point Set

Assign a selected Time Point Set

‘Apply a Time Pont et

Close

Pracll

Pracll





Figure 67
Apply/Save Time Points

Users may create a new time point set by clicking the ‘Create New Time Point Set’ button. Users will be prompted to enter a Time Point Set name. A new time point set will be created based on the time points in the underlying data set.

Users may apply a time point set by choosing an existing time point set and clicking the ‘Apply a Time Point Set’ button.
28.4.3 Apply/Save Assay Set

Once a PK data set has been fully assigned, users may save this configuration by clicking the ‘Apply/Save Assay Set’ button. Once saved, the assay set may be applied to future data sets that have identical sequence structures.

[image: image116.png]Dandanti

Assay Set Name

Route
Instance

Species

Canned_183811

Rat

Pracll

Canned_183811

Rat

Praciz

Canned_183811

Rat

Pracl3

Canned_183811

Rat

Canned_183811

Rat

Canned_183811

Rat

Create new Assay
Setbasedon  Assign a selected
existing dataset Assay Set

Create New Assay Set | Apply an Assay Set

Canned_183811

Rat

Canned_183811

Rat

Canned_183811

Rat

Canned_183811

Rat

Canned_183811

Rat

Close

Canned_183811

Rat

Canned_183811

Rat

ncel

Canned_183811

Rat





Figure 68
Apply/Save Assay Sets

Users may create a new assay set by clicking the ‘Create New Assay Set’ button. Users will be prompted to enter an assay set name. A new assay set will be created based on the PK information in the underlying data set.

Users may apply an assay set by choosing an existing assay set and clicking the ‘Apply an Assay Set’ button.
29 PK Calculator Reports

The functions in the PK Calculator Report window are straightforward and not all features will be described. In addition, the user is referred to Section 10 for a discussion of features conserved between all module Report windows. Figure 69 shows the Reports window. Figure 70 and Figure 71 show examples of a PK Calculator Report.

Please note that the report content itself is highly configurable. PK Calculator Reports support post-report macros in Excel. Users may create a blank Excel file that has embedded a macro named “DoGMSU”. If this Excel file is configured in Configuration Utility – PK Calculator – Excel Template File, then PK Calculator Report will use this file as to generate the report, then execute the macro upon completion. In this manner, users can do such things as modify the format and/or content of the report, or send report information to an internal LIMS system.

[image: image117.png]FA PK Calculator Reports.

Sot Diders
PK Calculator Reports 1 [anae <] 2 [ferel <] 3 [ferel
Save

dsting pata... __SSttngs = <] e <] e fase

Analyte Date Acquired | Date Last Processed Raw Data File
AP25400 | APOBADD A 5/27/2008 11:40.4T AM|__5/29/2008 3.05.28 PM| CADrugDiscovety2008\22M 08 MousePK-APZ5355\05272008_111653\01_AP:
LE MAPUIS 02273 LEBT72AUNGZ /772007 8:25:58 AM|__8/20/2007 2:25.43 PM| C:\Analyst Data\Profects\0D021\JS 1227 hDala\MAP 5 02273 LEE 172 RUN3)
Mingsidl | TemplateSequence_1_Minosidl_0 Review sl 5/2/2007 325 67 AM|__3/10/2008 235 46 PM| CoalbuQuickGusnCannedDemohPK curve data\J5012007_183520N02_Seal
Mingsic | QuickCale s 5/1/2007 6.5 38 PM| —10/6/2008 1.41:55 PM| C.\oalbu\QuickQuanCannedDemohPK ourve detahD501 201
Nefazodane.
Nefazodone | QuickCale s 5/2/2007 750,03 PM| __6/1/2008 655 08 AM| Coalbu QuickQusnCannedDemotFK curve data\05022007_181412301_Gui
Nefazodone | QuickCale s 5/16/2007 5.26.08 PHM|__8/13/2008 3 3945 PHM] C\Xcallbur\Guick QuanCannedDemoPK Mulle Palients\05152007_1 7070501
Nefazodone | QuickCale s 57172007 6.5 38 PM| _12/13/2008 327,08 AM| Coalbu QuickusnCannedDemohFK curve data\05012007_183811%01_Gui

J
Choose a Post-Report Macro: [[None]

‘Add or Remove raw data file(s)... | Choose Report Column Content = Include in Repart Report Type Sot Pint Data
= € Report Defaul Calumns Riaport Selected Coluns || 5 g pit & Excel & byAnate
& Report Calumns Saved with Recard I~ Row Colors © wod  byDataFie

Renoye Edit Columns. v Detalled Section " Word PDF " by Sample Generate
Data to print.. Report

Date Last Processed Raw Data File
QuickCale 2:10:21 PM \\gubbslap03\scaiibu Quick QuanCannedDemo'PK curve dat





Figure 69
PK Calculator Reports

29.1 Normal Report

A Normal report (see Figure 70) contains a single page containing the following fields (plus Units):

	· Route
	· Matrix
	· AUC
	· Dose

	· Species
	· t ½
	· Cmax
	· Clearance


[image: image118.png]3 Microsoft Excel - Book1
i) e Edt Vew Inet Fomst ook Dats Wndow te
NEHRS@RTEE 6
i@ o) EET=Y v
: Aol 20 B I U[EEEE w2 F F]S % o W@ % o seaity... | 2] 5 b2 | !
Al - A Gubbs Inc PK Calculator Report Summary Page
B (3 D E F G H P Q

[Gubbs Inc FK Calculator Report Summary Page
Date Report Prepared By: Larry Elvebak on June 28, 2007 09:44:35

Type a queston forhelp 5]/ = & X

Clearance
0 [Ngubbslap03ixcaliburQui

0 [Ngubbslap03ixcaliburQui

Analyte | Sample |Route Species|Matrix| t1/2 [Units| AUC | Units
[Ret

[Nefazodone |QuickCalc.sld [IV-1 [NA_ [ 6.0886hr | 100.241(mg*hry/mL
[Nefazodone [QuickCalc sld [PO-1 [Rat __[NA [ 1.9606[n__| 776.947](mg*hr)/mL

El|

Den: s [t N NCIOBI A G @E| S L A-===adl]
[





Figure 70
PK Calculator Report – Report Page

29.2 Detailed Report

A Detailed Section Report will contain the normal report page, plus two extra worksheets for each Analyte set in the print queue.

The first detailed page contains the sample list as well as the calibration curve plot (see Figure 71).

The second detailed page contains all the information used to generate PK values (see Figure 72).

29.3 Additional Features
29.3.1 Choose Report Column Content

29.3.1.1 Report Default Columns

This option will have the report sample list columns be those configured in the Default Column Set Name (see Section 10).

29.3.1.2 Report Columns Saved with Record

This option will have the report sample list columns be those configured in the Column Set Name saved with the record.

29.3.1.3 Report Selected Columns

This option will allow the user to choose a different Column Set Name with which to build the report. Users may also click on the Edit Columns button to bring up the Design Sample Table window to edit Column Name Set column content.
29.3.2 Include in Report

The following items may be selected to be included in the report

29.3.2.1 Regr Plot

If a regression plot is included in the data, then it will be included in the report. Please note that, in order for the regression plot to be included, the Column Set Name must include the following columns:

	· Standard Nominal Concentration
	· Standard Excluded?

	· Sample Concentration
	· Sample Type


In addition, the dataset must have a slope.

29.3.2.2 Row Colors

If there have been any Flags configured in the report, this selection will color the flagged rows.

29.3.2.3 Detailed Section

See Section 29.2.
29.3.3 Report Type
Reports may be generated as Excel workbook files, Word documents, or PDF

[image: image119.jpg]Analyte Nefazodone

Data File Path \\gubbslap03ixcaliburiQuickQuan CannedDemo\PK curve data\05012007_183911101_QuickCalc\QuickCale.sld
Date Report Prepared By:  Larty Evebak on June 28, 2007 09:44:35
Column Header Set Prac01
Analyte Transition +CES| 5id=10.00 SRM ms2470.010@cid34.00 [245.956-246.056, 273.973-274.073]
Int Std Transition +CES| 5id=10.00 SRM ms2329.210@cid25.00 [161978-162.078, 293.995-294.095, 311.019-311.119]
Data Initialized By: Larry Eivebak on June 26, 2007 07:50:52
Data Last Modified By: Larry Evebak on June 28, 2007 07:58:27
Sample Sample | Nom. Analyte| Analyte IS Std | Area |Dose| DF Time
Name File Name | Type |Conc.|Conc.|%Bias| RT |Peak Area|IS RT|Peak Area|Excl?| Ratio |Form|Instance| Species| Animal# | Point| HL1? | t1/2

Blank QuickCalc_01 [Blank 176 1.93| 20945318| 1.66] 315857929 006631247 0 FALSE
Blank QuickCalc 02 [Blank 20.3 1.91]_ 6419944] 1.7] 83395653 0.07698176 0 FALSE
Blank QuickCalc_03 |Blank 20.3 187 6371639 1.66] 52843803 0.07691147 0 FALSE
Blank QuickCale_04 |Blank 1.9 1.93] 3501626 1.72] 79972536 0.04378536 0 FALSE
25ng/mL___|QuickCalc 05 [StdUpdate | 25] 3| 19.8  1.92] 719451] 1.7] 79393388 0.00906185 0 FALSE
5.0ng/mL___|QuickCalc_06 |StdUpdate 5| 479] -42[ 193] 1294996 1.72| 80533121 0.01608029 0 FALSE
10.0ng/mL__|QuickCalc_07 [StdUpdate | 10| 8.76| 124 193] 2475613 1.72| 78339048 0.03160126 0 FALSE
25.0ng/ml__|QuickCalc 08 [StdUpdate | 25| 26.1] 4.3]  1.93| 7878026] 1.72] 78917873 0.09982563 0 FALSE
50.0ng/ml__|QuickCalc 09 [StdUpdate | 50| 54.7] 93]  1.93 16911164] 1.71] 79029293 0213986 0 FALSE
100 Ong/ml_|QuickCalc_10 [StdUpdate | 100|116 159  192] 35320868 1.71] 75907641 04653137 0 FALSE
250 0ng/mL_|QuickCale_11 [StdUpdate | 250] 266] 6.2]  1.92| 91892840] 1.71] 82270264 1.116963 0 FALSE
500.0ng/mL_|QuickCalc_12 [StdUpdate | 500] _486] -2.6]  1.92| 187654669] 1.71] 86308031 2174243 0 FALSE
Blank QuickCale_13 [Blank 26.5 1,92 3913101 1.71] 38549340 01015089 0 FALSE
Blank QuickCalc_14 |Blank 157 189 2269147| 1.68] 38634296 0.05873401 0 FALSE
Blank QuickCale_15 Blank 139 1,88 2081086 1.67] 40149375 005183358 0 FALSE
Blank QuickCalc_16 |Blank 135 1.93] 2037515 1.72] 40598237 0.05018728 0 FALSE
PO 0.083min |QuickCalc_17 [Unknown 1.02 1.89] 108913 1.69] 80208934 0.00135787| PO 1 |Rat 1| 0.083[FALSE| 1960§)
PO 0.25min_|QuickCalc_18 [Unknown 327 1.92] 1011737 1.72] 99993835 001011799 PO 1 |Rat 1 0.25] FALSE| 1.9606
PO 0 5min__|QuickCalc_19 [Unknown 22.1 191 6889352 1.7] 82005714 008401063 PO 1 |Rat 1 0.5[ FALSE | 1.9606]
PO 1 hr QuickCale_20 [Unknown 105 1.88| 35112363 1.67] 83745545 04192744] PO 1 |Rat 1 1[FALSE] 1.9606
PO 2 hr QuickCale_21 [Unknown 206 1.91| 82741417 1.7] 97262414 0:8507029] PO 1 |Rat 1 2[ TRUE | 1.9606)
PO 4 hr QuickCale_22 [Unknown 165 1.9 74321161 1.7] 110139805 0.6747893] PO 1 |Rat 1 4] TRUE | 1.9606)
PO 6 hr QuickCale_23 [Unknown 50.1 1.92| 16299835 1.72] 83272671 0.1957405] PO 1 |Rat 1 6 TRUE | 1.9606)
Blank QuickCale_24 |Blank 187 1,93 3244339 1.72] 45930513 0.07063581 0 FALSE
Blank QuickCale_25 [Blank 14 1,92 2448003 1.71] 46994886 0.05209084 0 FALSE
Blank QuickCalc_26 |Blank 132 1.92] 2300332 1.71] 46752217 0.04920263 0 FALSE
Blank QuickCale_27 |Blank 119 1.9] 2106326] 1.69] 48052539 004383381 0 FALSE
[V 0.083min_|QuickCalc_28 [Unknown 170 1.93| 76694949 1.72] 110714108 06927297] IV 1 |Rat 2 | 0.083[FALSE| 6.0886
[V 0.25min__|QuickCalc_29 [Unknown 436 1.91| 23542067 1.7] 138725698 0.1697023] IV 1 |Rat 2 0.25] FALSE| 6.0836
IV0.5min__|QuickCalc_30 [Unknown 36.4 1,91 15121084 1.7] 107272398 0.1409595] IV 1 |Rat 2 0.5[ FALSE | 6.0886)
IV 1 hr QuickCale_31 [Unknown 20.5 193] 7448954 1.72] 95571865 0.07794087|_IV 1 |Rat 2 1| FALSE| 6.0836
IV 2 hr QuickCalc_32 [Unknown 8.64 1.92] 2603544 1.71] 83637935 003112875 IV 1 |Rat 2 2[ TRUE | 6.0886)
1V 4 hr QuickCale_33 [Unknown 7.69 1.91|_2748910[ 1.7/ 100219492 0.0274289] IV 1 |Rat 2 4| TRUE | 6.0886)
V6 hr QuickCale_34 [Unknown 548 1,88 2086510 1.67] 111156231 0.01877097| 1V 1 |Rat 2 6| TRUE | 6.0886)
Blank QuickCalc_35 [Blank 12.1 1.93] 2296952 1.72] 51431115 0.04466075 0 FALSE
Blank QuickCale_36 |Blank 117 1.93] 2198717 1.72] 51190231 0.04295189 0 FALSE
Blank QuickCale_37 |Blank 115 1912110414 1.7] 49798071 0.04237943 0 FALSE
Blank QuickCalc_38 |Blank 113 1,87 2123564] 1.66] 50917016 0.04170637 0 FALSE
25ng/mL___|QuickCalc_39 [StdUpdate | 25| 242] 3.3  1.91]  580048| 1.71] 85262266 0.0068031 0 FALSE
5.0ng/mL___|QuickCalc_40 |StdUpdate 5| 421 158 193] 1164765] 1.72| 84349481 0.0138088 0 FALSE
10.0ng/mL__|QuickCalc 41 [StdUpdate | 10| 8.17| -18.3]  1.89] 2537070] 1.69| 86633767 0029285 0 FALSE
25.0ng/ml__|QuickCalc_42 [StdUpdate | 25| 24.1] 3.5  1.87| 7898317] 1.67| 85723701 009213691 0 FALSE
50.0ng/ml__|QuickCalc_43 [StdUpdate | 50| 50| 0.1 1.9] 16918591] 1.7 86598771 01953676 0 FALSE
100 0ng/mL_|QuickCalc_44 [StdUpdate | 100] 106 6.1]  191] 35064795] 1.7 82642301 042429 0 FALSE
250.0ng/mL_|QuickCalc_45 [StdUpdate | 250] 257 3] 1.86] 96939076| 1.65 89738829 1.080236 0 FALSE
500.0ng/mL_|QuickCalc_46 [StdUpdate | 500] _475] -5.1] _ 1.87] 196164175 1.66] 92635747 2117586 0 FALSE
Regression: Guadatc 2017585302 + 0B ) + (0002 —
Weighting: 1562
RA2 0.99435 58
a 1.2017E-06
b 00038969
c -0.0026217

2

&

3

<

05
0 100 200 300 400 500 600
Concentration (mg/mL)

CAGUbbsIncApps\Book Page 1 0of 1




Figure 71
PK Calculator Report – Detailed Section – Calibration Page
[image: image120.jpg]Analyte

Data File Path

Date Report Prepared By
Analyte Transition

It Std Transition:

Data Inttialized By

Data Last Modified By

Nefazodone

gubbslap03ixcalibunQuickQuanCannedDemotPK curve data\05012007_183911\01_QuickCalc\QuickCalc sid

Larry Elvebak on June 28, 2007 09:44:35
+cESlsid=10.00 SRM ms2 470 010@cid34.00 [245 956-246 056, 273 973-274 073]

+cESl sid=10.00 SRM ms2 329.210@xid25.00 [161.978-162.078, 293 995-294 095, 311.019-311.119]

Larry Elvebak on June 26, 2007 07:50:52
Larry Elvebak on June 28, 2007 07:58:27

PO-1: Conc. Data - Excluded data in red font PK Plot
Wean Log10 1172 Y = (035348 + (6.1965) Nefazodone
Time Conc Mean 7
# (hrs) 0001 (mg/mL)  S.D %CV  Conc ]
1 0083 1.02 1.02 NA 0 00198 Ss
2 025 3.27 3.27 NA 0 11848 R
3 05 221 22.1 NA 0 30056 g2
4 1 105 105 NA 0 4654 =4
5 2 206 206 NA 0 53279 -
6 4 165 165 NA 0 51059 o]
7 6 501 50.1 NA 0 3914
PO-1: Half Life Data - Excluded data in red font AUC Plot
Mean  Log10
Time Conc Mean — Mefazddong
# (hrs) 0001 (mg/mL) Conc | PKParam| Value units| oo i
1 0083 1.02 0NA Species: Raf] (72 - e
2 025 3.27 0NA Matrix: A [ [ e
3 05 221 0NA €172:] 10606 i
4 1 105 0 NA AUC:| 776.947 (mg*hrymL] & =
5 2 206 206 53279 Cmax| 208  mgim(] 0
6 4 165 165 51059 cL: 0] mLiKgr]  fndTiourt
7 6 501 501 3.914 Dose: 0 mokg
MW:| 460,01 ]
TV-1: Conc. Data - Excluded data in red font PK Plot
Mean Log10 1172: Y = (011383 + @4211) Nefazodone
Time Cone Mean 6
# (hrs) 0002 (mg/mL)  S.D %CY  Conc g5
1 0083 170 170 NA 0 51358 Sy
2 025 436 436 NA 0 37751 e
3 05 364 364 NA 0 3506 g2
4 1 205 205 NA 0 3.0204 B
5 2 8.64 8.64 NA 0 21564 -
6 4 7.69 7.69 NA 0 20399 o 1 2 . 4 5 8
7 5 548 548 NA 0 17011 Time fours)
IV-1: Half Life Data -Excluded data in red font AUC Plot
Mean  Logl0
Time Conc Mean 2m Nefemdcie
# (hrs) 0002 (mg/mL) Conc | PKParam| Value units| @
1 0083 170 0NA Species: Rat] I
2 025 436 0NA Matrix: A DA I
3 05 364 0NA t12:] 60886 i I T I
4 1 205 0NA AUC:| 10024 1] (g
5 2 8.64 864  21564]  Cmax: T70]  maml] 0
6 4 7.69 769 2.0399) CL: o] mUiKg*hr ) § 5
7 6 548 548 17011 Dose: 0 mokg
MW:| 460.01 NA|

CAGUbbsIncApps\Book1

Page 1of 1




Figure 72
PK Calculator Report – Detailed Section – PK Page
30 References

1 R. O. Cole.  Quantitation of Biofluids with High Speed HPLC/MS/MS:  Early Discovery Applications.  Invited Presentation, at “Early ADME and Toxicology in Drug Discovery: Techniques for accelerating and Optimizing Drug Candidate Selection”, Berkley, CA, October 1998.

2 Adam H. Brockman, Donna L. Hiller, and Roderic O. Cole. High Speed HPLC/MS/MS Analysis of Biological Fluids in Support of ADME Screens: A Practical Review. Current Opinion in Drug Discovery, 4(3), (2000), 432.

3 Janiszewski JS, Rogers KJ, Whalen KM, Cole MJ, Liston TE, Duchoslav E, et al: A high capacity LC/MS system for the bioanalysis of samples generated from plate-based metabolic screening. Anal Chem 2001; 73:1495-1501.

4 Z. Yan, J. Wu, L.E. Elvebak, A. Brockman: Validation of a Totally Commercially Available High Throughput -ADME System and Results for 60 Literature Compounds. Rapid Communications in Mass Spectrometry, Rapid Commun. Mass Spectrom. 2005; 19: 1191–1199.
� EMBED Equation.3  ���





� EMBED Equation.3  ���








Version 13.1 (September 18, 2009)
C:\GubbsIncApps\GMSU\Administration\Manuals\User\GMSU_UserManual_12.doc

[image: image123.wmf]nMole

Amt

pMole

nMole

pMole

AveAmt

nMole

Amt

0

*

1000

*

60

÷

÷

ø

ö

ç

ç

è

æ

÷

÷

ø

ö

ç

ç

è

æ

+

[image: image124.wmf]mL

L

mL

g

ApicalDo

actor

DonorConcF

L

nMole

Conc

mt

CorrectedA

1000

*

sin

*

*

0

=

[image: image125.wmf]nMole

Amt

pMole

nMole

pMole

AveAmt

nMole

Amt

0

*

1000

*

60

÷

÷

ø

ö

ç

ç

è

æ

÷

÷

ø

ö

ç

ç

è

æ

+

_1244281200

_1244459987

_1292123386.unknown

_1292123497.unknown

_1244460049

_1244459679

_1244270994

_1244281173

_1244270945

