[image: image24.jpg]


®

Gubbs Mass Spec Metrics 1.x.x Admin/User Manual
Page 1 of 28

	Gubbs Mass Spec Metrics

(MSM)

MSM Polling Application 1.x and earlier

MSM Viewer 1.x and earlier

	Supported Platforms


Sciex® Analyst™ 1.3.1 - 1.5.x


	Administration and User Manual

	Gubbs, Inc.

265 Blue Spruce Circle

Alpharetta, GA 30005

P: 770-573-0169

F: 508-453-1338



	gubbs@gubbsinc.com
www.gubbsinc.com



	Table of Contents

Section
Page Number


	41
Overview


52
MSM Usage Notes


52.1
Edit/Save Modes


52.2
AB Analyst Data


92.3
Thermo Data


92.4
Waters Data


103
MSM Procedure


103.1
Configure Polling Locations


103.2
Begin Polling


123.3
Configure Configuration – Location Labels


123.4
Configure Locations


123.5
Assign Locations to newly-recorded mass spec instruments


134
MSM Service


145
MSM Features – Configuration


145.1
Configuration – Global


165.2
Configuration – Location Labels


175.3
Configuration – Polling Locations


186
Configuration – Location


196.1
Add Location


196.2
Delete Location


196.3
Configure the location


207
Mass Spec Instruments


207.1
Editable columns


207.2
Instrument Activation/Deactivation


217.3
Assigning Locations to Mass Spec instruments


228
Data Files


228.1
Filter for MS


249
Mass Spec Entries


2510
View Logs


2611
Requirements


2712
Monitor Polling Status


2712.1
Check Status


2812.2
Kill MSM Polling


2812.3
Kill AnalystService


2813
MSM Viewer






	Table of Figures
Figure
Page Number
6Figure 1
Example of raw file data retrieval error message box


10Figure 2
Polling Choice window


11Figure 3
Polling has not finished


11Figure 4
Polling has finished


12Figure 5
Quit Polling button


13Figure 6
MSM Minimize to System Tray menu item


13Figure 7
MSM minimized to system tray


14Figure 8
Configuration Window – Global Window


15Figure 9
Polling Choice window


16Figure 10
Configuration Window – Location Labels


17Figure 11
Polling Location – Add Row – Browse for Folder dialog box


18Figure 12
Configuration – Location Window


19Figure 13
Add Location dialog box


19Figure 14
Configuration of a location


20Figure 15
Mass Spec Instruments Window


21Figure 16
Apply Location


22Figure 17
Data Files Window


23Figure 18
MS # 999999


24Figure 19
Mass Spec Entries Window


25Figure 20
View Logs Window


26Figure 21
Requirements Window


27Figure 22
Monitor Polling Status Window






1 Overview
MSM uses the native data acquisition software .dll’s supplied by the vendor (e.g. AB, Thermo, Waters) whose use is defined the respective vendor software development kit (SDK) documentation. At this moment, AB is the only vendor supported.

Data is stored in a database. The currently supported databases are Microsoft® (MS) Access, MS SQL Server, and Oracle®. Data retrieved and stored by MSM is then viewed using a separate application from Gubbs Inc called MSM Viewer. MSM Viewer is a MS Visual Studio Tools for Office (VSTO) Excel application.
MSM uses the .dll’s to open raw data files and extract, at a minimum:
· Acquisition date

· Mass spec instrument serial number

The intent of the MSM/MSM Viewer suite is to allow managers to plot actual mass spec usage in order to make such decisions as instrument usage, instrument allocation, instrument decommissioning, and new instrument purchase.

Additional acquisition event-specific and sample-specific information may be extracted from the raw data and is somewhat vendor specific. The additional data is stored as a large string within the database. For example, the following is an example of additional acquisition event-specific information retrieved from AB data:
	Pump:Agilent 1100 G1312A:0:binary pump;Firmware Version:A.04.11;Serial Number:DE23912037 ;Mass Spectrometer:QTrap:0:Qtrap; Config Table Ver: 03; Firmware Ver: M401400 B4T0301 M3L1408 B3T0300; Component Name: QTrap Linear Ion Trap LC/MS/MS Mass Spectrometer; Component ID: QTrap; Manufacturer: AB Sciex Instruments; Model: 027170 - A; S/N: M0630208 

	Valve:Valco 2-Position:0:; ver ; S/N I-PD-APX88RD. ;Integrated System: Shimadzu Controller: CBM20A; Serial#: L20234350424; ROM Version: 1.06; Pressure Units: psi;Pump: Shimadzu LC20AD; Serial#: L20104450801; ROM Version: 1.07;Pump: Shimadzu LC20AD; Serial#: L20104450798; ROM Version: 1.07;AutoSampler: Shimadzu SIL20AC; Serial#: L20174450168; ROM Version: 1.04;Column Oven: Shimadzu CTO20A; Serial#: L20204450179; ROM Version: 1.06; ;Injection Volume used: 10.00 µl;Mass Spectrometer:API 3000:0:;Config Table Version: 00; Firmware Version: M401402 B4T0301 M3L1415 B3T0300;Component Name: Triple Quadrupole LC/MS/MS Mass Spectrometer;Component ID: API 3000;Manufacturer: AB Sciex Instruments;Model: 1009665A; Serial Number: D12650311 


The following is an example of additional sample-specific information retrieved from AB data:

	Start Sample;Start Periods,NumberofPeriods: 1;Start Period 1;Start Experiments,NumberofExperiments: 1;Start Experiment 1;Scan Type:4:MRM;Polarity:0:Positive;Scan Mode:-1:Zero Width Scan;Resolution Q1:1:Unit;Resolution Q3:0:Low;MCA:0:No;Step Size:0:0.0000 amu;End Experiment 1;End Period 1;End Sample

	Start Sample;Start Periods,NumberofPeriods: 1;Start Period 1;Start Experiments,NumberofExperiments: 1;Start Experiment 1;Scan Type:4:MRM;Polarity:0:Positive;Scan Mode:-1:Zero Width Scan;Resolution Q1:1:Unit;Resolution Q3:0:Low;MCA:0:No;Step Size:0:0.0000 amu;End Experiment 1;End Period 1;End Sample


The MSM Viewer as published by Gubbs displays only mass spec instrument usage. Customers may contract with Gubbs Inc to write custom applications to mine the additional information retrieved and stored by MSM.
2 MSM Usage Notes
2.1 Edit/Save Modes

If users wish to make any changes to parameters within MSM, he/she must first place MSM in Edit mode by clicking the Edit button. If the user wishes to cancel all changes made during an edit action, then he/she may click the Cancel button. Once all editing actions are complete, the changes must be saved by clicking the Save button. 

2.2 AB Analyst Data

The MSM polling event is limited to 100 total non-polled raw data files (see discussion below). The very first time MSM is run on a system, it is highly probable that the total number of non-polled files could reach into the thousands. Therefore it is recommended that the procedure defined in Section 3.2.1.1 be followed for the initial polling event of data.

MSM relies on the robustness of the AB Analyst .dll’s in order to reliably retrieve the needed information for database storage. The act of opening the raw data file, retrieving information, then closing the raw data file is defined by MSM as “polling”. The polling even involves rapid open and closing of raw data files. It seems some of the objects within the AB Analyst .dll’s are not designed to work reliably with such rapid opening/closing events, resulting in occasional non-trappable errors (most commonly buffer overrun errors) that interrupt the polling event.

The following are notes about MSM features in place to resolve the robustness issues of the AB Analyst.dll’s:
· It has been found that the probability of error increases when the number of raw data files polled in a single polling event is greater than 100. Therefore, polling events are limited to 100 raw data files.

· Errors can occur during raw file data retrieval, resulting in the interruption of the polling event and a message box displayed to the user (see Figure 1). Users have two options to proceed:
· The user may click the OK button on the message box which will kill the interrupted session. The user then can re-start the polling event by clicking the Begin Polling button.

· If the polling event is part of a Scheduled Event, then the user may wait until the next scheduled polling event starts, at which time MSM will automatically kill the interrupted session to start the new scheduled polling event.

[image: image1.png]b
Tur

&3Gubbs Mass S

Meru

2 MSM Polling Event Status...

NOTE: Each polling eventis limited to 100 non-polled files
Inventorying 1 of 1 configured polling directories
ZAMSMTesting

Gubbs® Mas: Finding MS Serial Numbers for 8 of 98

ZAMSMTestinglFolder08iProjectsiTestDatal644003 wif
SN: D12650311

Configuration
Configuration - Location
Mass Spec Instruments
Data Files

Mass Spec Entries
ViewLogs
Requirernents

Ift appears that MSM Polling is not responding, check its Status by
clicking the 'Check Status' button

If ‘Check Status' respands with 'Not Responding, then click the 'Kil
Analyst Service' button

MSM Polling should begin responding in & few morments

IfMSM Polling still does not begin responding, then click 'ill MSM
Polling.."to end MSM Poling

Microsoft Visual C++ Runtime Library.
Check Status
° Buffer avernun detected!
Last Status Check:

MSM Palling Status|

Program: Ci\Pragram Flles|Gubbs InclGubbs MSMIHSH_Do.exe

A buffer averrun has been detected which has corrupted the pragrams

- kel e, Th rogram et sfely e exenand s [y
(et o be termineted, )

R 1
Kill AnalystServicd

T
24265
20537
24755
20522
20522
20522





Figure 1
Example of raw file data retrieval error message box

2.2.1 AB Data Retrieval Process

The following is a description of the process of retrieving information from AB raw data files:

2.2.1.1 FindFile Process

MSM sets up a For-Next loop to evaluate the directories defined in the Polling Location section of the Configuration window. This process is called the FindFile process. The information determined in the FindFile process is placed in memory to be written to the database at the end of the Polling Event.
Looping one directory at a time, MSM generates an array of files consisting of all electronic files containing the file extension ‘.wiff’ located in the polling location (Note: Because of reliability issues with the AB .dll’s, the number of files that can be inventoried at once is limited to 100.)

MSM sets up a For-Next loop to evaluate each file in the array of files:
· The file is inventoried if it meets the following criteria:

· The file has not been inventoried previously (MSM checks for the file and path information recorded in the database table TBLDATAFILE).

· The file creation date is greater than the date defined in the Cut-Off Date parameter of the Configuration window.

· The following file-specific information is gathered, generated, and recorded in TBLDATAFILE:

· The size of the file in Mb

· The creation date of the file

· The date on which this database record was created

· The sample number from which file creation date was retrieved

· The number of samples contained in the .wiff file

· File-specific Additional Information described in Section 1.

Mass spec instrument serial numbers are then retrieved from the raw data files. Because of reliability issues of the AB .dll’s, MSM retrieves and stores the mass spec instrument serial number from the raw data files in a separate For-Next loop.

2.2.1.2 RetrieveData Process
After the FindFile process is complete, MSM continues to the RetrieveData process in which the newly-polled raw files are inventoried for the following information:
· The acquisition date of each sample in the .wiff file

· The sample index of the sample within the sequence

· The path of the raw data file

· The filename of the raw data file

· Actual duration time of the sample

· Sample-specific Additional Information as described in Section 1.

Actual duration time is determined in such a way that autosampler preparation times between sample injections are accounted for so that total mass spec instrument time is recorded. The logic for determining actual duration is dependent on the Configuration Global parameter ‘Use logic that allows for ‘one injection/.wiff’ acquisition’ (herein referred to as Parameter A). The default setting for this parameter is ‘No’. The following is a description of how the logic is defined for this parameter:
2.2.1.2.1 Parameter A = No

In this logic, each .wiff file is considered a separate sequence that can include one or more injections (samples). 

intR = number of samples in sequence

cAD = acquisition date/time of current sample

AD(1) = acquisition date/time

AD(2) = acquisition date/time

nDur = duration of current sample as defined in data acquisition method (.DAM) file in minutes
nADur = duration of current sample as defined by AD – pAD in minutes
AInfo = Sample-specific additional information

For Count1 = 1 to intR


If Count1 = 1 then



AD(1) = nDur

Else



AD(2) = cAD


Endif


If Count1 = 1 then



nADur = nDur

Else



nADur = AD(2) – AD(1)


AD(1) = AD(2)


Endif


AInfo = GetAdditionalInfo function


Save data to memory

Next

2.2.1.2.2 Parameter A = Yes

In this logic, the .wiff file is evaluated to determine the number of samples in the .wiff file. If the number of samples is equal to 1, it is assumed that it is a single injection and that all the .wiff files within a single directory are from the same sequence.
intR = number of .wiff files in a directory
cAD = acquisition date/time of the one sample within the .wiff file
AD(1) = acquisition date/time

AD(2) = acquisition date/time

nDur = duration of current sample as defined in data acquisition method (.DAM) file in minutes
nADur = duration of current sample as defined by AD – pAD in minutes
AInfo = Sample-specific additional information

For Count1 = 1 to intR


If Count1 = 1 then



AD(1) = cAD


Else



AD(2) = cAD


Endif


If Count1 = 1 then



nADur = nDur


Else



nADur = AD(2) – AD(1)



AD(1) = AD(2)


Endif


AInfo = GetAdditionalInfo function


Save data to memory

Next

2.2.1.3 Database Writing Process
After the Retrieve Data Process has been completed, then all information stored in memory is written to the database. If a new mass spec instrument serial number is detected, a new database table is created for it.
2.3 Thermo Data
Not yet available

2.4 Waters Data

Not yet available

3 MSM Procedure

The following is general outline of events for executing MSM, though the user is not restricted to this order of events.

3.1 Configure Polling Locations

The user must configure at least one polling location (see Section 5.3).

3.2 Begin Polling

A polling event is executed by clicking the Begin Polling button. The user will be prompted to choose a polling event type:
[image: image2.png]FRPolling choice...

Do you wish to perform a one-ime polling event

acivate a polling schedule that polls at a frequency defined in
the Configuration window?

Please note that all Edit and Exit funcions will be disabled
while the schedule is acfive.
To enable Editand Exitfunchians, simply Quitthe polling
action

Select a choice
& Oneine event

 Sohedued event





Figure 2
Polling Choice window

3.2.1 First-time polling

3.2.1.1 AB data

The MSM polling event is limited to 100 total non-polled raw data files. The very first time MSM is run on a system, it is highly probable that the total number of non-polled files could reach into the thousands. Therefore it is recommended that the following procedure be used when performing the initial polling event on AB data:

· Configure the ‘Automated Polling Frequency (hours)’ (see Section 5.1.2) parameter to 0.5

· Click Begin Polling

· Choose ‘Scheduled event’ when prompted

· Allow MSM to proceed

· Check the status of polling completion by inspecting the logs (see Section 10)

· If the 6th item reads, “Polling limit of 100 files…”, then the Polling Location has not been completely polled.

[image: image3.png]Gonfiguration ViewLogs

Confguraton-Locaton | Copyto Include logs after: [ Saudy . Mach 132010 =
fass Specinstruments Clipboard SelectLog: (yyyymmdd hhmmss)
Msss Spec Enties Poling event began 3/23/2010 556,46 AM ‘A [Paling 20100323, 100228 000001
Paling ever ended 3/23/2010 £:12:18 AM Poling 20100323 100825000001
o Number of new data fes nvetared scolldownto Inventoed Dala Fies secto: 100 Poling 20100323 10033300001
edquirements Number of new mass spec instments foud scolldownta New Mass Spec Insiuments secin) 4 Poling 20100323 100330000001
Monitor Polling Status | |numbe of problems evperienced 13 1 5,130 data etaction everts Poling 20100323 061440000001
Poling i 100 s was cached. Poing s mst b epeate o o vt o lesinhe - €——Bslng 20101523 081 z¢ 000001

poling diectory.




Figure 3
Polling has not finished

· If the 6th item reads, “Polling action completely inventoried…”, then the Polling Location has been completely polled and the Scheduled Polling Event may be canceled by clicking the ‘Quit Polling’ button.

[image: image4.png]Configuration View Lags

Configuration-Locaton o Include logs after [ Sauday . March 132010 <
»DA;sts“Z? Instruments Clipboard Select Log: (yyyymmdd hhmmss)
Mace Spec Entriss Paling event began 3/23/2010 10.06.28 &M 0 01
Paling vt ended 3/23/2010 100623 &M Paling_20100323_100825 000001
o Number of new data fes nvertred scolldown to Inventoed Dala Fies secto Paling 2010323100323 000001
equirements Number of new mass spec instruments found: 0 Poling_20100323_100330_000001
Monitor Polling Status Number of prablems experienced: 0in 0 data extiaction events Poling_20100323_061440_000001
FPoligccion compicy mriored leled fes e pligdiecto. e Paling 20100323 081436000001
Paling 20100323 055646 000001

PROBLEM SECTION - problems cbserved (0 in tis poling even: Foling_20100323_055642_000001




Figure 4
Polling has finished

3.2.2 One-time event

After a One-time polling event is finished, MSM stops and waits for further user input.

3.2.3 Scheduled event

If the user chooses this option, MSM will repeat the polling process at a frequency described by ‘Automated Polling Frequency’ Configuration parameter (see Section 5.1.2).

When the polling event is active, the ‘Begin Polling’ button changes to a ‘Quit Polling’ button.

[image: image5.png]Edit

Save | gance||

Exit

Quit
Polling

About.





Figure 5
Quit Polling button

Clicking this button will cancel the scheduling process and will also kill any active polling event.
Once a polling event has finished, continue with Polling Location configuration
3.3 Configure Configuration – Location Labels
Configure the basic tree structure of the Location labels (see Section 5.2).

3.4 Configure Locations

Configure the different locations of the mass spec instruments (see Section 6).

3.5 Assign Locations to newly-recorded mass spec instruments

After the polling event, unique mass spec instruments are shown in the Mass Spec Entries window. Assign locations to these mass spec instruments

The data is now ready to be viewed by the MSM Viewer.

4 MSM Service

MSM may be run as a service in which MSM is minimized to an icon in the system tray by choosing from the menu Menu – Minimize to System Tray.

[image: image6.png]3 Gubbs Mass Spec Metrics (MSM) - Polling Application v1.0.9.0

Meru

(e} poting pptcaton




Figure 6
MSM Minimize to System Tray menu item

[image: image7.png]529 M
Tuesday

[ apseo




Figure 7
MSM minimized to system tray

5 MSM Features – Configuration
5.1 Configuration – Global

The Global Configuration window is used to configure the following parameters:

[image: image8.png]B Gubbs Mass Spec Metrics (MSM) - Polling Application v1.0.9.0

Meru

Gubbs® Mass Spec Metrics - Polling Application Edit | save | cancel |

Begin
Polling

Confiquration
Configuration - Location | Configuation Type * [Global =~

Mass Spec Instruments Parameter Setting
Data Files

Mass Spec Entries Cutolf Date 17172000

Reauirerents . .
ot beling Status Use logi that alows for‘one injectond.wi'scaisiion

Polling Locations AddRow | DeleteRow | Browse

LastPolling Date:
NextPolling Date:

I~ Allow marua path erlry

Label Directory.

Bz v





Figure 8
Configuration Window – Global Window
5.1.1 Cut-off Date

MSM will ignore and not record any file that is older than the Cut-off Date
5.1.2 Automated Polling Frequency (hours)

When the Begin Polling button is clicked, the user has a choice to perform a One-time event or a Scheduled event. If a Schedule event is performed, a Polling Event will be performed at the frequency defined in the Automated Polling Frequency parameter.
[image: image9.png]FRPolling choice...

Do you wish to perform a one-ime polling event

acivate a polling schedule that polls at a frequency defined in
the Configuration window?

Please note that all Edit and Exit funcions will be disabled
while the schedule is acfive.
To enable Editand Exitfunchians, simply Quitthe polling
action

Select a choice
& Oneine event

 Sohedued event





Figure 9
Polling Choice window

5.1.3 Use logic that allows for ‘one injection/.wiff’ acquisition

For AB data only. AB Analyst allows users to acquire data in two different manners:

· Acquire data from all injections defined in a sequence into a single .wiff file

· Acquire data from each injection defined in a sequence into individual .wiff files

See Sections 2.2.1.2.1 and 2.2.1.2.2 for a description of the effect of this parameter.

5.2 Configuration – Location Labels
[image: image10.png]B Gubbs Mass Spec Metrics (MSM) - Polling Application v1.0.9.0

Meru

Gubbs® Mass Spec Metrics - Polling Application Edit

Begin
Polling

Confiquration
Configuration - Location Configuration Type *: |Location Labels v | * Changes to Location Labels requires application restart to take effect

Parameter Setting

Define Lacation 3 Buiding
Define Lacation 4 Laboratory
Define Lacation§ Berch

Define Lacation &

Polling Locations AddRow | DeleteRow | Browse.

LastPolling Date: [March 21, 2010 07:27:07 AM (Log hem: Folling_20100321_072707_000001)
NextPolling Date:

I~ Allow marwal path enlry

Label Directory.
ZAMSMTesting\Folder01

Gubbs DMPK | ZAMSMTesting\Folderl2





Figure 10
Configuration Window – Location Labels
Users are allowed to assign locations to the individual instruments that are inventoried. The definitions for these locations are configured in this window.

Labels are defined in a hierarchical tree fashion (see Figure 10 for an example). The user must give some thought to how this hierarchical tree should be defined.
See Section 6 for assigning locations to mass spec instruments.
5.3 Configuration – Polling Locations

The directory or directories defining the location of the raw data files to be polled are configured here. Users add polling locations by clicking the Add Row button. A dialog box is displayed that allows the user to browse to a local, mapped, or network directory:
[image: image11.png]Browse For Folder

Select the directory in which you want search and drl for
raw data s,

Dostton
(£ my Documents
2 3 by Computer
e Local Disk (C:)
“ Data (D:)

@ Audo D )
2 Gubbs08_Data on ‘Gubbs08 (2:)
T Contrclpanel
B 25 e Evplrer

€2 1y Network Places

2 Recycle Bin
(22 Adobe Reader 9 Installer





Figure 11
Polling Location – Add Row – Browse for Folder dialog box

To modify an existing Polling Location, select the row and click the Browse button.

The Directory column in the Polling Location table by default is read-only. If the user wishes to manually modify or enter the contents of Directory column, the user may check the ‘Allow manual path entry’ checkbox; however, this is not recommended as the probability of manual path entry can be hig.

Users may define a label in the Label Column for each polling location.

6 Configuration – Location

[image: image12.png]B Gubbs Mass Spec Metrics (MSM) - Polling Application v1.0.9.0

Meru

Gubbs® Mass Spec Metrics - Polling Application

Edit

Save | gance||

Exit

Begin

Polling

About.

rfiquration - Locafion
Mass Spec Instruments
Data Files

Mass Spec Entries
ViewLogs
Reauirerents

Monitar Polling Status

Location Configuration

Add Location

Delete Location

Location

Ttem
County
ste
Buidng
Laboralory
Bench

Label
usA
Alpharetta
1

1





Figure 12
Configuration – Location Window
Users are allowed to assign locations to the individual instruments that are inventoried. The definitions of the locations are configured in this window (the contents of Item Column are configured in the Configuration – Location Labels window – see Section 5.2).
6.1 Add Location
Users may add a Location by clicking the Add Location button, entering a Location Name, then clicking the OK button.
[image: image13.png]New Location Name..

Eter anew Location Set Name:

Gubbs Germary





Figure 13
Add Location dialog box

6.2 Delete Location

Users may delete a location by selecting the row in the Location table and clicking the Delete button.

6.3 Configure the location

Once a location has been added, the user must configure the 

[image: image14.png]Location Configuration

T -





Figure 14
Configuration of a location

Note: The configuration of a location may be edited at any time.

7 Mass Spec Instruments

[image: image15.png]B Gubbs Mass Spec Metrics (MSM) - Polling Application v1.0.9.0

Meru

Gubbs® Mass Spec Metrics - Polling Application

Edit

Begin
Polling

Configuration
Configuration - Location

Data Files
Mass Spec Entries
ViewLogs
Reauirerents
Monitar Polling Status

MS Instruments

Number of Instruments:

Show: [P

Deactivate

Activate

MS Locations
MS Location

Apply Location

Sl

MS Ser
Msit Num.

Description

Status

Vendor

D12650311
MDG20208
B 4160103
Viaaa04

2043303

MOOBOI07PT
uDia7040s
D405
Ja0e0204
angeiz
AG20700706
ute2s0703
BB10110811
V21340711
Vog160508
uD16E70808
200110
621630801
AGOT1EE0512
AG12530608

MS00002
Ms00003
Ms00004
MS00005
MS00006
Ms00007
Ms00008
Ms00009
M00010
Ms00011
Ms0012
Ms00013
Ms00014
M00015
MS00016
Ms00017
Ms00018
Ms00019
MS00020
M00021
Ms00022

T

261
261
261
261
261
261
261
261
261
261
261
261
261
261
261
261
261
261
261
261

Ste
Buidng
Laboralory
Bench

Label





Figure 15
Mass Spec Instruments Window

The different mass spec instruments retrieved from the polled raw data files are recorded in a database table called TBLSN. In the MSM Viewer application, users are able to filter data by mass spec instrument and mass spec instrument location. This window allows the user to assign locations to mass spec instruments.
7.1 Editable columns

The contents of the following columns may be edited by the user:
· MS Name (default is MS#####)

· Description

· Status (e.g. Archived, Not In Use, Decommissioned, etc.)

7.2 Instrument Activation/Deactivation

The information retrieved by MSM is viewed by MSM Viewer. In MSM Viewer, users have the choice of viewing data All, Active, or Deactivated mass spec instruments. The state of the instrument is defined by clicking either the Activate or Deactivate buttons. For example, if mass spec instrument MS00001 is to be deactivated, the user would select the row and click the Deactivate button.

The user may filter the mass spec instruments for All, Activated or Deactivated mass spec instruments by choosing the appropriate entry in the Show dropdown box

7.3 Assigning Locations to Mass Spec instruments

Users may assign a location to a mass spec instrument in two ways:

7.3.1 Apply a defined location

A location that has been defined in the Configuration – Location window (see Section 6) may be applied to a mass spec instrument by selecting the appropriate row in the MS Instrument table, the 

	
[image: image16.png]MS Locations Apply Location:
MS Location

Gubbs Gemary

Ste
Buidng
Laboralory
Bench





	
[image: image17.png]MS Locations Apply Location:

MS Location
Item Label

Site Alpharetta
Buiding 1

Laboratory 1

Berch A






	Figure 16
Apply Location


7.3.2 Manually enter a location

The user may manually enter locations in the Label column.

8 Data Files

[image: image18.png]B Gubbs Mass Spec Metrics (MSM) - Polling Application v1.0.9.0

Meru

Gubbs® Mass Spec Metrics - Polling Application Edit | seve | cancel |

Begin
Polling

Configuration Data Files

Configuration - Locstion
s e nstrurnane | Number of files: Fiter for s * [MS00001_1 ~

MS Ser
Mass Spec Entries Num. * Data File

;‘::C‘ngem Z:AMSMTesting\Folder01\Projects\A4\050ct2005C acol 050928_CACO2_CCO08E_00T wif
Monitor Polling Status ZAMSMTestingFoldelT\Projects\AA\IS0cI2005C acolData\050328_ CACD2_ CCO0G6_ 001 wiff
Z:\MSM T estingFoldei01 \Prjects\AAVA AAADA1014_Virta_ Hurmna_BatchO2\7 Ethosycoumarin MAM 0D i
Z:\MSM T estingFolder1 \Proects\AAVAR AARDA1014_Vinita_al_Balch01 7 -Ethasycovmatin, MRM_001 vt
ZAMSMTestingFolderlT\Proects\AA\AA-AA\Batchiincubation_2 wif
ZAMSMTestingFoldelTProects\AA\AA-AANDalab2 4com humen wif

ZAMSMTestingFolderlT\Projcts\AA\AA AR\ atah 3, 24H+ 24, wif

Z:\MSM T esting Folder1 \Proects\AANAR AAAADa1a\41014_Vinta_Hurmn,_ Balch2\7 Etasycotmarn, MAM_001 vt
ZAMSMTestingFoldeT Proects\AA\AA-AAA\Dlah20041020_FA_S3.wif
ZAMSMTestingFoldeTProjects\AA\AA-AAA\D laA 2BIUL\Human mic32 il
ZAMSMTestingFoldelT\Proects\AA\AA-AANDalah2JUL\Human microsomeSE 1 Second time i
ZAMSMTestingFoldelTProects\AA\AA-AAA\DalaA2BJUL\Human microsomeSE T i
ZAMSMTestingFoldelT\Proects\AA\AA-AA\Dalah8JUL\Ral mic 32 wif
ZAMSMTestingFolderlTProects\AA\AA-AA\Dalah28JUL\Ral microsomeSE T i
ZAMSMTestingFoldelT\Proects\AA\AA-AA\Daleh3_48 com H_Rwi

ZAMSMTestingFolderlT\Profcts\AA\AA AANDatahdd cps Hel il

ZAMSMTestingtFolderlT \Profcts\AA\AA AAR\Data!Data il

ZAMSMTestingFoldelT \Profcts\AA\AA AA\Datatincubation_2 wif

ZAMSMTestingFolderlT Proects\AA\AA-AAA\DalalIS test wif

ZAMSMTestingFolderlT\Profcts\AA\AA AANDatatPanos\20041020_ RS9 wif
ZAMSMTestingFoldelT\Proects\AA\AA-AANDalekPracH A48 cps Hf i
B

K1l

999999 = Data files that could not be opened





Figure 17
Data Files Window

In this window, the user may view the data files that have been inventoried.

8.1 Filter for MS

The user may filter the data file display by selecting choices from the Filter for MS dropdownbox. To view all files polled, choose “All”. 

Note:
When MSM polls the data files, it sometimes happens that no information can be retrieved from the data file. In this instance, MSM assigns the data file to an imaginary mass spec instrument of serial number 999999. Though no data has been stored for the data file, it is recorded here so that MSM doesn’t unnecessarily attempt to poll it again in the next polling event.

[image: image19.png]Data Files

Number offles:[__8510] _Fiterfor s * [T I

MS Ser
Num. ~

o]
> I - /5 s oS bosn =

MS0000_M0520208

ZAMSMTestingFolderdd e 0000 o000 ST
Z:AMSM Testing\Folder0{ MS00005Y 1430304 MoTa
5000062449303 v

Z:AMSMTesting\Folder(:




Figure 18
MS # 999999

9 Mass Spec Entries

[image: image20.png]B Gubbs Mass Spec Metrics (MSM) - Polling Application v1.0.9.0

Meru

Gubbs® Mass Spec Metrics - Polling Application

Edit

Begin
Polling

Configuration
Configuration - Location
Mass Spec Instruments
Data Files

ViewLogs
Reauirerents
Monitar Polling Status

Mass Spec Enties

Number of records,

21,079

Filter for MS *

Date Inventoried

October 20, 2004 04:21:15 PH
October 20, 2004 04:3021 PH
October 20, 2004 04:3326 P
October 20, 2004 053033 P
August 01, 2004 11:55:33 M
August 01, 2004 121547 PM
August 01, 2004 122552 PM
August 01, 2004 123555 PM
August 01, 2004 124558 PM
August 01, 2004 125600 PM
August 01, 2004 01:06:03 PM
August 01, 2004 01:16:06 PM
August 01, 2004 01:26:09 PM
August 01, 2004 01:36:12PM
August 01, 2004 01:48:15 PM
August 01, 2004 01:56:18 PM
August 01, 2004 020621 PM
August 01, 2004 021624 PM
August 01, 2004 02:26:30 PM
August 01, 2004 02:36:36 PM
July 29, 2004 031841 PM

Samplett

Z:AMSM Testingh
ZAMSM Testingh
ZAMSM Testingh
ZAMSM Testingh
ZAMSM Testingh
ZAMSM Testingh
ZAMSM Testingh
ZAMSM Testingh
ZAMSM Testingh
ZAMSM Testingh
ZAMSM Testingh
ZAMSM Testingh
ZAMSM Testingh
ZAMSM Testingh
ZAMSM Testingh
ZAMSM Testingh
ZAMSM Testingh
ZAMSM Testingh
ZAMSM Testingh
ZAMSM Testingh

ZAMSMTestingh

20041020 R .
20041020 R,
20041020 R,
20041020 R,
Human mic32 wif
Human mic32 wif
Human mic32 wif
Human mic32 wif
Human mic32 wif
Human mic32 wif
Human mic32 wif
Human mic32 wif
Human mic32 wif
Human mic32 wif
Human mic32 wif
Human mic32 wif
Human mic32 wif
Human mic32 wif
Human mic32 wif
Human mic32 wif
Human riciosom.

Misc
Parameters

Stat SampleSta.
Stat SampleSta.
Stat SampleSta.
Stat SampleSta.
Stat SampleSta.
Stat SampleSta.
Stat SampleSta.
Stat SampleSta.
Stat SampleSta.
Stat SampleSta.
Stat SampleSta.
Stat SampleSta.
Stat SampleSta.
Stat SampleSta.
Stat SampleSta.
Stat SampleSta.
Stat SampleSta.
Stat SampleSta.
Stat SampleSta.
Stat SampleSta.

Start Sample:Star.

999999 = Data files that could not be opened





Figure 19
Mass Spec Entries Window

Users may view the individual injection entries and data in this window. Users may filter for each individual instrument. In addition, users may copy the information to the clipboard by clicking the Copy button.

10 View Logs

[image: image21.png]B Gubbs Mass Spec Metrics (MSM) - Polling Application v1.0.9.0

Meru

Gubbs® Mass Spec Metrics - Polling Application Edit | save | cancel| Ext

Begin
Polling

About.

Configuration View Logs
Confguration-Locaton | Copy to Include logs st | Fid  Mach 220 <]

fass Specinstruments Clipboard SelectLog: (yyyymmdd hhmmss)
Msss Spec Enties Poling event began /2172010 35606 AM Poling_20100321_072707 000001 &
Paling ve ended 3/21/2010 40300 Ab Poling20100321_07060¢_ 000001
o Number of new data fes nvetred scolldownto Inventoed Data Fes secto: 100 Poling 20100321 07060400001
edquirements Number of new mass spec nstments fourd: 0 Poling 20100321 064208000001
Monitor Polling Status | |number of problems evperienced 40 n 6,260 data etaction everts Poling20100321_064204_000001
Paling i o 100 s s reached. Poling action must be repeated tocompltely vertan a les i the Poling 20100321 06120000001
poling drecto Poling20100321_06104_000001
Poling 20100321 05540¢_ 000001

PROBLEM SECTION - problems observed (40) in this poling event: Poling_20100321055404_000001

Foling_20100321_053008_000001
000001: Problem vith theWF 2 GeDABSIfofint). Sample is emply. Foling_20100321_053004_000001
ZAMSMTesting\Folder0T\Projects\0U0DE\ 2008051 5Prob\Data\080416_008G (080421 |Poling_20100321_050608_000001
1040_PCADS01_MST_ML pos.wif: Sampleft 3 Foling_20100321_050604_000001
00002 Prsblem vith theWFa GetDABSIfo. Sample is probably emaly of corupt. Foling_20100321_044208_000001
ZAMSMTesting\Folder0T\Profects\0D00E\ 20090427 Problems\090403_0009 (090424_ Foling_20100321_044204_000001
1500_PCADS01_MST ML pos.wift: Sampleft 10 Foling_20100321_041308_000001

‘00003: Psblem vith theWF2 GelDABSIfofin). Sample is emply
ZAMSMTesting\Folder(T\Profects\DUDE\20091 210_Problem\091120_0043 (091208
0908_PC102488_PAM_MLpos.wif: Samplel 18 Foling_20100321_035404_000001
000004 Probem vith theWF 2 GetDABSIfo. Sample is robably emaly of corupt, Foling_20100321_033008_000001

ZAMSMTesting\Folder(T\Profects\0000B\Ancieas_LTHep\Data\d (A455_06Ld_SDF) | Poling_20100321_033004_000001

|_posuift; Samplet 10 Foling_20100321_030609_000001
00000 Problem vith theWF 2 GetDABSIfo. Sample is robably emaly of corupt, Foling_20100321_030604_000001
ZAMSMTesting\Folder(T\Profects\D000B\Ancieas_LTHeplData\l7 (A455_06Ld_SDF)  |Poling_20100321_024208_ 000001

|_posif: Samplet 2 Foling_20100321_024204_000001
000006 Problem vith theWF 2 GetDABSIfo. Sample is probably emaly of corupt, Foling_20100321_021808_000001
ZAMSMTesting\Folder(T\Projects\D000B\Ancieas_LTHep\Data\3 (A455_06Ld_SDF) | Poling_20100321_021804_000001

|_pos.iff. Samplet 11 Foling_20100321_015408_000001

000007 Problem vith theWF 2 GeDABSIfofint). Sample is emply Foling_20100321_015404_000001
ZAMSMTesting\Folder(T\Profects\0U0DB\Andieas_LTHepADatat12 (A455_06Ld_SDF) | Poling_20100321_013008_000001

|_posif: Samplet 3 Foling_20100321_013004_000001
000003: Problem vith theWF 2 GeDABSIfofint). Sample i emply Foling_20100321_010608_000001

ZAMSMTesting\Folder(T\Profects\0U0DE\Andieas_LTHepADatat14 (A455_06Ld_SDF)  |Poling_20100321_010604_000001

|_posuift; Samplet 12 Foling_20100321_004216_000001

000003 Problem vith theWF 2 GetDABSIfo. Sample is robably emaly of corupt, Foling_20100321_004211_000001

ZAMSMTesting\Folder(T\Profects\D000B\Andieas L THepAData\17 (A455_06Ld_SDF)  |Poling_20100321_004208. 000001

|_posif: Samplet 2 Foling_20100321_001804_000001

000010: Problem vith theWF 2 GetDABSIfo. Sample is robably emaly of comupt, Foling_20100320_235408_000001

ZAMSMTesting\Folder(T\Projects\D000B\Ancieas L THep\Data\13 (A455_06Ld_SDF)  |Poling_20100320_235404_000001

posuift; Samplet 12 Foling_20100320_233008_000001
PIATTT Fisblom it thetF (oA &RS e Sl s rachbs et o ot





Figure 20
View Logs Window

A log entry is entered for each of the following events:
· Start a polling event

· Finish a polling event

· Kill a polling event

Users may shorten the Select Log list by choosing a date from the ‘Include logs after’ date dropdownbox.

11 Requirements

[image: image22.png]B Gubbs Mass Spec Metrics (MSM) - Polling Application v1.0.9.0

Meru

Gubbs® Mass Spec Metrics - Polling Application Edit Cancel |

Exit

Begin
Polling

About.

Configuration
Configuration - Location
Mass Spec Instruments
Data Files

Mass Spec Entries
View Logs

Monitar Polling Status

Requirements

5YSTEM REQUIREMENTS
Listed below ar the campanerts that must be installed on this iorkstaton n order for MSM to operate praperly
For Bl Anabst data
148 Analyste
A8 Analyst st be installd on this workstation/server
Note: Analst backiwards and farward compatabily s apaly.
For example, i the ltest Anast version use to acauire i les in a data localion is Analst 1.5, then Anapet 1.5 MUST be instaled on this MSM
workstation,
|ASSUMPTIONS
Itis assumed that all samples cartained withn a data il were acquired on a single MS instrument,
SUPPORTED/TESTED DATABASES
Microsaft Access 2000/2003/2007

Mictosoft S Server 2003
Oracle 10g





Figure 21
Requirements Window

The system requirements of MSM are shown in this window

12 Monitor Polling Status

[image: image23.png]3,616K8
25,364K8
18,6008

24,008K8 Retieving information from
50,780 B EMSMTestng Folderd3PrlociiSce bADIale2 45com human i
@3 Gubbs Mass Spe Sample 30 of 54 samples.

Gubbs® Mass Spec Metrics - Polling Application Edit | save | cancel| Exit

Begin
Polling About

Configuration

Configuration - Location Ifit appears that MSM Palling is not responding, check it's Status by
ase Specinstumerts clicking the ‘Check Status' bufan.

Mass Spec Enties If ‘Check Status' respands with 'Not Responding, then click the 'Kil
ViewLogs Analyst Service! bution

Requirernents

MSM Polling should begin responding in & few morments

It MSM Polling still does not begin responding, then click 'ill MSM
Polling.."to end MSM Poling.

Kill Analyst

Check Status Kill MSM Polling. Service.

Lest Status Check: 3/23/2010 5:01:47 AM
MSM Polling Status: MSM Palling Responding, MemsSize: 24545

LastPolling Dete: [Varch 23,2010 04:56:52 AM (Log hern: Plling_20100323_045952_00000T) ]
NextPolling Date: |

Kill AnalystSenvice Events: 1 Memory Usage

22526
22528
22555
23562
24330
2454





Figure 22
Monitor Polling Status Window

This window is used to monitor the status of an active polling session. It sometimes happens that the polling action will stop responding because of a communication error between the MSM and the raw data file. When this happens, the memory usage of the polling action becomes static. MSM monitors this memory usage. If the polling action memory usage hasn’t changed within 35 seconds (7 items in the Memory Usage listbox), then MSM will kill a service called AnalystService.exe and log the event in the Kill AnalystService Events listbox. Killing AnalystService frees the communication error between MSM and the raw data file. After AnalystService is killed, MSM starts it again and continues the polling action.

12.1 Check Status

Though this window reports the status of the polling event every 5 seconds, the user may manually check the status by clicking the Check Status button.

12.2 Kill MSM Polling

If the user wishes to stop the polling event for some reason, he/she may click the Kill MSM Polling button. The polling event will be canceled and no changes will be made to the database.

12.3 Kill AnalystService

Users may manually kill AnalystService by clicking the Kill Analyst Service button, though it is not anticipated that this will ever be necessary.

13 MSM Viewer

To be published.

Version 1.0 (March 23, 2010)
C:\Scans\MSM\MSMInstructions_01.doc

[image: image24.jpg]_1330776211

_1330776718

